This is the html version of the file http://resnet.us/standards/mortgage/RESNET_Mortgage_Industry_National_HERS_Standards.pdf.
Google automatically generates html versions of documents as we crawl the web.

Page 1

Page 2

2006 Mortgage Industry

National Home Energy

Rating Systems

Standards

These consensus Standards were developed by the

Residential Energy Services Network (RESNET)

as amended in accordance with Chapter 5

of these Standards and adopted by the

RESNET Board of Directors on

November 20, 2008

Published by:

Residential Energy Services Network, Inc.

P.O. Box 4561

Oceanside, CA 92052-4561

http://resnet.us/

© Residential Energy Services Network, 2006 All rights reserved

Page 3

Table of Contents

Chapter One........................................................................................................ 1

100 ACCREDITATION STANDARD FOR HOME ENERGY RATING PROVIDERS................ 1

101 GENERAL PROVISIONS .................................................................................... 1

101.1 Purpose............................................................................................................ 1

101.2 Scope................................................................................................................... 1

102 ACCREDITATION CRITERIA............................................................................. 1

102.1 Minimum Standards for Home Energy Rating.................................................. 1

102.2 Technical Requirements for Home Energy Rating Software Programs................. 8

103 ACCREDITATION PROCESS............................................................................. 8

103.1 Accreditation Process Requirements ........................................... 8

104 ACCREDITED HOME ENERGY RATING SYSTEMS....................................... 9

104.1 Responsibilities of Accredited Home Energy Rating Systems................................ 9

105 QUALITY ASSURANCE................................................................... 9

105.1 RESNET Quality Assurance Review of Accredited Providers ............................... 9

106 RESNET ETHICS COMMITTEE........................................................................... 10

106.1 Purpose of Committee............................................................................ 10

107 ETHICS COMPLAINTS.................................................................................. 10

107.1 Filing of Ethics Complaints......................................................................... 10

107.2 Investigation of Complaints...................................................................... 11

108 RENEWAL.................................................................................................... 11

108.1 Home energy rating system application for renewal ...................................... 11

109 SUSPENSION AND REVOCATION OF ACCREDITATION............................... 13

109.1 For failure to correct deficiencies of home energy rating system..................... 13

109.2 For Cause.................................................................................................. 13

109.3 Suspension/Revocation Due Process.................................................................. 14

110 APPLICATION APPEAL PROCESS.......................................................... 15

110.1 Notification........................................................................................ 15

110.2 Appeal.................................................................................................... 15

Chapter Two............................................................................................................ 1

200 NATIONAL RATER TRAINING AND CERTIFYING STANDARD................... 1

201 GENERAL PROVISIONS ...................................................................................... 1

201.1 Purpose................................................................................................................... 1

201.2 Scope............................................................................................................. 1

202 DEFINITIONS AND ACRONYMS ......................................................................... 1

203 TRAINING AND EDUCATION COMMITTEE ..................................................... 3

203.1 RESNET Training and Education Committee........................................................ 3

204 ACCREDITED TRAINING PROVIDERS.............................................................. 4

204.1 Requirements for Accredited Home Energy Training Providers............................. 4

205 HOME ENERGY RATINGS...................................................................... 5

205.1 Home Energy Rating Knowledge Base and Skills Set ..................................... 5

205.2 Rating Field Inspector Knowledge and Skills Set ................................................ 13

205.3 Senior Certified Knowledge and Skills Set ........................................................... 13

205.4 Rater Specialty Certification............................................................................... 14

206 MINIMUM COMPETENCIES................................................................. 14

Table of Contents

i

206.1 Minimum Rater Training Provider Competencies................................................. 14

Page 4

207 CERTIFIED TRAINING......................................................................................... 15

207.1 Minimum Certified Training Requirements ......................................................... 15

208 EXAMINATIONS................................................................................................... 15

208.1 Certified Rater Trainer.......................................................................................... 15

209 CONTINUING EDUCATION................................................................... 16

209.1 Continuing Education Requirements for Certified Raters................................. 16

210 RATER TRAINING PROVIDERS............................................................. 16

210.1 Accreditation of Rater Training Providers........................................................... 16

211 ACCREDITATION RENEWAL......................................................................... 18

211.1 Rater Training Providers Application for Renewal............................................. 18

212 SUSPENSION OR REVOCATION OF ACCREDITATION........................... 19

212.1 Suspension or Revocation of Accreditation of Rater Training Providers........... 19

213 APPEALS PROCEDURES.................................................................................... 21

213.1 Appeals Procedures for Non-Approved, Suspended, or Revoked Applications ... 21

214 RECIPROCITY ............................................................................................... 21

214.1 Reciprocity among Jurisdictions........................................................................ 21

Chapter Three............................................................................................................. 1

300 NATIONAL ENERGY RATING TECHNICAL STANDARDS.............................. 1

301 GENERAL PROVISIONS ........................................................................................ 1

301.1 Purpose..................................................................................................... 1

301.2 Scope.................................................................................................................. 1

302 DEFINITIONS AND ACRONYMS .......................................................................... 1

303 TECHNICAL REQUIREMENTS.............................................................................. 6

303.1 Rating Procedures............................................................................................ 6

303.2 Rating Determination............................................................................................... 7

303.3 Rating Report........................................................................................................... 9

303.4 HERS Reference Home and Rated Home Configuration...................................... 12

303.5 Operating Condition Assumptions......................................................................... 26

303.6 Projected and Confirmed Ratings.......................................................................... 29

303.7 Minimum Rated Features....................................................................................... 29

303.8 Software Rating Tools ......................................................................................... 35

Chapter Four ................................................................................................................. 1

400 NATIONAL BUILDER OPTION PACKAGE PROVIDER ACCREDITATION PROCEDURES..... 1

401 BACKGROUND .................................................................................................... 1

401.1 Purpose...................................................................................... 1

401.2 Scope........................................................................................................ 1

402 DEFINITIONS.......................................................................................................... 1

403 ACCREDITATION CRITERIA.......................................................................... 2

403.1 Minimum Standards for BOP Providers............................................................... 2

404 ACCREDITATION PROCESS.................................................................................. 6

404.1 National BOP Provider Accreditation ............................................................... 6

404.2 BOP Provider Accreditation Criteria....................................................................... 6

404.3 National Registry of BOP Providers.................................................................... 6

404.4 Confidentiality of Information............................................................................... 6

404.5 Review and Notification................................................................................... 6

404.6 Responsibilities of Accredited BOP Providers........................................................ 7

405 ENEWAL................................................................................................................ 7

405.1 BOP Provider Application for Renewal ................................................................. 7

Table of Contents

ii

Page 5

405.2 Late Application................................................................................................. 7

405.3 Successful Renewals............................................................................................ 7

405.4 Renewal Applications Extending Beyond the Grace Period .............................. 8

405.5 Accreditation Not Renewed.............................................................................. 8

405.6 Appeals ................................................................................................................. 8

405.7 Program Element Changes................................................................................... 8

406 SUSPENSION AND REVOCATION OF ACCREDITATION................................. 8

406.1 For Failure to Correct Deficiencies of the Accredited BOP Provider.................... 8

406.2 For Cause............................................................................................................... 9

406.3 Suspension/Revocation Due Process.................................................................... 9

407 APPEALS PROCEDURES FOR APPLICATION NOT BEING APPROVED, SUSPENSION, OR REVOCATION............................................................................ 10

407.1 Notification...................................................................................................... 10

407.2 Appeal.................................................................................................................... 11

Chapter Five................................................................................................................... 1

500 REVISION OF STANDARDS................................................................................ 1

501 REVISIONS AND AMENDMENTS..................................................................... 1

501.1 Periodic Reviews ............................................................................ 1

501.2 Changes in Law..................................................................................................... 1

501.3 Technical Innovations............................................................................................. 1

501.4 Proposals for Change.............................................................................. 1

Chapter Six.................................................................................................................. 1

RESNET Standards...................................................................................................... 1

600 ACCREDIATION STANDARD FOR SAMPLING PROVIDERS ........................ 1

601 GENERAL PROVISIONS ...................................................................................... 1

601.1 Purpose.................................................................................................................... 1

601.2 Scope.................................................................................................................... 1

602 DEFINITIONS AND ACRONYMS ..................................................................... 1

603 TECHNICAL REQUIREMENTS FOR SAMPLING.............................................. 2

603.1 Compliance Requirements..................................................................................... 2

603.2 Homes Eligible to be Sampled.............................................................................. 2

603.3 Analysis of Homes................................................................................................. 2

603.4 Labeling of Homes............................................................................................. 2

603.5 Sample Set of Homes........................................................................................... 3

603.6 Application of Sampling....................................................................................... 3

603.7 Sampling Controls ............................................................................................... 3

603.8 Multiple “Additional Failures”............................................................................... 4

603.9 Quality Assurance................................................................................................ 5

604 SAMPLING PROVIDER ACCREDITATION....................................................... 5

604.1 Certification Standards......................................................................................... 5

604.2 National Registry of Accredited Sampling Providers.............................................. 6

604.3 Minimum Requirements ...................................................................................... 6

605 RENEWAL............................................................................................................. 8

605.1 Sampling Provider Application for Renewal........................................................ 8

605.2 Late Application.................................................................................................... 8

605.3 Successful Renewals............................................................................................. 8

605.4 Renewal Applications Extending Beyond the Grace Period ............................... 8

605.5 Accreditation Not Renewed................................................................................... 8

Table of Contents

iii

Page 6

Table of Contents

iv

605.6 Appeals ............................................................................................................. 8

605.7 Program Element Changes................................................................................... 8

606 SUSPENSION AND REVOCATION OF ACCREDIATION............................... 9

606.1 Notification....................................................................................................... 9

606.2 Reasons For Suspension/Revocation...................................................... 9

606.3 Suspension/Revocation Due Process............................................................... 10

607 APPEALS PROCEDURES FOR NON-APPROVAL OR RENEWAL OF APPLICATIONS, SUSPENSIONS, OR REVOCATIONS ........................................... 11

607.1 Notification.................................................................................................... 11

607.2 Appeal................................................................................................................. 11

608 REVISION OF ACCREDIATION PROCEDURES.............................................. 12

608.1 Revision and Amending Sampling Accreditation Procedures....................... 12

608.2 Periodic Review of Accreditation Procedures...................................................... 12

608.3 Process for Submitting Proposals to Change Accreditation Procedures .............. 12

608.4 Proposals to Change these Procedures Shall be Considered and Evaluated at Least Annually........ 13

608.5 Accreditation Procedure Revision Process..................................................... 13

609 EFFECTIVE DATES............................................................................................... 14

609.1 Quality Assurance............................................................................................ 14

609.2 Effective Date of Standard................................................................................... 14

Chapter Seven.................................................................................................................. 1

RESNET Standards..................................................................................................... 1

700 RESNET NATIONAL STANDARD FOR HOME ENERGY AUDITS................... 1

701 GENERAL PROVISIONS ................................................................................. 1

701.1 Purpose...................................................................................................... 1

701.2. National Standard for Home Energy Assessment Levels....................................... 1

701.3 Relationship to Other Standards ......................................................................... 1

701.4 Relationship to State Law................................................................................... 1

701.5 Scope........................................................................................................... 2

702 DEFINITIONS AND ACRONYMS ................................................................... 2

703 HOME ENERGY AUDIT ACCREDITATION CRITERIA..................................

703.1 Home Energy Survey Provider Accreditation ....................................................... 4

703.2 Comprehensive Home Energy Audit Provider Accreditation ............................. 7

704 NATIONAL HOME ENERGY AUDIT PROCEDURES ..................................... 7

704.1 Home Energy Survey....................................................................................... 7

704.2 Comprehensive Home Energy Audit................................................................... 11

705 REQUIRED SKILLS AND CERTIFICATION..................................................... 12

705.1 Minimum skills and knowledge base required to conduct an In-Home Home Energy Survey.......... 12

705.2 Minimum skills and knowledge base required for an individual to conduct a Diagnostic Home Energy Survey 13

705.3 Minimum certification required for an individual to conduct a Comprehensive Home Energy Audit...... 13

706. GENERAL LIMITATIONS AND EXCLUSIONS................................................ 13

706.1 General limitations........................................................................................... 13

Appendix A............................................................................................................... 1

Page 7

Chapter One

RESNET Standards

100 ACCREDITATION STANDARD FOR HOME ENERGY RATING PROVIDERS

101 GENERAL PROVISIONS

101.1 Purpose

The purpose of this standard is to ensure that accurate and consistent home energy ratings are performed by accredited home energy rating systems nationwide; to increase the credibility of the rating systems with the mortgage finance industry; and to promote voluntary participation in an objective, cost-effective, sustainable home energy rating process.

Leaders in both the mortgage industry and the states have identified the need for an

accreditation process for home energy rating systems. This accreditation process will be used by the mortgage industry to accept home energy ratings and by the states to assure accurate, independent information upon which a state may recognize the home energy ratings as a compliance method for state building energy codes; as qualification for energy programs designed to reach specific energy saving goals; and as a way to provide its housing market the ability to differentiate residences based on their energy efficiency. This home energy rating system process has been developed to satisfy the above purposes.

101.1.1 Relationship to other Standards. This standard is a companion chapter to the

“National Rater Training and Certifying Standard (Chapter Two of this document, and

“National Energy Rating Technical Standard (Chapter Three).

101.1.2 Relationship to State Law. This standard specifically recognizes the authority of

states that have laws requiring certification or licensing of home energy rating systems. To the extent that state laws differ from this standard, state laws shall govern.

101.2 Scope

This document sets out the procedures for the accreditation of home energy rating systems so their results will be acceptable to the mortgage industry. Accreditation involves the active participation of state energy offices; therefore, there may be instances in which state laws or regulations will have additional requirements to those specified in this document.

102 ACCREDITATION CRITERIA

102.1 Minimum Standards for Home Energy Rating

A Home Energy Rating System Must Specifically Meet the Following Minimum Standards.

102.1.1 Quality Assurance Designee.

Chapter One RESNET Standards, 2006

1-1

Page 8

102.1.1.1 A home energy rating system shall designate an officer, employee, or contractor to be responsible for quality assurance within the organization. This definition does not prohibit a rating provider’s Quality Assurance Designee from having a qualified certified home energy rater perform the required quality assurance file review and field inspection functions. A Quality Assurance Designee Delegate shall meet the criteria contained in 102.1.2. The Quality Assurance Designee, however, remains responsible for the accuracy and compliance of the provider’s quality assurance program, including reviews and inspections completed by a QA Delegate. The responsibilities of the designee shall include:

102.1.1.1.1 Maintenance of quality assurance files

102.1.1.1.2 Review of ratings by rater trainees and during the probationary period

102.1.1.1.3 Monitoring of ratings by certified raters

102.1.1.2 The designated officer, employee, or contractor responsible for quality assurance shall demonstrate sufficient experience with the home energy rating system knowledge base and skills given in Section 205.1 of Chapter Two of the Standard to review the work of trainees and certified raters. Sufficient experience shall be demonstrated by either of the following:

102.1.1.2.1 Certification as a Rater Trainer

102.1.1.2.2 Passing the RESNET Quality Assurance Designee Test

102.1.1.3 Proof of qualification shall be submitted with an application for accreditation.

102.1.1.4 If the quality assurance designee leaves the home energy rating system, the

provider shall have sixty (60) calendar days to notify RESNET of the new designated officer, employee, or contractor or be subject to suspension of the accreditation under the provisions of Chapter One, Section 9, Suspension and Revocation of Accreditation.

102.1.2 Quality Assurance Designee Delegate

102.1.2.1 A Quality Assurance Designee Delegate must be a certified home energy rater and have completed the portion of the inspection or rating process for which the individual is performing Quality Assurance tasks on a minimum of 25 homes. In other words, if the Delegate is repeating on site testing and inspections as part of the Quality Assurance process, that individual must have at least performed these tasks on a minimum of 25 homes.

102.1.2.1.1 In addition, the Quality Assurance Designee shall determine accuracy of the

delegated Rater(s) in qualifying to perform quality assurance tasks, and ongoing

performance of those tasks, by reviewing the results of the quality assurance process for that Rater (i.e. 1% field verification/10% file verification) with a maximum allowable variance of +/- 5% on annual loads (i.e. heating, cooling and water heater loads as impacted by Chapter One RESNET Standards, 2006

1-2

Page 9

insulation assessment, blower door tests, duct leakage to outside, sq. ft. of windows,

weather station selection, etc.).

102.1.2.2 No step in the quality assurance process may be performed by the same individual that performed any part of the testing, inspection or rating of the home being subject to the quality assurance review. In other words, if an individual performed any part of the inspection or rating process on a home, that individual cannot be the Quality Assurance Designee or Delegate performing any part of the quality assurance process specific to that home.

102.1.2.3 The Quality Assurance Designee shall provide to RESNET a listing of the certified Rater(s) it has delegated to undertake quality assurance reviews on behalf of the Designee and must keep and provide documentation of their qualifications, including evidence of passing the Rater and/or quality assurance exam and ongoing quality assurance results. The potential penalty for non-compliance with these selection or documentation requirements is the individual loosing Quality Assurance Designee status and the Provider losing accreditation.

102.1.3 Rater Certification Standards. Certification and recertification of energy raters shall be made by accredited rater providers, which shall include the following provisions:

102.1.3.1 A rating provider shall provide documentation that their raters meet the rater

certification provisions contained in Chapter Two of these standards.

102.1.3.2 Performance evaluation of ability to perform accurate ratings. Each rater shall

complete a probationary period where close supervision is provided. This period covers a

minimum of three ratings above the two supervised ratings that are conducted in rater

training, after which the supervisor shall determine if additional training is needed.

102.1.3.3 Continuing Education. Raters must have 12 hours of approved continuing

education and training units approved by the rating provider every three years. Ten hours of the training must be approved by RESNET.

102.1.3.4 Rater Testing. All certified Raters must take the national home energy rater test

administered by RESNET by January 1, 2008.

102.1.3.5 Recertification of raters no less than every three years.

102.1.3.6 Rater Agreements. As a condition of rater certification, each provider shall ensure that a certified rater who has met the requirements of Chapter 2, Rater Training Requirements, has entered into a written agreement with the provider to provide home energy rating, field verification, and diagnostic services in compliance with these standards. A copy of the rater written agreement shall be provided to RESNET with the provider’s accreditation application and within 60 days of making changes to the agreement. The written agreement shall at a minimum require raters to:

102.1.3.6.1 Provide home energy rating and field verification services in compliance with

these standards; Chapter One RESNET Standards, 2006

1-3

Page 10

102.1.3.6.2 Provide accurate and fair ratings, field verification and diagnostic testing;

102.1.3.6.3 Comply with the RESNET Code of Ethics. The “RESNET Code of Ethics” is

posted at http://www.natresnet.org/ethics.htm. The Code of Ethics shall be attached to the

written agreement. An unexecuted copy of the written agreement shall be provided to

RESNET with a provider’s accreditation application and within 60 days of making

changes to the agreement.

102.1.4 Minimum Standards for Home Energy Rating System’s Operation Policies and

Procedures must be written and provide for the following:

102.1.4.1 Ratings from plans. If the home energy rating system provides for ratings by from plans, the rating be labeled as from plans. Such ratings may be used to demonstrate energy code compliance or programmatic qualification but must be confirmed through a field inspection upon completion of construction.

102.1.4.2 Field inspection of all homes.

102.1.4.3 Blower Door Test completed on all homes claiming credit for reduced air

infiltration.

102.1.4.4 Duct testing completed on all homes claiming credit for reduced air distribution

system leakage.

102.1.4.5 When applicable, improvement analysis given to home owner.

102.1.4.5.1 Recommended improvements with the cost basis supplied for each

recommendation by the home energy rating software program, home energy rating system or the rater receiving quotes.

102.1.4.5.2 Estimated energy and cost savings of improvements based upon assumptions

contained in the home energy rating system program.

102.1.4.6 Written conflict of interest provisions that prohibits undisclosed conflicts of

interest but allows waiver with advanced disclosure. The” Home Energy Rating Standard

Disclosure” form adopted by the RESNET Board of Directors shall be completed for each home that receives a home energy rating and shall be provided to the rating client and made available to the home owner/buyer. Each form shall include, at a minimum, the name of the community/subdivision, city, and state where the home is located. Each form shall accurately reflect the proper disclosure for the home that it is rated (i.e. it should, reflect the Rater’s involvement with the home at the time the final rating is issued. For the purpose of completing this disclosure, “Rater’s employer” includes any affiliate entities. Recognizing that a number of different relationships may occur between the Rater or the Rater’s employer and the rating client and/or homeowner and/or the marketplace in general, the rating provider Chapter One RESNET Standards, 2006

1-4

Page 11

shall ensure that all disclosures are adequately addressed by the provider’s quality assurance plan, in accordance with the relevant quality assurance provisions of the standards.

102.1.4.7 Written rater discipline procedures that includes progressive discipline involving Probation - Suspension – Termination.

102.1.4.8 Written rater quality control process that includes at a minimum the following:

102.1.4.8.1 The provider’s quality assurance designee shall be responsible for the internal review of ratings submitted by its raters, including:

102.1.4.8.1.1 Review of ratings conducted during the raters’ probation period. Prior to certifying a Rater candidate, the provider shall review at least three probationary ratings performed by the Rater candidate within 12 months of training.

102.1.4.8.1.2 Review of rating data files. For each Rater, the provider’s quality assurance designee shall annually evaluate a minimum of 10% of each Rater’s rating data files. The provider shall resolve any problems detected during these reviews.

Excessive problems will trigger field monitoring of the Rater.

102.1.4.8.1.3 Field monitored ratings. For each Rater, the provider’s quality assurance designee shall be responsible for an annual evaluation of the greater of one home or one percent of the Rater's annual total of homes for which confirmed ratings and/or diagnostic testing services were provided. The provider’s quality assurance designee shall ensure that a rating is independently repeated to determine whether the rating and/or diagnostic testing was accurately completed by the Rater, and determine whether information was completely collected and reported as required in 303.1 of Chapter 3 of these standards.

102.1.4.8.1.3.1 A rating provider may petition RESNET to waive the on-site inspection procedure for Raters that complete less than twenty five (25) ratings per year or less than fifty (50) ratings over a two year period (low-volume raters). Said petition must provide full justification for the requested exemption.

102.1.4.8.1.3.2 The Provider shall provide a set of alternative quality assurance procedures (e.g. increased percentage review of rating data files, digital photo documentation) that ensure that the Provider meets the intent of the field inspection requirement.

102.1.4.8.1.3.3 In no case shall the Provider’s alternative procedures allow less than

1% or 1 field inspection, whichever is greater, based on the sum total of all ratings performed by all low-volume Raters who are certified by said Provider.

102.1.4.8.1.3.4 In no case shall the Provider’s alternative procedures allow a certified low-volume rater go more than two years without a quality assurance field inspection of their work.

Chapter One RESNET Standards, 2006

1-5

Page 12

102.1.4.8.1.3.5 If there are consistent or substantial errors discovered in the data file review, a field inspection shall be conducted.

102.1.4.8.2 Rating/Tax Credit Verification Recordkeeping. Providers and/or their certified Raters shall maintain records for each rating/tax credit verification.

102.1.4.8.2.1 The quality assurance record for each home shall contain at a minimum the electronic copy of the building file.

102.1.4.8.2.2 The record for each rating/tax credit verification shall be maintained for a minimum of three years.

102.1.4.9 Rater Registry. The provider shall maintain a registry of all of its certified Raters.

The provider will also keep on file the names and contact information for all, including company name, mailing address, voice phone number, fax number, and email address. Upon request, the provider shall provide to RESNET its registry of certified Raters.

102.1.4.10 Complaint Response System. Each provider shall have a system for receiving complaints. The provider shall respond to and resolve complaints related to ratings and field verification and diagnostic testing services and reports. Providers shall ensure that Raters inform purchasers and recipients of ratings and field verifications about the complaint system.

Each provider shall retain records of complaints received and responses to complaints for a minimum of three years after the date of the complaint.

102.1.4.11 Data Submittal. Upon RESNET’s request, a provider shall submit to RESNET the number of homes for which ratings/tax credit verification were provided since the last data submittal. The ratings/tax credit verification shall be identified by type (to include projected and confirmed ratings for new and existing homes and the number of homes verified for tax credits). To the extent RESNET makes this information public, it will do so only in an aggregated form.

102.1.4.12 All HERS providers shall maintain an electronic database of information for each home rated or verified for the tax credit. The minimum content of the database is:

102.1.4.12.1 A unique file reference with ID number;

102.1.4.12.2 Date of on-site inspection;

102.1.4.12.3 Raters name;

102.1.4.12.4 Tool name and version;

102.1.4.12.5 Identification of climate data used for the rating;

102.1.4.12.6 Type of rating, either projected or confirmed;

Chapter One RESNET Standards, 2006

1-6

Page 13

102.1.4.12.7 Use of rating:

102.1.4.12.7.1 Time of sale rating;

102.1.4.12.7.2 Pre-home improvement rating;

102.1.4.12.7.3 Post home improvement rating; or

102.1.4.12.7.4 Information only rating;

102.1.4.12.8 Address of Rated Home;

102.1.4.12.9 Home type;

102.1.4.12.10 Floor area of conditioned space;

102.1.4.12.11 Fuel types used by building heating, cooling and water heating systems;

102.1.4.12.12 Minimum rated feature energy efficiency data used to determine the rating;

102.1.4.12.13 In the four categories of heating, cooling, water heating and all other uses,

the:

102.1.4.12.13.1 Estimated annual purchased energy consumption in total;

102.1.4.12.13.2 Estimated annual purchased energy consumption by fuel;

102.1.4.12.13.3 Estimated annual energy costs in total; and

102.1.4.12.13.4 Estimated annual energy cost by fuel.

102.1.4.12.14 Estimated total annual energy cost for all uses;

102.1.4.12.15 Rating score of the Rated Home on 0-100 points scale and 1-5+ stars

category;

102.1.4.12.16 To the extent allowed by state statute, all HERS providers shall for 10% or

for 500 of the homes rated annually, whichever is less, maintain a database of the

following:

102.1.4.12.16.1 Homeowners authorization for the release of consumption information

by utility companies;

102.1.4.12.16.2 Climate data site used for energy estimation;

Chapter One RESNET Standards, 2006

1-7

Page 14

102.1.4.12.16.3 Any energy efficiency improvements made to the home and date of

completion.

102.1.4.13 Site data collection manual. All HERS providers shall provide raters with a

manual containing procedures for the on-site collection of data that are at a minimum shall include the on-site inspection procedures for minimum rated features for new and existing homes provided in appendix A.

102.2 Technical Requirements for Home Energy Rating Software Programs

102.2.1 A home energy rating provider shall provide documentation with its accreditation

application that the energy rating software used to produce energy ratings are properly

licensed and has successfully passed the “RESNET Rating Software Testing Specifications and Verification Procedures” to ensure that the software compiles with the national home energy rating technical standards that are contained in Chapter Three of these standards. The “RESNET Rating Software Testing Specifications and Verification Procedures” are posted on RESNET’s Web site at http://www.natresnet.org/programs/software/software_test.pdf.

102.2.2 Documentation that home energy rating software program used by the home energy rating system passed BESTEST developed by the National Renewable Energy Laboratory, “Home Energy Rating System Building Energy Simulation Test (HERS BESTEST),” Vols. 1 & 2 (NREL/TP-472-7332); using the criteria and example acceptability ranges as set forth in Appendix H of the above document.

103 ACCREDITATION PROCESS

103.1 Accreditation Process Requirements

103.1.1 National home energy rating system accreditation will be through the RESNET

Quality Assurance and Ethics Committee appointed by the RESNET Board.

103.1.2 Home energy rating systems must meet the accreditation criteria listed above.

103.1.3 The Residential Energy Services Network (RESNET) will maintain the database ofaccredited home energy rating systems, “The National Registry of Accredited Rating

Providers” which is posted at http://www.resnet.us/programs/providers/directory.aspx .

103.1.4 Application Process:

103.1.4.1 A home energy rating system seeking accreditation must file its application developed by RESNET. Upon receiving an application, RESNET staff will review the application using the accreditation standards set forth herein and forward to the RESNET Quality Assurance and Ethics Committee.

103.1.5 Confidentiality of Information. Any home energy rating system submitting the required application information and desiring to have certain information treated as

Chapter One RESNET Standards, 2006

1-8

Page 15

confidential in order to limit disclosure shall, at the time of submission, attach a statement specifying the proprietary information and requesting confidentiality. The request for confidentiality will be limited in the state energy office review by state law.

103.1.6 Review and Notification.

103.1.6.1 Applications reviewed under 103.1.4.1. Within 30 days of receipt of a complete application, RESNET staff will review the submission for compliance to the accreditation standards set forth within and either: forward the application and review checklist to the

RESNET Quality Assurance and Ethics Committee and notify the home energy rating system of this action, or forward to the applicant a request for additional information or clarification.

103.1.6.2 Within 30 days of receipt of the completed application and review checklist, the RESNET Quality Assurance and Ethics Committee will review the submissions, make a determination of whether the applicant meets the accreditation standard, and if it does issue a unique home energy rating system accreditation identification number. This initial accreditation is valid for a period of three years from the date of issuance. The accreditation will be incorporated into a national registry of accredited home energy rating systems and listed on the RESNET web site on the Internet. In order to maintain currency and credibility for the registry, renewal of accreditation is required annually.

103.1.6.3 If the RESNET Quality Assurance and Ethics Committee determines that the

applicant does not meet the accreditation standard, it shall inform the home energy rating

system, identify where the applicant failed to meet the accreditation standard, and inform the applicant its right of remedy under 109.3.

104 ACCREDITED HOME ENERGY RATING SYSTEMS

104.1 Responsibilities of Accredited Home Energy Rating Systems

The accredited home energy rating system is responsible for insuring that all of the ratings issued by the system comply with all of the criteria by which the system was accredited.

105 QUALITY ASSURANCE

105.1 RESNET Quality Assurance Review of Accredited Providers

105.1.1 RESNET shall randomly select a limited number of accredited providers annually and conduct a review of their files. The RESNET Board of Directors shall determine the number of providers that shall be reviewed on an annual basis and who will provide the quality assurance review. An accredited rating provider may have the right to challenge the quality assurance reviewer for cause.

105.1.2 Records that may be reviewed include:

105.1.2.1 Rating electronic files

Chapter One RESNET Standards, 2006

1-9

Page 16

105.1.2.2 Rating quality assurance records

105.1.2.3 Complaint files

105.1.2.4 Rater agreements

105.1.2.5 Rater registry

105.1.2.6 Disclosure files

105.1.3 Significant inconsistencies or errors in the files reviewed may result in a field

review.

106 RESNET ETHICS COMMITTEE

106.1 Purpose of Committee

The RESNET Ethics Committee shall have the responsibility of investigating ethics

complaints and reporting findings and recommendations to the RESNET Board of Directors.

106.1.1 Composition of the Committee:

106.1.1.1 The ethics committee will be composed of five members.

106.1.1.2 The members of the ethics committee shall be appointed by the RESNET Board of Directors.

106.1.1.3 Ethics committee members shall have staggered two-year terms.

107 ETHICS COMPLAINTS

107.1 Filing of Ethics Complaints

107.1.1 Complaints may be filed against an accredited provider for violating the RESNET Code of Ethics, for failing to enforce the ethics code with their certified Raters, or for failure to adhere to the accreditation requirements.

107.1.2 A complaint shall document the alleged violation(s). The complaint shall also be

specific about which section(s) of the Code of Ethics or the accreditation standards have been violated. To be considered, the full and complete complaint shall be sent by registered mail to the Executive Director of RESNET and contain the following information:

107.1.2.1 The name of the complainant and contact information

107.1.2.2 The accredited provider that is the subject of the complaint

107.1.2.3 A complete description of the alleged violation(s)

Chapter One RESNET Standards, 2006

1-10

Page 17

107.1.2.4 A recitation of all the facts documenting the complaint including contact

information

107.1.2.5 Copies of any relevant documents

107.2 Investigation of Complaints

107.2.1 The RESNET Executive Director shall assign a case number and forward the

complaint to the Ethics Committee. The committee shall consider the documentation

contained in 107.1.2 in making a decision whether to proceed or dismiss the complaint.

107.2.2 In cases where the Ethics Committee finds the documentation submitted does not

meet the minimum standards for a complaint, the complaint may be dismissed. Both parties shall be notified by registered mail of the Ethics Committee’s finding.

107.2.3 Upon a decision by the Ethics Committee that the complaint should proceed to the next step, the RESNET Executive Director shall send a copy of the complaint by registered mail to the subject of the complaint immediately. The respondent has 30 days to submit a full and complete response to the complaint. All relevant information and documentation shall be included in the response. The response shall be in writing and sent to RESNET by registered mail.

107.2.4 Upon receipt of the response, the RESNET Executive Director shall immediately

forward the response to the RESNET Ethics Committee for consideration and action. Within thirty (30) days of receiving the complaint, the Ethics Committee shall take action on the complaint. The action may include, but is not limited to:

107.2.4.1 Dismissal of complaint.

107.2.4.2 Requirement that the rating provider take steps to correct the problem.

107.2.4.3 Recommendation of sanctions to the RESNET Board under Section 109 of this

chapter.

107.2.5 All parties to the complaint shall be informed by registered mail of the Ethics

Committee’s action.

107.2.6 All complaints, responses, and supporting documentation shall be handled in strict confidence by the RESNET staff, the Ethics Committee, and the Board of Directors.

108 RENEWAL

108.1 Home energy rating system application for renewal

Chapter One RESNET Standards, 2006

1-11

Page 18

108.1.1 Home energy rating systems must submit an “Application for Renewal” no later than 120 days prior to the expiration of the current accreditation period. Renewal shall be required annually after the issuance of the unique accreditation registration number by the Mortgage Industry Home Energy Rating System Accreditation Committee. Renewal applications will be processed in the same manner as an initial application.

108.1.2 Late Application. Applications received later than specified above will be

processed, to the maximum extent feasible, so that the accreditation does not expire. Should the expiration date pass, the applicant will be granted an extension not to exceed 30 days.

108.1.3 Successful Renewals. Successful renewals will be noted on the national registry and communicated to the applicant by the Mortgage Industry Home Energy Rating System Accreditation Committee.

108.1.4 Renewal Applications Extending Beyond the Grace Period. Renewals extending

beyond the grace period will be noted as “pending” on the national registry and the applicant will be advised to cease representing themselves as accredited until the application receives approval.

108.1.5 Accreditation Not Renewed. Home energy rating systems that elect not to renew or fail to meet renewal requirements will be removed from the national registry and so advised.

108.1.6 Appeals. Home energy rating systems whose accreditation has been revoked, and

are exercising their right of appeal will be noted as pending and the home energy rating

system will be advised to cease representing themselves as accredited until the appeal is

resolved.

108.1.7 Program Element Changes. It is the home energy rating system’s responsibility to

provide the Mortgage Industry Home Energy Rating System Accreditation Committee with any proposed changes in the program’s minimum home energy rater certification procedures, minimum rater training standards, minimum rater certification standards, operation policies and procedures, information contained in the rating report or other information that effects its meeting the minimum accreditation criteria. Proposed changes will be evaluated by the accrediting review body in the same manner as the original or renewal application.

108.1.8 Rating Tool Changes. Should changes that affect the calculated results of the home energy rating occur in the engineering algorithms of the home energy rating system’s tool, the home energy rating system will be required to submit verification that the tool continues to meet the BESTEST criteria for accreditation purposes. Providers shall also be required to use one of the currently approved versions of their chosen software are contained in the “National Registry of Accredited Rating Software Programs posted at http://www.natresnet.org/programs/software/directory.htm, as follows:

108.1.8.1 Transition period. On announcement of a new software version release, providers have a maximum of 60 days to begin all new ratings with the new version.

Chapter One RESNET Standards, 2006

1-12

Page 19

108.1.8.2 This requirement only applies to changes mandated by the technical standard or

otherwise affecting the calculations of the rating score or projected energy savings.

108.1.8.3 Persistence. Once a projected rating has been made on a property, the version of the rating software that was used initially may be used for the final rating on that property.

Providers, at their option, may update the software version for in-process ratings.

109 SUSPENSION AND REVOCATION OF ACCREDITATION

109.1 For failure to correct deficiencies of home energy rating system

109.1.1 Probation. - If RESNET determines at any time that a home energy rating system

has failed to adhere to the accreditation requirements, RESNET shall notify the home energy rating system of the specified deficiencies and shall require that specific corrective action, set forth in the notification, be taken within a specified time after the date set forth in such notification. The notice of probation may be appealed to the RESNET Quality Assurance and

Ethics Subcommittee in accordance with procedures set forth in Section 110.2.

109.1.2 Suspension. - In the event that the deficiencies have not been remedied as specified or can not be otherwise redressed to RESNET’s satisfaction, RESNET shall have the authority to immediately initiate suspension by issuance of a Notice of Suspension effective for a specified date set forth in such notification. Such Suspension shall follow the due process procedures contained in 109.3 below. The notice may be appealed to the RESNET Quality Assurance and Ethic’s Appeals Subcommittee in accordance with procedures set forth in Section 110.2.

109.1.3 Revocation. In the event that the specified deficiencies are not corrected as specified in the Notice of Suspension, or the deficiencies are deemed to be of a sufficiently serious nature, a Notice of Revocation shall be issued by RESNET after review by the Quality Assurance and Ethics Committee’s Appeals and Ethics Subcommittee. Such Revocation shall follow the due process procedures contained in 109.3 below. The Notice of Revocation may be appealed to the RESNET Quality Assurance and Ethics Committee in accordance with the procedures set forth in Section 110.2.

109.2 For Cause

109.2.1 Any home energy rating system accredited by the RESNET Board of Directors may have the accreditation revoked in any of the following circumstances:

109.2.1.1 Upon a determination by RESNET that a home energy rating system has acted in such a manner as to impair the objectivity or integrity of the accreditation program or harm the reputation of the accreditation committee including, but not limited to submission of false information to the accreditation review body, or failure to submit to the accreditation review body any material information required to be submitted by the home energy rating system, in connection with obtaining or maintaining accreditation; knowingly or negligently issuing ratings that fail to meet all of the accreditation criteria; or misrepresentation by the home Chapter One RESNET Standards, 2006

1-13

Page 20

energy rating system in advertising or promotional materials of its accreditation status in

general or with respect to any service provided by the home energy rating system.

109.2.1.2 Pursuant to any of the express provisions of Section 109.3 or any of the express

provisions of the accreditation application, including but not limited to the following:

109.2.1.2.1 Home energy rating system goes out of business;

109.2.1.2.2 Home energy rating system does not re-apply at the end of existing

accreditation period;

109.2.1.2.3 Failure to satisfy accreditation requirements on renewal;

109.2.1.2.4 Investigated and validated consumer complaints;

109.2.1.2.5 Willful misconduct;

109.2.1.2.6 Failure to disclose a self-serving interest.

109.3 Suspension/Revocation Due Process

109.3.1 RESNET shall comply with the following due process procedures in considering any suspension or revocation actions against an accredited home energy rating system after exhausting the appeals process specified in 110.2.

109.3.1.1 Notice. RESNET may, at its discretion, initiate a proposed suspension or

revocation action against an accredited home energy rating system by providing the rating system written notice of the action sent by certified mail, return receipt requested, to the last known address of the rating system. Such notice shall inform the subject rating program of

the entire basis and justification for the proposed action.

109.3.1.2 Contest of Proposed Suspension/Revocation. After exhausting the appeals process a respondent may contest a suspension/revocation by requesting a hearing with RESNET within 30 days of receipt of the determination of the appeal process.

109.3.1.3 Hearing. If the respondent files a timely response contesting the proposed

suspension/revocation and requests a hearing, RESNET will appoint an independent,

unbiased, and qualified hearing officer and issue a decision on the suspension/revocation.

The hearing officer will review the notice of suspension/revocation and the respondent’s

contest. If the hearing officer finds that the respondent’s contest has raised substantiated and valid factual argument to the contrary of the proposed suspension/revocation, the respondent shall be afforded an opportunity to participate in an open and public telephonic hearing, and to submit additional documentary evidence, and rebuttal argument to any material contained in the original notice of suspension/revocation or developed during the course of the hearing officer’s investigation. The notice shall be provided to the respondent by written notice by Chapter One RESNET Standards, 2006

1-14

Page 21

certified mail, return receipt requested, to the last known address of the rating system at a

minimum of 120 days before the scheduled hearing.

109.3.1.4 Hearing Officer’s Decision. The hearing officer shall issue a written decision on the proposed suspension/revocation that is based on all the information contained in the hearing record including statements of the factual and legal basis of the decision. If the hearing officer decides to impose suspension or revocation, the decision must include findings regarding all disputed materials, and justification for all findings. A suspension/revocation decision by the hearing officer shall take effect upon the issuance of the hearing officer’s decision and the written notification of such decision to the respondent.

109.3.1.5 No ex parte Communication. No ex parte communication between the parties and the hearing officer shall be allowed.

109.3.1.6 Notification of state’s determination. Where a state has statutory authority to

regulate home energy rating system and the state has followed its due process in suspending or revoking a rating system, the state is encouraged to notify RESNET of the action and the reasons for such action.

110 APPLICATION APPEAL PROCESS

Appeals procedures for applications not approved, suspended or revoked.

110.1 Notification

110.1.1 RESNET shall notify the home energy rating system and the accreditation review

body of any decisions. Additionally, RESNET shall clearly notify the home energy rating

system of the procedures and right to remedy.

110.2 Appeal

110.2.1 In the event that an accreditation application has been denied or revoked, or if the

home energy rating system has been placed on probation or suspended, the home energy

rating system shall have the right, for a period of 30 calendar days after the date of notice, to appeal to the RESNET Quality Assurance and Ethics Committee’s Appeals and Ethics

Subcommittee. The response shall contain all pertinent and substantive information and

argument that is in contradiction to the proposed suspension/revocation, including

identification of all disputed materials and facts. In the event that an accreditation application was not approved or the accreditation has been suspended, the home energy rating system shall have the right, for a period of 30 calendar days after the date of notice, to appeal to the RESNET Board of Directors.

110.2.1.1 An appeal shall be in writing and sent by certified mail or other method which

provides evidence of delivery to the Chairman of the RESNET Quality Assurance and Ethics Committee and shall specify the basis for the appeal.

Chapter One RESNET Standards, 2006

1-15

Page 22

Chapter One RESNET Standards, 2006

1-16

110.2.1.2 The appellant home energy rating system may, at the time of noticing its appeal, request in writing, a hearing by the RESNET Quality Assurance and Ethics Committee’s Appeals and Ethics Subcommittee. In such an event, the subcommittee shall, not later than 7 calendar days after the filing of the notice of appeal, notify the appellant home energy rating system of the date of the hearing, which shall be held as expeditiously as possible, but not later than 30 calendar days after the receipt of the notice of appeal.

110.2.1.3 In the event that a home energy rating system’s appeal of its probation or

suspension is rejected by the RESNET Quality Assurance Committee and Ethics Committee’s Appeals and Ethics Subcommittee, the home energy rating system shall have the right, for a period of 30 calendar days after the date of the notification of the denial of the appeal to appeal to the RESNET Quality Assurance and Ethics Committee.

110.2.1.4 In the event that a home energy rating system’s appeal of its revocation is rejected by RESNET Quality Assurance and Ethics Committee, the home energy rating system shall have the right for a period of 30 calendar days after the notification of the denial of the appeal to appeal to the RESNET Board of Directors.

Page 23

Chapter Two

RESNET Standards

200 NATIONAL RATER TRAINING AND CERTIFYING STANDARD

201 GENERAL PROVISIONS

201.1 Purpose

The provisions of this document are intended to establish national rater training and

certification standards which an accredited home energy rating system shall follow in

certifying home energy raters. This enhances the goal of producing nationally uniform

energy efficiency ratings for residential buildings.

201.1.1 Relationship to other Standards. These standards are a companion document to the “National Accreditation Procedures for Home Energy Rating Systems” as promulgated and maintained by the National Association of State Energy Officials (NASEO) and the Residential Energy Services Network (RESNET) and the “National Home Energy Rating Technical Guidelines” as promulgated and maintained by NASEO. Both guidelines are recognized by the mortgage industry.

201.1.2 Relationship to State Law. These standards specifically recognize the authority of

each state that has a state law which requires certification or licensing of home energy rating systems. To the extent that such state laws differ from these standards, state law shall govern.

201.2 Scope

These standards apply to the training and certification of energy raters who will be accepted by nationally accredited home energy rating systems. An energy rating identifies the energy features and estimates the energy performance of a home and does not identify structural or health and safety problems of a home.

202 DEFINITIONS AND ACRONYMS

Accreditation Procedures - The set of standards and procedures entitled “Mortgage Industry National Home Energy Rating System Accreditation Standard” as published and maintained by NASEO and RESNET.

Accredited Rating System Provider - A home energy rating system accredited through the Mortgage Industry National Home Energy Rating System Accreditation Standard.

Accredited Rater Training Provider or Training Provider - A home energy rater training

organization accredited by RESNET.

Certified Home Energy Rater or Rater - The person trained by an a Accredited Training

Provider and certified by an accredited home energy rating provider to inspect a home to

Chapter Seven RESNET Standards, 2006

2-1

Page 24

evaluate the minimum rated features and prepare an energy efficiency rating (see also Rating Field Inspector and Senior Certified Rater). A rater may employ or use a Rating Field Inspector to perform the physical inspection tasks allowed under that job designation. This definition does not restrict a Rater from conducting the inspections and necessary basic performance tests (blower door & duct blaster) to produce a home energy rating. The certified home energy Rater remains responsible for the accuracy of the information contained in the rating.

Confirmed Rating - An energy rating accomplished using data gathered from an on-site audit inspection and, if required, performance testing of the physical building and its installed systems and equipment.

Certified Rater Trainer - Class instructor who has demonstrated, by means of passing the

RESNET National Rater Trainer Competency Test, mastery of the building science and

rating system and competency necessary to effectively teach rater training courses.

Energy Efficiency Rating - An unbiased indication of a home’s relative energy efficiency based on consistent inspection procedures, operating assumptions, climate data and calculation methods.

Energy Saving Measure or Feature - Any material, component, device, system, construction method, process, or combination thereof that will result in a reduction of energy use.

EPAct - The U.S. Energy Policy Act of 1992.

Examination - Test administered by an accredited Rater Training Provider from questions developed by National Rater Training Provider Accreditation Committee.

HERS - Home Energy Rating System.

HERS Provider - A firm or organization that develops, manages, and operates a home

energy rating system.

Home - A one or two family dwelling, or multi-family dwelling of three stories or less.

NASEO - National Association of Energy Officials

National Core Rater Test - Computer-based examination developed by the Residential

Energy Services Network’s (RESNET) Training and Education Committee and administered by RESNET.

National Home Energy Rating Technical Guidelines - Voluntary home energy rating

system technical guidelines adopted by the National Association of State Energy Officials (NASEO).

National Rater Training Provider Accreditation Body - The Residential Energy Services

Network (RESNET) is the National Rater Training Provider Accreditation Body.

Chapter Seven RESNET Standards, 2006

2-2

Page 25

Projected Energy Rating - A rating performed prior to the construction of a new building or prior to implementation of energy-efficiency improvements to an existing building.

Rated Home - The specific home being evaluated using the rating procedures contained in the National Home Energy Rating Technical Guidelines.

Rater Specialty Certification – Professional building performance certification recognized by RESNET as part of a Home Energy Rater’s advanced certification.

Rater Trainer - An individual designated by the Accredited Rater Training Provider to

provide instruction and assistance to trainees.

Rating Field Inspector – A Field Inspector is the entry level of rater certification. A Field

Inspector under the direct supervision of a certified home energy rater may conduct the

inspections and necessary basic performance tests (blower door& duct blaster) to produce a home energy rating. This category requires the ability to identify and quantify building

components and systems.

Rating Tool - A procedure for calculating a home’s energy efficiency rating, annual energy consumption, and annual energy costs.

Reference Home - A hypothetical home configured in accordance with the specifications set forth in the National Home Energy Rating Technical Guidelines for the purpose of

calculating rating scores.

RESNET - Residential Energy Services Network

RESNET National Rater Trainer Competency Test – Certification test developed and

administered by RESNET to ensure that accredited rater training providers’ trainers have the requisite knowledge and competence to serve as trainers for prospective certified Raters. The test is based on the national core competency exam developed and maintained by RESNET.

RESNET Training and Education Committee - The accreditation committee that reviews and approves applications from Rater Training Providers for national accreditation.

Senior Certified Rater – A senior rater is the first category of advanced rater certification. Senior Certified Raters have demonstrated that they have the increased experience and knowledge base to interpret the findings of a rating and make recommendations on how the home can be improved.

203 TRAINING AND EDUCATION COMMITTEE

203.1 RESNET Training and Education Committee

203.1.1 Composition. The RESNET Training and Education Committee shall be appointed by and serve at the pleasure of the RESNET Board of Directors.

Chapter Seven RESNET Standards, 2006

2-3

Page 26

203.1.2 Responsibilities. The RESNET Training and Education Committee shall review and approve the following:

203.1.2.1 Applications from prospective Rater Training Providers for accreditation in

accordance with this Standard;

203.1.2.2 Accreditation Renewal Application. Annually review and modify, if necessary,

the following:

203.1.2.2.1 Core competency examination questions;

203.1.2.2.2 Time limits for the core examination;

203.1.2.2.3 Passing scores for the core examination; and

203.1.2.2.4 Annual accreditation fee.

204 ACCREDITED TRAINING PROVIDERS

204.1 Requirements for Accredited Home Energy Training Providers

204.1.1 Duties and Responsibilities. In order to maintain their accreditation in good

standing, all Training Providers shall fully discharge the following duties and

responsibilities. Failure to properly discharge all of these duties and responsibilities shall

constitute grounds for disciplinary action in accordance with Section 212 of this Standard.

204.1.1.1 Hold the national core competency questions of the national test administered by RESNET in the strictest confidence.

204.1.1.2 Maintain a record, for a period of three years, of all training materials and trainee data, including:

204.1.1.2.1 Historical records of all training schedules and curricula,

204.1.1.2.2 Historical records of all training attendance records,

204.1.1.2.3 Historical records of all examinations and individual examination results,

204.1.1.2.4 Historical records of all certifications issued to any individuals,

204.1.1.2.5 Copies of the most up-to-date instructor presentation materials, training

manuals, user manuals, course handouts and any other training materials use for training

purposes,

204.1.1.2.6 Copies of all current policies, standards, guidelines and procedures in use by

the Training Provider.

Chapter Seven RESNET Standards, 2006

2-4

Page 27

204.1.1.3 Maintain acceptable accounting practices, suitable to satisfy the requirements of independent audit procedures.

204.1.1.4 Maintain up-to-date training materials and courseware and provide for adequate

training facilities.

204.1.1.5 Maintain certified trainers, who have been certified by RESNET by passing the

National Rater Trainer Competency Test, and who satisfy the minimum trainer competencies in accordance with Section 206.1 of this chapter.

204.1.2 Privileges and rights. All accredited Training Providers in good standing shall have certain privileges and rights, as follows:

204.1.2.1 The privilege to display the accreditation seal of the National Accreditation Body on any publications, displays, presentations or marketing materials published, authorized for publication or otherwise issued by the Training Provider.

204.1.2.2 The privilege to make and use any trademarked, copyrighted or otherwise

restricted materials other than the national core test developed by RESNET for marketing

Rater Training Courses or Training Providers or for recruiting Rater trainees, instructors or trainers.

204.1.2.3 Copies of all current policies, standards, guidelines and procedures in use by the Training Provider.

204.1.2.4 The right to present evidence, arguments and a vigorous defense in any action

brought under these standards by any party against a Training Provider.

205 HOME ENERGY RATINGS

205.1 Home Energy Rating Knowledge Base and Skills Set

205.1.1 The following comprise a list of knowledge base and skills are necessary for home energy ratings. Training Providers shall use a certified trainer who has successfully passed the RESNET National Rater Training Competency Test and that their training curricula are sufficiently comprehensive to effectively teach these materials to prospective Home Energy Raters (See Section 6.1). Prospective Home Energy Raters, to become certified, shall demonstrate proficiency through passing the RESNET national core test and other training provider written examinations and observations.

205.1.1.1 Building Energy Performance.

205.1.1.1.1 Basic energy principles.

205.1.1.1.1.1 Energy terminology, units and conversions.

205.1.1.1.1.2 Heat transfer principles

Chapter Seven RESNET Standards, 2006

2-5

Page 28

205.1.1.1.1.2.1 Conduction

205.1.1.1.1.2.1.1 R-values & U-values

205.1.1.1.1.2.1.2 UA concepts

205.1.1.1.1.2.1.3 Parallel paths

205.1.1.1.1.2.2 Convection

205.1.1.1.1.2.2.1 Film coefficients

205.1.1.1.1.2.2.2 Buoyancy

205.1.1.1.1.2.2.3 Forced air flows

205.1.1.1.1.2.3 Radiation

205.1.1.1.1.2.3.1 Solar (absorptance + reflectance + transmittance = 1.0)

205.1.1.1.1.2.3.2 Far infrared (emittance = absorptance)

205.1.1.1.1.3 Moisture Principles

205.1.1.1.1.3.1 Properties

205.1.1.1.1.3.1.1 Dew point

205.1.1.1.1.3.1.2 Relative Humidity

205.1.1.1.1.3.1.3 Evaporation & condensation

205.1.1.1.1.3.2 Transport Mechanisms

205.1.1.1.1.3.2.1 Rain and ground water

205.1.1.1.1.3.2.2 Capillary action

205.1.1.1.1.3.2.3 Air transported

205.1.1.1.1.3.2.4 Vapor Diffusion

205.1.1.1.1.3.2.5 Evaporation and condensation

205.1.1.1.1.3.3 Impacts

205.1.1.1.1.3.3.1 Indoor Air Quality (IAQ)

Chapter Seven RESNET Standards, 2006

2-6

Page 29

205.1.1.1.1.3.3.2 Material and building durability

205.1.1.1.1.3.3.3 Human comfort

205.1.1.1.1.3.3.4 Energy use

205.1.1.1.1.4 Air flow in buildings

205.1.1.1.1.4.1 Pressure differentials and measurement techniques

205.1.1.1.1.4.2 Mechanisms and drivers

205.1.1.1.1.4.3 Energy and comfort implications

205.1.1.1.1.4.4 Health & safety issues

205.1.1.1.2 Heating, cooling, ventilation and hot water systems

205.1.1.1.2.1 System types

205.1.1.1.2.1.1 Direct-fired systems

205.1.1.1.2.1.2 Condensing systems

205.1.1.1.2.1.3 Heat pumps and air conditioning systems

205.1.1.1.2.1.3.1 Air Source

205.1.1.1.2.1.3.2 Ground Source

205.1.1.1.2.1.4 Hydronic systems

205.1.1.1.2.1.5 Combo systems

205.1.1.1.2.1.6 Ductless systems

205.1.1.1.2.1.7 Solar thermal systems

205.1.1.1.2.2 Efficiency

205.1.1.1.2.2.1 Measures of efficiency

205.1.1.1.2.2.2 Determination of efficiency (nameplate, age-based defaults, etc.)

205.1.1.1.2.3 Sizing & design

205.1.1.1.2.3.1 Impacts on energy use

Chapter Seven RESNET Standards, 2006

2-7

Page 30

205.1.1.1.2.3.2 Impacts on humidity control

205.1.1.1.2.4 Controls

205.1.1.1.2.4.1 Standard thermostats

205.1.1.1.2.4.2 Programmable thermostats

205.1.1.1.2.4.3 Multi-zone

205.1.1.1.2.5 Distribution systems

205.1.1.1.2.5.1 Duct types

205.1.1.1.2.5.2 Restricted returns

205.1.1.1.2.5.2.1 Closed interior doors

205.1.1.1.2.5.2.2 Return ducts and grills

205.1.1.1.2.5.3 Leakage

205.1.1.1.2.6 Fresh air ventilation

205.1.1.1.2.6.1 Supply, exhaust and balanced flow systems

205.1.1.1.2.6.2 Heat exchange systems

205.1.1.1.2.6.3 Energy/enthalpy exchange systems

205.1.1.1.2.6.4 Exchanger efficiency, fan power and duty cycle characteristics

205.1.1.1.2.7 Renewable energy systems

205.1.1.1.2.7.1 Active and passive space heating systems

205.1.1.1.2.7.2 Solar hot water systems

205.1.1.1.2.7.3 Photovoltaic systems

205.1.1.1.2.7.4 Wind generation

205.1.1.1.3 Diagnostic testing procedures

205.1.1.1.3.1 Building air tightness

205.1.1.1.3.1.1 Multipoint pressure testing

Chapter Seven RESNET Standards, 2006

2-8

Page 31

205.1.1.1.3.1.2 C, n, p and R2

205.1.1.1.3.2 Air distribution system air tightness

205.1.1.1.3.2.1 Pressure pan threshold tests

205.1.1.1.3.2.2 Duct air leakage measurements

205.1.1.1.3.2.2.1 cfm25_total

205.1.1.1.3.2.2.2 cfm25 out

205.1.1.1.3.2.3 Pressure measurements

205.1.1.1.3.2.3.1 Operational (by home and its equipment)

205.1.1.1.3.2.3.2 Imposed (by blower door, etc.)

205.1.1.1.3.2.4 Air heat and moisture measurements

205.1.1.1.3.2.4.1 Airflows

205.1.1.1.3.2.4.2 Temperatures

205.1.1.1.3.2.4.3 Relative humidity

205.1.2 Identifying minimum rated features as defined in the National Home Energy Rating

Technical Guidelines:

205.1.2.1 Identify basic home construction types; ramifications of these for energy usage.

205.1.2.2 Produce a scaled and dimensioned sketch of a home.

205.1.2.3 Identification of insulation defects and ability to account for them in energy

analysis tool inputs.

205.1.2.4 Identify and document the features of the rated home in accordance with the

requirements of Section B.5. and Appendix A of the National Home Energy Rating

Technical Guidelines.

205.1.2.5 Identifying potential building problems

205.1.2.5.1 Health and safety concerns

205.1.2.5.2 Building durability issues

205.1.2.5.3 Potential comfort problems

Chapter Seven RESNET Standards, 2006

2-9

Page 32

205.1.2.5.4 Possible elevated energy use

205.1.2.6 Rating Procedures

205.1.2.6.1 Understanding construction documents

205.1.2.6.1.1 Building drawings

205.1.2.6.1.2 Specifications

205.1.2.6.2 Field data collection (including photo documentation)

205.1.2.6.2.1 Physical measurements

205.1.2.6.2.1.1 Completing scaled sketches

205.1.2.6.2.1.2 Measuring building dimensions

205.1.2.6.2.1.3 Determining building orientations

205.1.2.6.2.1.4 Measuring window overhang lengths and heights

205.1.2.6.2.1.5 Determining roof slopes, gable heights, etc.

205.1.2.6.2.1.6 Calculating gross and net areas and volumes.

205.1.2.6.2.2 Energy feature documentation

205.1.2.6.2.2.1 Energy Analysis (Software) tool data requirements

205.1.2.6.2.2.2 Developing and using field inspection forms

205.1.2.6.2.2.3 Organizing data entry procedures

205.1.2.6.2.3 Characterizing envelope features

205.1.2.6.2.3.1 Determining wall types

205.1.2.6.2.3.2 Determining window and door types and characteristics

205.1.2.6.2.3.3 Determining envelope insulation types, thickness, thermal characteristics and weighted average thermal values

205.1.2.6.2.3.4 Determining duct system characteristics (duct types, insulation value, location with respect to the thermal and air barrier)

205.1.2.6.2.4 Equipment efficiencies determination

Chapter Seven RESNET Standards, 2006

2-10

Page 33

205.1.2.6.2.4.1 Nameplate data

205.1.2.6.2.4.2 ARI and GAMA guides

205.1.2.6.2.4.3 Age-based defaults

205.1.2.6.2.4.4 In situ measurements

205.1.2.6.2.5 Performance testing

205.1.2.6.2.5.1 Envelope leakage

205.1.2.6.2.5.2 Air distribution system leakage

205.1.2.6.3 Local climate impacts

205.1.2.6.3.1 Major US climate zones

205.1.2.6.3.2 97.5% and 2.5% design conditions

205.1.2.6.3.3 Cooling and heating design trade-offs

205.1.2.6.4 Utility prices

205.1.2.6.4.1 Revenue-based pricing

205.1.2.6.4.2 Reliable sources

205.1.2.6.5 Reports

205.1.2.6.5.1 Minimum reporting requirements

205.1.2.6.5.2 Improvement analysis

205.1.2.6.5.3 Projected and confirmed ratings

205.1.2.7 Operating Procedures and Office Administration

205.1.2.7.1 National guidelines and standards

205.1.2.7.1.1 Accreditation Procedures

205.1.2.7.1.2 Technical Guidelines

205.1.2.7.1.3 Training & Certification Standards

205.1.2.7.2 Understanding the Reference home and rating method

Chapter Seven RESNET Standards, 2006

2-11

Page 34

205.1.2.7.2.1 Reference Home as defined in B.2 of the National Home Energy Rating

Technical Guidelines (“Twin” home concept): “The reference home is the geometric

twin of the rated home, configured to a standard set of thermal performance

characteristics, from which the energy budget, that is the basis for comparison, is

derived.”

205.1.2.7.2.2 HERS Score computation using the Normalized Modified Loads Rating

Method

205.1.2.7.3 Uses of a Rating

205.1.2.7.3.1 Builder assistance

205.1.2.7.3.1.1 Cost effective building design assistance

205.1.2.7.3.1.2 Quality assurance assistance

205.1.2.7.3.1.3 Marketing

205.1.2.7.3.2 Program qualifications

205.1.2.7.3.2.1 EPA Energy Star

205.1.2.7.3.2.2 Utility

205.1.2.7.3.2.3 Other

205.1.2.7.3.3 Financing advantages

205.1.2.7.3.3.1 Energy Efficient Mortgages (EEM)

205.1.2.7.3.3.2 Energy Improvement Mortgages (EIM)

205.1.2.7.3.4 Energy Code compliance

205.1.2.7.3.5 Added appraisal value

205.1.2.7.3.6 Consumer education

205.1.2.7.4 Understanding real estate, financing and economic terminology

205.1.2.7.5 Dealing with clients

205.1.2.7.5.1 Understanding the business aspects of being a energy rater

205.1.2.7.5.2 Cultivating builder, banker and real estate partners.

205.1.2.7.5.3 Knowing who the customer is.

Chapter Seven RESNET Standards, 2006

2-12

Page 35

205.1.2.7.5.4 Providing excellent service.

205.1.2.7.6 Ethics and disclosure

205.2 Rating Field Inspector Knowledge and Skills Set

205.2.1 The following comprise a list of knowledge base and skills necessary to be certified

as a Rating Field Inspector:

205.2.1.1 Completion of Rating Field Inspector training by a RESNET accredited Rater

Training Provider.

205.2.1.2 A rating Field Inspector candidate has the option of challenging the classroom

training by passing the RESNET National Rating Field Inspector Test. A candidate who

passes the challenge test must still comply with the training field testing requirement.

205.2.1.3 A Rating Field Inspector shall pass the National Field Inspector Test administered by RESNET. A candidate who passes the test must still comply with the training fieldtesting requirement.

205.2.1.4 Upon successful completion of the training, the Rating Field Inspection candidate shall complete three additional probation tests under the direct supervision of a certified rater.

205.3 Senior Certified Knowledge and Skills Set

205.3.1 The following comprise a list of knowledge base and skills necessary to be certified as a Senior Certified Rater:

205.3.1.1 Experience as a certified energy rater for a period of at least one year.

205.3.1.2 Documentation having accurately completed ratings and performance tests of a

minimum of 25 homes.

205.3.1.3 Certification in a minimum of two Rater Specialty Certifications.

205.3.1.4 Demonstrate the ability to complete a rating and all required performance testing, without the use of any reference material, in the presence of a rater trainer or quality assurance designee.

205.3.1.5 Passing the National Senior Rater Test administered by RESNET.

205.3.2 A National Senior Rater must also publicly demonstrate before a jury of 5, approved by the Technical Committee and composed of at least 3 of his/her peers and at least one Certified Trainer and at least one Quality Assurance Designee, that he or she is competent in all areas by passing an oral exam, designed to determine if the National Senior Rater candidate can successfully diagnose and discuss in detail the building science phenomena

Chapter Seven RESNET Standards, 2006

2-13

Page 36

that underlie a complex home energy rating case study, approved by the Training and

Certification Committee.

205.4 Rater Specialty Certification

205.4.1 RESNET will formally recognize raters’ optional specialty certification(s) by

independent programs in closely related fields of building performance, above and beyond RESNET’s rater certification. In order to be recognized by RESNET the program must submit an application developed by the RESNET Training and Education Committee. The RESNET Training and Education Committee will select programs based upon the following criteria:

205.4.1.1 The organization offering the certification shall have a credible reputation.

205.4.1.2 The training and certification is conducted by competent and qualified instructors in the prescribed field of instruction.

205.4.1.3 The organization offering the certification shall have a credible training and testing process as part of their certification.

205.4.1.4 The organization shall have clear, effective, and documented independent quality assurance procedures.

205.4.1.5 The organization shall have a clear, effective and documented discipline process.

206 MINIMUM COMPETENCIES

206.1 Minimum Rater Training Provider Competencies

206.1.1 A Rater Training Provider shall maintain certified trainers demonstrating the

following skills:

206.1.1.1 Mastery of the Home Energy Rating System knowledge base and skills set given by Section 205.1 of this chapter. The certified trainers shall demonstrate these skills by passing the RESNET National Rater Training Competency Test.

206.1.1.2 Ability to communicate effectively the methods, procedures, knowledge and skills given in Section 5 of this Standard to produce accurate and fair Home Energy Ratings from building drawings and specifications and from field inspections and performance testing in accordance with the National Home Energy Rating Technical Guidelines.

206.1.1.3 Understanding of the purposes and benefits of home energy ratings and ability to communicate these to students.

206.1.1.4 Understanding the basics of energy efficient mortgages, energy improvements

mortgages and related products and ability to communicate these to students.

Chapter Seven RESNET Standards, 2006

2-14

Page 37

206.1.2 Minimum Rater Competencies. A Certified Rater shall pass examinations

comprising, at a minimum, the national core test administered by RESNET and complete a minimum of two ratings in the presence of a trainer. This examination may either follow training or it may be taken as a challenge examination. Specifically, a Certified Rater shall demonstrate the following skills:

206.1.2.1 Ability to accurately gather from building drawings and specification or from field inspections and product specification and nameplate information and/or determine through field performance testing all input data required by home energy rating system software to produce accurate and fair home energy ratings in accordance with the National Home Energy Rating Technical Guidelines.

206.1.2.2 Understanding of the purposes and benefits of home energy ratings and ability to communicate these to potential customers.

206.1.2.3 Understanding the basics of energy efficient mortgages, energy improvement

mortgages and related products and ability to communicate these to potential customers.

207 CERTIFIED TRAINING

207.1 Minimum Certified Training Requirements

207.1.1 The curriculum shall be designed to ensure that the Rater trainee is proficient as a

Home Energy Rater as defined by Section 206.1.2, Minimum Rater Competencies, as given above.

207.1.2 Successful completion of rater training requires that the Rater trainee pass a written examination comprising, at a minimum, the RESNET National Core Competency Test administered by RESNET and complete a minimum of two ratings in the presence of a trainer.

207.1.3 Rater certification by an Accredited Rating Provider shall be achieved within 1 year

of successful completion of Rater training or training certification shall be null and void.

208 EXAMINATIONS

208.1 Certified Rater Trainer

208.1.1 Written examination. Examinations may be given at completion of classroom

training or may be given in the form of a “challenge” exam to individuals who have not

undergone classroom training.

208.1.1.1 National core competency test. RESNET shall directly administer the National

Rater Training Competency Test to prospective rater trainers seeking certification. The rater training provider seeking accreditation shall submit the names of certified rater trainers it intends to use; and RESNET will verify whether they have passed the RESNET National Rater Training Competency Test.

Chapter Seven RESNET Standards, 2006

2-15

Page 38

208.1.1.1.1 RESNET National Rater Training Competency Test.

208.1.1.1.2 Overseen by a proctor. A proctor is an individual designated by RESNET to

oversee the written National Rater Training Competency examination.

208.1.1.1.3 Time limited

208.1.2 Rater Candidates.

208.1.2.1 Written examination. Examinations may be given at completion of classroom

training or may be given in the form of a “challenge” exam to individuals who have not

undergone classroom training.

208.1.2.1.1 RESNET National Rater Training Competency Test

208.1.2.1.2 Open book (& student notes)

208.1.2.1.3 Overseen by a proctor. A proctor is an individual designated by the

Accredited Training Provider to oversee the written examination.

208.1.2.1.4 Time limited

209 CONTINUING EDUCATION

209.1 Continuing Education Requirements for Certified Raters

209.1.1 Continuing education units must be recognized by RESNET. Certified Rater trainer continuing education shall consist of a minimum of twelve hours annually.

209.1.2 Continuing education units shall be approved by the Accredited Rating System

Provider and shall consist of the number of hours required by the Mortgage Industry National Home Energy Rating System Accreditation Procedures.

210 RATER TRAINING PROVIDERS

210.1 Accreditation of Rater Training Providers

210.1.1 Training Providers shall be accredited by the National Rater Training Provider

Accreditation Committee (TPAC) through the auspices of the National Rater Training

Provider Accreditation Body.

210.1.1.1 Application Procedure.

210.1.1.1.1 Applicants shall demonstrate that their training meets the criteria established

through this Standard. Documentation shall include:

210.1.1.1.1.1 Training curriculum

Chapter Seven RESNET Standards, 2006

2-16

Page 39

210.1.1.1.1.2 Training materials and manuals

210.1.1.1.1.3 Examination materials

210.1.1.1.1.4 Facilities description

210.1.1.1.1.5 Organization description

210.1.1.1.1.6 Principals and staff qualifications (detailed resumes)

210.1.1.1.2 Applications shall be submitted to the National Rater Training Provider

Accreditation Body and reviewed and approved by the National Rater Training Provider

Accreditation Committee

210.1.1.1.3 Application Review Procedure. A National Training Provider Accreditation

Committee (TPAC) comprised of individuals consisting of members of Rater Training

Providers, Rating System Providers, and Certified Raters shall provide review and approval or rejection of the application documents.

210.1.1.1.4 Confidentiality of Information. Any Rater Training Provider submitting the

required application information and desiring to have certain information treated as

confidential in order to limit disclosure shall, at the time of submission, attach a statement

specifying the proprietary information and requesting confidentiality.

210.1.1.2 Review and Notification. Within 120 days of a complete application, the

accrediting body will review the submission for compliance to the accreditation standards set forth within and accredit the Rater Training Provider or forward a request for additional information or clarification.

210.1.1.3 If the TPAC determines that the application meets the Standard, it shall provide a copy of all documentation and written approval of the application to the National Rater

Training Accreditation Body, who shall issue a unique Rater Training Provider accreditation

identification number. The initial accreditation is valid for a period of three years from the date of issuance. The accreditation will be incorporated into a national registry of accredited home energy Rater Training Providers and listed on the RESNET web site on the Internet. In order to maintain accreditation in good standing, renewal of accreditation is required triennially.

210.1.1.4 If the TPAC determines that the applicant does not meet the accreditation

Standard, it shall inform the applicant, identify where the applicant failed to meet the

accreditation Standard, and inform the applicant of its right of remedy under Section 13 of this Standard. A rejected applicant has the right to call for an on-site review and evaluation of their training program by a designee of the TPAC.

210.1.1.4.1 A fee for the on-site review shall be established by the TPAC and paid by the

organization seeking accreditation.

Chapter Seven RESNET Standards, 2006

2-17

Page 40

210.1.1.4.2 Evaluation criteria for the on-site review shall be established by the TPAC.

210.1.1.4.3 Full Accreditation shall be granted only upon the successful completion of on-site evaluation.

210.1.1.5 Responsibility of Accredited Training Provider. The Accredited Training

Provider is responsible for ensuring that all of their training sessions comply with all of the criteria for which the Training Provider was accredited.

210.1.1.6 Accreditation Fee. An annual accreditation fee shall be established by TPAC.

210.1.1.7 Application Fee. An Accreditation application fee equal to the annual

accreditation fee shall be paid by training organizations seeking accreditation. This

application fee shall also constitute the accreditation fee for the first year of accreditation.

211 ACCREDITATION RENEWAL

211.1 Rater Training Providers Application for Renewal

211.1.1 Rater Training Providers Application for Renewal. Rater Training Providers shall

submit an “Application for Renewal” no later than 120 days prior to the expiration of the

current accreditation period. Renewal shall be required every three years after the issuance of the unique accreditation registration number by the national accreditation body. Renewal applications will be processed in the same manner as the initial application.

211.1.2 Late Application. Applications received later than specified above will be

processed, to the maximum extent feasible, so that the accreditation does not expire. Should the expiration date pass, the applicant may be granted an extension not to exceed 30 days.

211.1.3 Successful Renewals. Successful renewals will be noted on the national registry.

211.1.4 Renewal Applications Extending Beyond the Grace Period. Renewals extending

beyond the grace period will be noted as “pending” on the national registry and the applicant will be advised to cease representing themselves as accredited until the application receives approval.

211.1.5 Accreditation Not Renewed. Rater Training Providers that elect not to renew or fail to meet renewal requirements will be removed from the national registry and so advised.

211.1.6 Appeals. Rater Training Providers whose accreditation has been revoked, and are

exercising their right of appeal will be notified as pending and the Training Provider will be advised to cease representing themselves as accredited until the appeal is resolved.

211.1.7 Program Element Changes. It is the accredited rater Training Provider’s

responsibility to provide the national accrediting body with any proposed changes in the

organization’s minimum training procedures, examinations and principals or other

information that effects the minimum accreditation criteria. Proposed changes will be

Chapter Seven RESNET Standards, 2006

2-18

Page 41

evaluated by the accrediting review body in the same manner as the original or renewal

application.

212 SUSPENSION OR REVOCATION OF ACCREDITATION

212.1 Suspension or Revocation of Accreditation of Rater Training Providers

212.1.1 For Failure to Correct Deficiencies. If the national accrediting body determines at

any time that a Rater Training Provider has failed to adhere to the accreditation requirements, the accreditation body shall notify the Training Provider of the specified deficiencies and shall require that specific corrective action, set forth in the notification, be taken not later than 30 calendar days after the date set forth in such notification.

212.1.1.1 In the event that the deficiencies have not been remedied, the national accrediting body shall have the authority to immediately begin the process of suspension by issuance of a Notice of Suspension Proceedings. Such Suspension Proceedings shall follow the due process procedures contained in Section 212.1.3 below. The notice may be appealed in accordance with procedures set forth in Section 213.

212.1.1.2 In the event that the specified deficiencies are not corrected within the application period set forth in the Notice of Suspension, a Notice of Revocation Proceeding shall be issued by the accreditation body. Such Revocation Proceeding shall follow the due process procedures contained in Section 212.1.2 below. The Notice of Revocation may be appealed in accordance with the procedures set forth in Section 212.1.3.

212.1.2 For Cause. Any Rater Training Provider accredited by the accrediting body may

have their accreditation revoked in any of the following circumstances:

212.1.2.1 Upon determination by the accrediting body that a Rater Training Provider has

acted in such a manner as to impair the objectivity or integrity of the accrediting program or harm the reputation of the accrediting body including, but not limited to submission of false information to the accreditation review body, or failure to submit to the accreditation review body any material information required to be submitted by the Training Provider, in connection with obtaining or maintaining accreditation; knowingly or negligently issuing training certifications that fail to meet all of the accreditation criteria; or misrepresentation by the Training Provider in advertising or promotional materials of its accreditation status in general or with respect to any service provided by the Training Provider.

212.1.2.2 Pursuant to any of the express provisions of Section 210.1 or any of the express

provisions of the accreditation application including but not limited to the following:

212.1.2.2.1 Rater Training Provider goes out of business;

212.1.2.2.2 Rater Training Provider does not re-apply at the end of existing accreditation

period;

212.1.2.2.3 Failure to satisfy accreditation requirements on renewal;

Chapter Seven RESNET Standards, 2006

2-19

Page 42

212.1.2.2.4 Investigated and validated consumer complaints;

212.1.2.2.5 Willful misconduct;

212.1.2.2.6 Failure to disclose a conflict of interest.

212.1.2.3 Upon expiration of a Training Provider’s right to appeal, a suspension of

accreditation pursuant to Section 212.1.2.

212.1.3 Suspension/Revocation Due Process. The national accreditation body shall comply with the following due process procedures in considering any suspension or revocation actions against an accredited rater Training Provider.

212.1.3.1 Notice. The accrediting body may, at its discretion, initiate a proposed

suspension or revocation action against an accredited Training Provider by providing the

Training Provider and the accrediting review body written notice of the proposed action sent by certified mail, return receipt requested, to the last known address of the Training Provider. Such notice shall inform the Training Provider of the entire basis and justification for the proposed action.

212.1.3.2 Contest of Proposed Suspension/Revocation. A respondent may contest a

proposed suspension/revocation by filing a response with the accrediting body within 30 days of receipt of the notice. The response shall contain all pertinent and substantive information and argument that is in contradiction to the proposed suspension/revocation, including identification of all disputed materials and facts. If the respondent fails to file said response within the allotted time, the accrediting body may, at its discretion, suspend/revoke the accreditation of the respondent effective immediately upon written notification to the respondent.

212.1.3.3 Hearing. If the respondent files a timely response contesting the proposed

suspension/revocation and requests a hearing, the national accrediting body will appoint an independent, unbiased, and qualified hearing officer and issue a decision on the proposed suspension/revocation. The hearing officer will review the notice of suspension/revocation and the respondent’s contest. If the hearing officer finds that the respondent’s contest has raised substantiated and valid factual argument to the contrary of the proposed suspension/revocation, the respondent shall be afforded an opportunity to participate in an open and public hearing, and to submit additional documentary evidence, and rebuttal argument to any material contained in the original notice of suspension/revocation or developed during the course of the hearing officer’s investigation. The notice shall be provided to the respondent by written notice by certified mail, return receipt requested, to the last known address of the rating system at a minimum of 120 days before the scheduled hearing.

212.1.3.4 Hearing Officer’s Decision. The hearing officer shall issue a written decision on the proposed suspension/revocation that is based on all the information contained in the hearing record including statements of the factual and legal basis of the decision. If the hearing officer decides to impose suspension or revocation, the decision must include

findings regarding all disputed materials, and justification for all findings. A

Chapter Seven RESNET Standards, 2006

2-20

Page 43

suspension/revocation decision by the hearing officer shall take effect upon the issuance of the hearing officer’s decision and the written notification of such decision to the respondent.

212.1.3.5 No Ex Parte Communication. No ex parte communication between the parties

and the hearing officer shall be allowed.

212.1.3.6 Notification of state’s determination. Where a state has statutory authority to

regulate Rater training and the state has followed its due process in suspending or revoking a Rater Training Provider’s rights, the state is encouraged to notify RESNET of the action and the reasons for such action.

213 APPEALS PROCEDURES

213.1 Appeals Procedures for Non-Approved, Suspended, or Revoked Applications

213.1.1 Notification. The national accrediting body shall notify the rater Training Provider and the RESNET Training and Education Committee of any and all disciplinary actions. Additionally, the Committee shall clearly notify the Training Provider of all procedures and rights to remedy.

213.1.2 Appeal.

213.1.2.1 In the event that an accreditation application was not approved or the

accreditation has been suspended, the rater Training Provider shall have the right, for a

period of 30 calendar days after the date of notice, to appeal to the national accrediting body.

213.1.2.2 In the event that a Training Provider’s accreditation is suspended following the

expiration of the period to appeal a suspension, in the absence of an appeal having been

taken, the Training Provider shall have the right, at its election, for a period of 30 calendar days after the date of issue of a Notice of Suspension, to appeal to the national accrediting body.

213.1.2.3 An appeal shall be in writing and sent by certified mail or other method which

provides evidence of delivery to the RESNET Executive Director and shall specify the basis for the appeal.

213.1.2.4 The appellant Training Provider may, at the time of noticing its appeal, request in writing, a hearing. In such an event, the national accrediting body shall, not later than 7

calendar days after the filing of the notice of appeal, appoint a hearing officer and notify the appellant Training Provider of the date of the hearing, which shall be held as expeditiously as possible, but not later than 30 calendar days after the receipt of the notice of appeal.

214 RECIPROCITY

214.1 Reciprocity among Jurisdictions

214.1.1 Nationally accredited Home Energy Rating Systems shall accept certified training provided by an accredited Training Provider as meeting the core competencies for a Home

Chapter Seven RESNET Standards, 2006

2-21

Page 44

Chapter Seven RESNET Standards, 2006

2-22

Energy Rater. Accredited Home Energy Rating System Providers may add additional

training requirements needed to address their specific program, climate, software or

administrative requirements.

Page 45

Chapter Three

RESNET Standards

300 NATIONAL ENERGY RATING TECHNICAL STANDARDS

301 GENERAL PROVISIONS

301.1 Purpose

The provisions of this document are intended to establish national residential energy rating Standards, consistent with the provisions of the Energy Policy Act of 1992, which any provider of home energy ratings may follow to produce uniform energy ratings for residential buildings.

301.1.1 Relationship to Other Standards. This Chapter is a companion Chapter to the

“National Accreditation Procedures for Home Energy Rating Systems”(Chapter 1 of this

Standard) and “National Rater Training and Certifying Standard (Chapter 2 of this Standard), as promulgated and maintained by the Residential Energy Services Network (RESNET) and recognized by the mortgage industry.

301.1.2 Relationship to State Law. These Standards specifically recognize the authority

of each state that has a state law or regulation requiring certification, or licensing of home

energy rating systems. To the extent that such state laws or regulations differ from these

Standards, state law or regulation shall govern.

301.2 Scope

301.2.1 Application of Standards

These Standards apply to existing or proposed, site-constructed or manufactured, single- and multi-family residential buildings three stories or less in height excepting hotels and motels.

302 DEFINITIONS AND ACRONYMS

Accreditation Procedures – The set of standards and procedures entitled “Mortgage Industry National Accreditation Procedures for Home Energy Rating Systems” as published and

maintained by RESNET.

Annual Fuel Utilization Efficiency or AFUE – A standardized measure of heating system efficiency, based on the ratio of annual output energy to annual input energy that includes any non-heating season pilot input loss.

Auxiliary Electric Consumption – The annual auxiliary electrical energy consumption for a fossil fuel fired furnace or boiler in kilowatt-hours per year, derived from the Eae as follows:

Chapter Seven RESNET Standards, 2006

3-1

Page 46

Auxiliary Electric Consumption (kWh/yr) = Eae * (HLH) / 2080)

where: HLH = annual heating load hours seen by the furnace/boiler Note: If fan power is

needed (kW), it is determined by Eae / 2080.

Bedroom – A room or space 70 square feet or greater, with egress window and closet, used or intended to be used for sleeping. A "den." "library," "home office" with a closet, egress window, and 70 square feet or greater or other similar rooms shall count as a bedroom, but living rooms and foyers shall not.

Biomass Fuel – Non-liquid and non-gaseous combustible substance burned to create energy, such as chunk wood, wood chips, corn husks, etc.

Biomass System – A biomass fuel combustion device and all associated mechanisms,

controls, venting, and heat delivery components designed to provide space heating.

Climate zone – A geographical area defined as having similar long-term climate conditions.

COP – Coefficient of Performance, which is the ratio of the rate of heat delivered to the rate of energy input, in consistent units, for a complete heat pump system under designated operating conditions.

Conditioned Floor Area (CFA) – The finished floor area in square feet of a home that is

conditioned by heating or cooling systems, measured in accordance with ANSI Standard

Z765-2003 with exceptions as specified in Appendix A of this Standard.

Conditioned space boundary – The continuous planes of the building envelope that comprise the primary thermal and air flow barrier between the directly or indirectly conditioned space and either the outdoors or an adjacent unconditioned space.

Confirmed Rating – An energy rating accomplished using data gathered from an on-site

audit inspection and, if required, performance testing of the physical building and its installed systems and equipment.

Detached One- and Two-Family Dwelling – A building with one or two independent

dwelling units with an individual or central HVAC system.

Directly Conditioned Space – An enclosed space having heating equipment with a capacity exceeding 10 Btu/hr-ft

2

, or cooling equipment with a capacity exceeding to 10 Btu/hr-ft

2

. An exception is if the heating and cooling equipment is designed and thermostatically controlled to maintain a process environment temperature less than 65 degrees Fahrenheit or greater than 85 degrees Fahrenheit for the whole space the equipment serves.

Distribution System Efficiency – A system efficiency factor, not included in manufacturer’s performance ratings for heating and cooling equipment, that adjusts for the energy losses associated with the delivery of energy from the equipment to the source of the load, such energy losses associated with heat transfer across duct or piping walls and air leakage to or from forced air distribution systems.

Chapter Seven RESNET Standards, 2006

3-2

Page 47

EAE – The average annual auxiliary electrical energy consumption for a gas furnace or

boiler in kilowatt-hours per year as published in the GAMA Consumer’s Directory of

Certified Efficiency Ratings.

Energy Analysis Tool – A computerized calculation procedure for determining a home’s

energy efficiency rating and estimating annual purchased energy consumption and cost.

Energy Efficiency Ratio or EER – the ratio of net equipment cooling capacity in Btu/h to total rate of electric input in watts under designated operating conditions.

Energy Efficiency Rating or Energy Rating – An unbiased indication of a home’s relative energy performance based on consistent inspection procedures, operating assumptions, climate data and calculation methods.

Energy Factor or EF –A standardized measure of water heater energy efficiency as

determined under Department of Energy Regulations, 10 CFR 430.23(e)(2)(ii).

Energy Saving Measure or Feature – Any material, component, device, system,

construction method, process or combination thereof that will result in a reduction of energy use.

EPAct – The U.S. Energy Policy Act of 1992

Equivalent Electric Power – The amount of electricity that would be produced from site

fossil fuel uses when converted to electrical power using the Reference Electricity Production Efficiency.

Estimated Annual Energy Cost Savings – Positive dollar difference between estimated

annual energy costs for an improved existing home as compared with the same home in its original condition or for a new home, as compared with the HERS Reference Home, local code or, for the purposes of Fannie Mae mortgages, the RESNET representation of the 1993 Model Energy Code, whichever is applicable.

Exposed Wall – Walls subjected to heat loss or gain.

Fenestration – A glazed opening and its associated sash and framing that is installed into a building.

Standards (HERS Standards) – Minimum criteria that a HERS Provider must meet in order to receive accreditation

HERS – Home Energy Rating System

HERS-BESTEST – The Home Energy Ratings System Building Energy Simulation Test

published as NREL Report No. NREL/TP-472-7332

HERS Index – A numerical integer value that represents the relative energy use of a Rated Home as compared with the energy use of the HERS Reference Home and where an Index

Chapter Seven RESNET Standards, 2006

3-3

Page 48

value of 100 represents the energy use of the HERS Reference Home and an Index value of 0 (zero) represents a home that uses zero net purchased energy.

HERS Provider – A person or organization that develops, manages, and operates a home

energy rating system.

Home – A building with one or more dwelling units that has three or fewer stories above

grade, or a single dwelling unit within a building of three or fewer stories above grade.

Home Energy Rater or Rater – The person trained and certified by a Rating Provider to

perform the functions of inspecting and analyzing a home to evaluate the minimum rated

features and prepare an energy efficiency rating.

Home Energy Rating System or HERS – The materials and procedures needed to operate a home energy rating program including but not limited to: marketing materials, training materials, publications, rating tool, quality control, data collection and maintenance, agreements, data collection sheets, home owner reports, and other related materials and services.

Heating Seasonal Performance Factor or HSPF-- A standardized measure of heat pump

efficiency, based on the total heating output of a heat pump, in Btu, divided by the total

electric energy input, in watt-hours, under test conditions specified by the Air Conditioning

and Refrigeration Institute Standard 210/240.

HVAC – Heating, Ventilating and Air Conditioning.

Indirectly Conditioned Space – Enclosed space that is not directly conditioned:

(a) With area weighted heat transfer coefficient (U-value) to directly conditioned space

exceeding that to the outdoors or to unconditioned spaces; or

(b) Through which air to or from directly conditioned spaces is transferred at a rate

exceeding three air changes per hour.

Internal Gains – The heat gains within a home attributable to lights, people, and

miscellaneous equipment.

International Energy Conservation Code (IECC) – The model code for building energy

conservation as promulgated by the International Code Council.

Labeled Ceiling Fan – A ceiling fan that has been labeled for efficiency in accordance with

EPA guidelines such that the label shows the cfm, cfm/watt and watts of the fan at low,

medium and high speeds

Labeled Ceiling Fan Standardized Watts (LCFSW) – The power consumption in watts of a

Labeled Ceiling Fan “standardized” to a medium speed air delivery of 3000 cfm.

Light Fixture – A complete lighting unit consisting of a lamp or lamps, and ballasting (when

applicable) together with the parts designed to distribute the light, position and protect the

Chapter Seven RESNET Standards, 2006

3-4

Page 49

lamps, and connect the lamps to the power supply. For built-in valence lighting, strings of

low-voltage halogens, and track lights, each individual bulb shall count as a fixture.

Model Energy Code: 1993 (MEC ‘93) – The building energy code as promulgated by the

Council of American Building Officials (CABO) in 1992 as amended in 1993. The RESNET

representation of MEC ’93 is the HERS Reference home as defined in the “Mortgage

Industry National Home Energy Rating Standards” dated 1999.

Mechanical Ventilation System – A fan designed to exchange the air in the house with

outside air, sized to provide whole-house service per ASHRAE 62.2, and controlled

automatically (i.e. not requiring human intervention to turn on and off). The presence of a

remote-mounted on-off switch or dedicated circuit breaker labeled "whole house ventilation"

(or equivalent) shall not disqualify a system from meeting the requirement of automatic

control.

NREL – National Renewable Energy Laboratory.

On-site Power Production (OPP) – Electric power produced at the site of a Rated Home.

OPP shall be the net electrical power production, such that it equals the gross electrical

power production minus any purchased fossil fuel energy, converted to its Equivalent

Electric Power, used to produce the on-site power.

Projected Rating – A rating performed prior to the construction of a new building or prior to

implementation of energy-efficiency improvements to an existing building.

Purchased Energy – The portion of the total energy requirement of a home purchased from

a utility or other energy supplier.

Purchased Energy Fraction (PEfrac) – The fraction of the total energy consumption of the

Rated Home that is purchased energy, wherein all site fossil energy uses are converted to

their Equivalent Electric Power using the Reference Electricity Production Efficiency of

40%.

Qualifying Light Fixture – A light fixture located in a Qualified Light Fixture location and

comprised of any of the following components: a) fluorescent hard-wired (i.e. pin-based)

lamps with ballast; b) screw-in compact fluorescent bulb(s); or c) light fixture controlled by a

photocell and motion sensor.

Qualifying Light Fixture Locations – For the purposes of rating, those light fixtures located

in kitchens, dining rooms, living rooms, family rooms/dens, bathrooms, hallways, stairways,

entrances, bedrooms, garage, utility rooms, home offices, and all outdoor fixtures mounted

on a building or pole. This excludes plug-in lamps, closets, unfinished basements, and

landscape lighting.

Rated Home – The specific home being evaluated using the rating procedures and Standards

contained in this document.

Rating Index – See HERS Index.

Chapter Seven RESNET Standards, 2006

3-5

Page 50

Rating Tool – A computerized procedure for calculating a home’s energy efficiency rating,

annual energy consumption, and annual energy costs.

Reference Electricity Production Efficiency – Electric power production efficiency,

including all production and distribution losses, of 40%, approximating the efficiency of a

modern, high-efficiency, central power plant. The Reference Electricity Production

Efficiency is to be used only to convert site fossil fuel energy uses to an Equivalent Electric

Power for the sole purposes of providing home energy rating system credit for On-site Power

Production.

Reference Home – A hypothetical home configured in accordance with the specifications set

forth in Section 303.4 of these Standards.

RESNET – Residential Energy Services Network

R-Value – thermal resistance value measured in h-ft

2

-F/Btu.

Seasonal Energy Efficiency Ratio or SEER-- A standardized measure of air conditioner

efficiency based on the total cooling output of an air conditioner in Btu/h, divided by the total

electric energy input, in watt-hours, under test conditions specified by the Air Conditioning

and Refrigeration Institute Standard 210/240.

Standard Ceiling Fan – The ceiling fan against which Labeled Ceiling Fans are measured

for efficiency. At medium fan speed, the Standard Ceiling Fan produces 3000 cfm of air

flow and consumes uses 42.6 watts of power.

Thermal Boundary Wall - Any wall that separates directly or indirectly conditioned space

from unconditioned space or ambient conditions.

Above-Grade Thermal Boundary Wall is any thermal boundary wall, or portion of such

wall, not in contact with soil.

Thermal Storage Mass – Materials or equipment incorporated into a home that will store

heat, produced by renewable or non-renewable energy, for release at a later time.

Typical Meteorological Year or TMY Data – Hourly climate data published by the National

Climatic Center, Asheville, NC, based on historical climate data in 216 locations.

U-Value – Thermal transmittance value measured in Btu/h-ft

2

-F.

303 TECHNICAL REQUIREMENTS

303.1 Rating Procedures

303.1.1 To determine the energy rating of a home, all HERS providers shall–

Chapter Seven RESNET Standards, 2006

3-6

Page 51

303.1.1.1 If rating an existing home, visit the home to collect the data needed to calculate

the rating;

303.1.1.2 If rating a new, to-be-built home, follow the procedures set forth in Section 303.6

and 303.7 of these Standards to collect the data needed to calculate the rating;

303.1.1.3 Use the collected data to estimate the annual purchased energy consumption for

heating, cooling and water heating, lighting and appliances for both the Rated Home and the

Reference Home as defined in Section 303.4 of these Standards.

303.1.1.4 If the energy efficiency rating is conducted to evaluate proposed energy

conserving improvements to the home, calculate additional estimates of annual purchased

energy consumption with the home reconfigured to include those improvements sufficient to

consider interactions among improvement options.

303.1.1.5 If the Rated Home includes On-site Power Production (OPP), then OPP shall be

calculated as the gross electric power produced minus the Equivalent Electric Power of any

purchased fuels used to produce the electric power. The HERS Reference Home shall not

include On-site Power Production.

For example, assume 1000 kWh (3413 kBtu or 3.413 MBtu) of gross electrical power is

produced using 60 therms (6 MBtu) of natural gas to operate a high-efficiency fuel cell

system. Using these assumptions, OPP = 3.413 MBtu - (6 MBtu * 0.4) = 1.0 MBtu.

303.1.2 Estimates completed by all HERS providers under Sections 303.1.1.3, 303.1.1.4 and

303.1.1.5 of this Standard must be–

303.1.2.1 Based on the minimum rated features set forth in Section 303.7 of these

Standards.

303.1.2.2 Conducted using the standard operating assumptions established in Section 303.5

of these Standards.

303.1.2.3 Conducted using rating tool that has been certified for accuracy under Chapter 1,

Section 102.2 of these Standards (“National Accreditation Procedures for Home Energy

Rating Systems”).

303.1.3 All HERS providers shall compare the estimates provided under Section 303.1.1 of

this Standard to determine the energy rating of the home and, if applicable, the energy rating

of the home with proposed conservation measures and On-site Power Production installed.

303.2 Rating Determination

303.2.1 HERS Index. The rating Index shall be a numerical integer value that is based on a

linear scale constructed such that the HERS Reference Home has an Index value of 100 and a

home that uses no net purchased energy has an Index value of 0 (zero). Each integer value on

the scale shall represent a 1% change in the total energy use of the Rated home relative to the

total energy use of the Reference home. Except in states or territories whose laws or

Chapter Seven RESNET Standards, 2006

3-7

Page 52

regulations require a specific alternative method, which shall control, equations 1 and 2 shall

be used in a 2 step process to calculate the HERS Index for the Rated Home, as follows:

Step (1) Calculate the individual normalized Modified End Use Loads (nMEUL) for heating,

cooling, and hot water using equation 1:

nMEUL = REUL * (nEC_x / EC_r) (Eq. 1)

where:

nMEUL = normalized Modified End Use Loads (for heating, cooling, or hot water) as

computed using accredited simulation tools.

REUL = Reference Home End Use Loads (for heating, cooling or hot water) as computed

using accredited simulation tools.

nEC_x = normalized Energy Consumption for Rated Home’s end uses (for heating, including

auxiliary electric consumption, cooling or hot water) as computed using accredited

simulation tools.

EC_r = estimated Energy Consumption for Reference Home’s end uses (for heating,

including auxiliary electric consumption, cooling or hot water) as computed using accredited

simulation tools.

and where:

nEC_x = (a* EEC_x – b)*(EC_x * EC_r * DSE_r) / ( EEC_x * REUL)

where:

EC_x = estimated Energy Consumption for the Rated Home’s end uses (for heating, cooling

or hot water) as computed using accredited simulation tools.

EEC_x = Equipment Efficiency Coefficient for the Rated Home’s equipment, such that

EEC_x equals the energy consumption per unit load in like units as the load, and as derived

from the Manufacturer’s Equipment Performance Rating (MEPR) such that

EEC_x equals 1.0 / MEPR for AFUE, COP or EF ratings, or such that EEC_x equals 3.413 /

MEPR for HSPF, EER or SEER ratings.

DSE_r = REUL/EC_r * EEC_r

For simplified system performance methods, DSE_r equals 0.80 for heating and cooling

systems and 1.00 for hot water systems. [see Table 303.4.1(1)]. However, for detailed

modeling of heating and cooling systems, DSE_r may be less than 0.80 as a result of part

load performance degradation, coil air flow degradation, improper system charge and

auxiliary resistance heating for heat pumps. Except as otherwise provided by these

Standards, where detailed systems modeling is employed, it must be applied equally to both

the Reference and the Rated Homes.

Chapter Seven RESNET Standards, 2006

3-8

Page 53

EEC_r = Equipment Efficiency Coefficient for the Reference Home’s equipment, such that

EEC_r equals the energy consumption per unit load in like units as the load, and as derived

from the Manufacturer’s Equipment Performance Rating (MEPR) such that EEC_r equals 1.0

/ MEPR for AFUE, COP or EF ratings, or such that EEC_r equals 3.413 / MEPR for HSPF,

EER or SEER ratings and where the coefficients ‘a’ and ‘b’ are as defined by Table 303.2.2

below:

Table 303.2.2. Coefficients ‘a’ and ‘b’

Fuel type and End Use

a

b

Electric space heating

2.2561

0

Fossil fuel* space heating

1.0943

0.4030

Biomass space heating

0.8850

0.4047

Electric air conditioning

3.8090

0

Electric water heating

0.9200

0

Fossil fuel* water heating

1.1877

1.0130

*Such as natural gas, LP, fuel oil

Step (2) Determine the HERS Index using equation 2:

HERS Index = PEfrac * (TnML / TRL) * 100 (Eq. 2)

where:

TnML = nMEULHEAT + nMEULCOOL + nMEULHW + EULLA (Total of all normalized

modified end use loads for heating, cooling and hot water as calculated using equation 1 plus

EULLA = [(18,842 + 25.1*CFA) * 365] / (1*10

6

) MBtu/year, modified by allowable

reductions for qualifying lighting and appliances as specified by Section 303.4.1.7 of this

Standard).

TRL = REULHEAT + REULCOOL + REULH W + REULLA (Total of all Reference Home

end use loads for heating, cooling and hot water plus REULLA = [(18,842 + 25.1*CFA) *

365] / (1*10

6

) MBtu/year).

and where:

PEfrac = (TEU - OPP) / TEU

TEU = Total energy use of the Rated Home including all rated and non-rated energy features

where all fossil fuel site energy uses are converted to Equivalent Electric Power by

multiplying them by the Reference Electricity Production Efficiency of 40%

OPP = On-site Power Production as defined by Section 303.1.1.5

303.3 Rating Report

303.3.1 The Rated Home will be given a star rating between one and five-plus stars,

determined by the numerical HERS Index and the corresponding number of stars

depicted in Table 303.3.1:

Chapter Seven RESNET Standards, 2006

3-9

Page 54

TABLE 303.3.1. HERS Index, Star and Efficiency Scales for Rated Homes

HERS Index Range

Stars

Relative Energy Use

(with respect to Reference Home)

=<500 and >401

=<400and >301

=<300and >251

=<250 and >201

=<200 and >151

=<150 and >101

=<100 and >91

=<90 and >86

=<85 and >71

=<70 and >=0

(

+(

((

+((

(((

+(((

((((

+((((

(((((

+(((((

=<500% and >401%

=<400% and >301%

=<300% and >251%

=<250% and >201%

=<200% and >151%

=<150% and >1%

=<0% and >-9%

=<-10% and >-14%

=<-15% and >-29%

=<-30% and >=-100%

303.3.2 For each rating conducted under this part, a report shall be prepared containing, at a

minimum, the following information:

303.3.2.1 The numerical rating Index determined in accordance with Section 303.2.1 of

these Standards;

303.3.2.2 The star rating determined in accordance with Section 303.3.1 of these Standards,

except that all plus (+) ratings other than 5+ are optional;

303.3.2.3 The estimated annual purchased energy consumption for space heating, space

cooling, domestic hot water, and all other energy use, and the total of these four estimates;

303.3.2.4 The estimated annual energy cost for space heating, space cooling, domestic hot

water, and all other energy use, and the total of these four estimates;

303.3.2.5 The unique physical location (full street address or recorded real property

identifier) of the Rated home;

303.3.2.6 The name of the individual conducting the rating;

303.3.2.7 The date the rating was conducted;

303.3.2.8 The rating tool (including version number) used to calculate the rating; and

303.3.2.9 The following statement in no less than 8 point font, “The Home Energy Rating

Standard Disclosure for this home is available from the rating provider.” At a minimum, this

will include the Rating Provider’s mailing address and phone number.

303.3.3 If ratings are conducted to evaluate energy saving improvements to the home, the

following requirements will apply in addition to the information set forth under Section

303.3.2 of this Standard.

Chapter Seven RESNET Standards, 2006

3-10

Page 55

303.3.3.1 The annual energy cost savings for the Rated home shall be estimated by

comparing the projected annual energy cost of the Rated home to the projected annual energy

use cost of a reference home. For new homes in which the results will be used to apply for

an Energy Efficient Mortgage (EEM), the most recent HERS reference home shall be the

baseline, except when an alternative reference home is specified by the lender or program

underwriter. For existing homes in which the results will be used to apply for an Energy

Improvement Mortgage (EIM) the unimproved home shall be used as the baseline. For

savings calculations unrelated to EEM’s or EIM’s, the user may select any reference home as

the baseline.

303.3.3.2 The estimated monthly energy cost savings for the Rated home shall be equal to

the annual energy cost savings divided by 12.

303.3.3.3 The Energy Value for the Rated home (e.g., present value of the energy cost

savings) shall be calculated as follows:

303.3.3.3.1 For Fannie Mae energy efficient mortgages the present value factor shall be

calculated as:

pvf = [1- (1 + r)

-n

] / r

where:

pvf = present value factor

r = prevailing mortgage rate (i.e., Assumed Rate)

n = weighted life of the measures (23 years)

To determine the Energy Value for the Rated home, the present value factor (pvf) shall be

multiplied by the annual energy cost savings.

303.3.3.3.2 For Fannie Mae energy efficient mortgage products, the prevailing mortgage

rate (i.e., Assumed Rate) shall be provided by RESNET annually from the information

provided by Fannie Mae.

303.3.3.3.3 A weighted lifetime of 23 years shall be used in determining the present

value factor for the energy cost savings.

303.3.3.4 For FHA and Freddie Mac energy mortgages, the present worth of energy savings

shall be calculated by taking the net annual energy savings (the annual energy savings minus

the annual maintenance costs) times the present value factor developed by the U.S.

Department of Housing and Urban Development. The present value factor is contained in

the “HUD Mortgage Letter 93-13”, as posted on RESNET’s web site at

http://www.natresnet.org/resources/lender/lhandbook/hud_93-13.htm.

303.3.3.5 Each rating report shall include:

303.3.3.5.1 The estimated monthly energy cost savings for the Rated home;

303.3.3.5.2 The Energy Value for the Rated Home;

Chapter Seven RESNET Standards, 2006

3-11

Page 56

303.3.3.5.3 For FHA and Freddie Mac energy mortgages, the present worth of energy

savings;

303.3.3.5.4 The weighted lifetime of the measures that was used to determine the

present value factor;

303.3.3.5.5 The prevailing mortgage rate (i.e. Assumed Rate) that was used to

determine the present value factor;

303.3.3.5.6 The utility rates that were used to determine the estimated annual energy

cost savings. The following units shall apply, as applicable to the fuel

type(s) used by the Rated home: $ per kWh for electricity, $ per therm for

natural gas, and $ per gallon for fuel oil;

303.3.3.5.7 The reference home from which annual energy cost savings were

calculated (e.g., 1993 MEC, 2006 IECC, 2006 HERS);

303.3.3.5.8 A reference to the methodology used to calculate the values on the report.

Specifically, the report shall reference “Section 303.3.3 of RESNET’s

2006 Mortgage Industry National Homes Energy Rating Systems

Standards”.

3.3.4 If a Projected Rating conducted under Section 303.6.1 of these Standards, the Rating

shall be prominently identified as a “Projected Rating.”

303.3.5 For each rating conducted under these Standards, the following items are to be

prominently displayed on all reports and labels:

303.3.5.1 Date of the rating;

303.3.5.2 Annual estimated energy costs for heating, cooling, water heating and all other

uses;

303.3.5.3 Rating Index and;

303.3.5.4 Star rating;

303.3.5.5 At the request of the person for whom the rating is being conducted, as an

alternative to reporting the rating Index and star rating, any home achieving a rating Index as

defined by EPA Energy Star Homes guidelines, be labeled an ENERGY STAR® Home.

303.4 HERS Reference Home and Rated Home Configuration

303.4.1 Calculation Procedure

303.4.1.1 General. Except as specified by this Section, the HERS Reference Home and

Rated Home shall be configured and analyzed using identical methods and techniques.

Chapter Seven RESNET Standards, 2006

3-12

Page 57

303.4.1.2 Residence Specifications. The HERS Reference Home and Rated Home shall be

configured and analyzed as specified by Table 303.4.1(1).

Table 303.4.1(1) Specifications for the HERS Reference and Rated Homes

Building Component

HERS Reference Home

Rated Home

Above-grade walls:

Type: wood frame

Gross area: same as Rated Home

U-Factor: from Table 303.4.1(2)

Solar absorptance = 0.75

Emittance = 0.90

Same as Rated Home

Same as Rated Home

Same as Rated Home

Same as Rated Home

Same as Rated Home

Conditioned Basement

walls:

Type: same as Rated Home

Gross area: same as Rated Home

U-Factor: from Table 303.4.1(2)

with the insulation layer on the

interior side of walls

Same as Rated Home

Same as Rated Home

Same as Rated Home

Floors over

unconditioned spaces:

Type: wood frame

Gross area: same as Rated Home

U-Factor: from Table 303.4.1(2)

Same as Rated Home

Same as Rated Home

Same as Rated Home

Ceilings:

Type: wood frame

Gross area: same as Rated Home

U-Factor: from Table 303.4.1(2)

Same as Rated Home

Same as Rated Home

Same as Rated Home

Roofs:

Type: composition shingle on

wood sheathing

Gross area: same as Rated Home

Solar absorptance = 0.75

Emittance = 0.90

Same as Rated Home

Same as Rated Home

Values from Table 303.4.1.(4)

shall be used to determine

solar absorptance except

where test data are provided

for roof surface in accordance

with ASTM methods E-903,

C-1549, E-1918, or CRRC

Method # 1.

Emittance values provided by

the roofing manufacturer in

accordance with ASTM C-

1371 shall be used when

available. In cases where the

appropriate data are not

known, same as the Reference

Home.

Type: vented with aperture = 1ft

2

per 300 ft

2

ceiling area

Same as Rated Home

Attics:

Foundations:

Type: same as Rated Home

Gross Area: same as Rated Home

U-Factor / R-value: from

Table 303.4.1(2)

Same as Rated Home

Same as Rated Home

Same as Rated Home

Chapter Seven RESNET Standards, 2006

3-13

Page 58

Table 303.4.1(1) Specifications for the HERS Reference and Rated Homes

Building Component

HERS Reference Home

Rated Home

Crawlspaces:

Type: vented with net free vent

aperture = 1ft

2

per 150 ft

2

of

crawlspace floor area.

U-factor: from Table 303.4.1(2)

for floors over unconditioned

spaces.

Same as the Rated Home, but

not less net free ventilation

area than the Reference

Home unless an approved

ground cover in accordance

with IRC 408.1 is used, in

which case, the same net

free ventilation area as the

Rated Home down to a

minimum net free vent area

of 1ft

2

per 1,500 ft

2

of

crawlspace floor area.

Same as Rated Home

Area: 40 ft

2

Orientation: North

U-factor: same as fenestration

from Table 303.4.1(2)

Same as Rated Home

Same as Rated Home

Same as Rated Home

Doors:

Glazing:

(a)

Total area

(b)

=18% of conditioned

floor area

Orientation: equally distributed to

four (4) cardinal compass

orientations (N,E,S,&W)

U-factor: from Table 303.4.1(2)

SHGC: from Table 303.4.1(2)

Interior shade coefficient:

Summer = 0.70

Winter = 0.85

External shading: none

Same as Rated Home

Same as Rated Home

Same as Rated Home

Same as Rated Home

Same as HERS Reference

Home

(c)

Same as Rated Home

Skylights

None

Same as Rated Home

Thermally isolated

sunrooms

None

Same as Rated Home

Air exchange rate

Specific Leakage Area (SLA)

(d)

=

0.00048 (assuming no energy

recovery)

For residences that are not

tested, the same as the

HERS Reference Home

For residences without

mechanical ventilation

systems that are tested in

accordance with ASHRAE

Standard 119, Section 5.1,

the measured air exchange

rate

(e)

but not less than 0.35

ach

For residences with

mechanical ventilation

systems that are tested in

Chapter Seven RESNET Standards, 2006

3-14

Page 59

Table 303.4.1(1) Specifications for the HERS Reference and Rated Homes

Building Component

HERS Reference Home

Rated Home

accordance with ASHRAE

Standard 119, Section 5.1,

the measured air exchange

rate

(e)

combined with the

mechanical ventilation

rate,

(f)

which shall not be

less than 0.01 x CFA + 7.5

x (Nbr+1) cfm

Mechanical ventilation: None, except where a mechanical

ventilation system is specified

by the Rated Home, in which

case:

Annual vent fan energy use:

kWh/yr = 0.03942*CFA +

29.565*(N

br

+1) (per dwelling

unit)

where:

CFA = conditioned floor area

N

br =

number of bedrooms

Same as Rated Home

Same as Rated Home

Internal gains:

IGain = 17,900 + 23.8*CFA +

4104*N

br

(Btu/day per

dwelling unit)

Same as HERS Reference

Home, except as provided

by Section 303.4.1.7.

Internal mass:

An internal mass for furniture and

contents of 8 pounds per square

foot of floor area

Same as HERS Reference

Home, plus any additional

mass specifically designed

as a Thermal Storage

Element

(g)

but not integral

to the building envelope or

structure

Structural mass:

For masonry floor slabs, 80% of

floor area covered by R-2 carpet

and pad, and 20% of floor

directly exposed to room air

For masonry basement walls, same

as Rated Home, but with

insulation required by Table

303.4.1(2) located on the

interior side of the walls

For other walls, for ceilings,

floors, and interior walls, wood

frame construction

Same as Rated Home

Same as Rated Home

Same as Rated Home

Heating systems

(h),(i)

Fuel type: same as Rated Home

Efficiencies:

Electric: air source heat pump

with prevailing federal

Same as Rated Home

(i)

Same as Rated Home

Chapter Seven RESNET Standards, 2006

3-15

Page 60

Table 303.4.1(1) Specifications for the HERS Reference and Rated Homes

Building Component

HERS Reference Home

Rated Home

minimum efficiency

Non-electric furnaces: natural

gas furnace with prevailing

federal minimum efficiency

Non-electric boilers: natural gas

boiler with prevailing federal

minimum efficiency

Capacity: sized in accordance

with Section 303.5.1.4 of this

Standard.

Same as Rated Home

Same as Rated Home

Same as Rated Home

Cooling systems

(h),(k)

Fuel type: Electric

Efficiency: in accordance with

prevailing federal minimum

standards

Capacity: sized in accordance

with Section 303.5.1.4 of this

Standard.

Same as Rated Home

(k)

Same as Rated Home

Same as Rated Home

Fuel type: same as Rated Home

Efficiency: in accordance with

prevailing federal minimum

standards

Use (gal/day): 30*N

du

+ 10*N

br

where N

du

= number of

dwelling units

Tank temperature: 120 F

Same as Rated Home

(m)

Same as Rated Home

Same as HERS Reference

Home

Same as HERS Reference

Home

Service water heating

systems

(h) (m)

Thermal distribution

systems:

A thermal distribution system

efficiency (DSE) of 0.80 shall

be applied to both the heating

and cooling system efficiencies.

As specified by Table

303.4.1(3), except when

tested in accordance with

ASHRAE Standard 152-

2004

(n)

, and then either

calculated through hourly

simulation or calculated in

accordance with ASHRAE

Standard 152-2004

Thermostat

Type: manual

Temperature setpoints: cooling

temperature set point = 78 F;

heating temperature set

point = 68 F

Type: Same as Rated Home

Temperature setpoints: same

as the HERS Reference

Home, except as required

by Section 303.5.1.2

Table 303.4.1(1) Notes:

(a)Glazing shall be defined as sunlight-transmitting fenestration, including the area of sash,

curbing or other framing elements, that enclose conditioned space. Glazing includes the area

Chapter Seven RESNET Standards, 2006

3-16

Page 61

of sunlight-transmitting fenestration assemblies in walls bounding conditioned basements.

For doors where the sunlight-transmitting opening is less than 50% of the door area, the

glazing area is the sunlight transmitting opening area shall be used. For all other doors, the

glazing area is the rough frame opening area for the door, including the door and the frame.

(b) For homes with conditioned basements and for multi-family attached homes the following

formula shall be used to determine total window area:

AF = 0.18 x AFL x FA x F

where:

AF = Total fenestration area

AFL = Total floor area of directly conditioned space

FA = (Above-grade thermal boundary gross wall area) / (above-grade boundary wall area +

0.5 x below-grade boundary wall area)

F = 1- 0.44* (Common Wall Area) / (above-grade thermal boundary wall area + common

wall area)

and where:

Thermal boundary wall is any wall that separates conditioned space from unconditioned

space or ambient conditions

Above-grade thermal boundary wall is any portion of a thermal boundary wall not in contact

with soil.

Below-grade boundary wall is any portion of a thermal boundary wall in soil contact

Common wall is the total wall area of walls adjacent to another conditioned living unit, not

including foundation walls.

(c) For fenestrations facing within 15 degrees of due south that are directly coupled to

thermal storage mass, the winter interior shade coefficient shall be permitted to increase to

0.95 in the Rated Home.

(d) Where Leakage Area (L) is defined in accordance with Section 5.1 of ASHRAE Standard

119 and where SLA = L / CFA (where L and CFA are in the same units).

Either hourly calculations using the procedures given in the 2001 ASHRAE Handbook of

Fundamentals, Chapter 26, page 26.21, equation 40 (Sherman-Grimsrud model) or

calculations yielding equivalent results shall be used to determine the energy loads resulting

from air exchange.

(e) Tested envelope leakage shall be determined and documented by a Certified Rater using

the on-site inspection protocol as specified in Appendix A under “Blower Door Test.” Either

hourly calculations using the procedures given in the 2001 ASHRAE Handbook of

Fundamentals, Chapter 26, page 26.21, equation 40 (Sherman-Grimsrud model) or

calculations yielding equivalent results shall be used to determine the energy loads resulting

from air exchange.

Chapter Seven RESNET Standards, 2006

3-17

Page 62

(f) The combined air exchange rate for infiltration and mechanical ventilation shall be

determined in accordance with equation 43 of 2001 ASHRAE Handbook of Fundamentals

page 26.24 in combination with the” Whole-house Ventilation” provisions of 2001 ASHRAE

Handbook of Fundamentals, page 26.19 for intermittent mechanical ventilation.

(g) Thermal storage element shall mean a component not normally part of the floors, walls, or

ceilings that is part of a passive solar system, and that provides thermal storage such as

enclosed water columns, rock beds, or phase change containers. A thermal storage element

must be in the same room as fenestration that faces within 15 degrees of due south, or must

be connected to such a room with pipes or ducts that allow the element to be actively

charged.

(h) For a Rated Home with multiple heating, cooling, or water heating systems using different

fuel types, the applicable system capacities and fuel types shall be weighted in accordance

with the loads distribution (as calculated by accepted engineering practice for that equipment

and fuel type) of the subject multiple systems. For the HERS Reference Home, the prevailing

federal minimum efficiency shall be assumed except that the efficiencies given in Table

303.4.1(1)(a) below will be assumed when:

1) A type of device not covered by NAECA is found in the Rated Home;

2) The Rated Home is heated by electricity using a device other than an air source

heat pump; or

3) The Rated Home does not contain one or more of the required HVAC equipment

systems.

Table 303.4.1(1)(a). Default HERS Reference Home

Heating and Cooling Equipment Efficiencies

(i) (k) (m) (n)

Rated Home Fuel

Function

Reference Home Device

Electric

Heating

7.7 HSPF air source heat pump

Non-electric warm air

furnace or space heater

Heating

78% AFUE gas furnace

Non-electric boiler

Heating

80% AFUE gas boiler

Any type

Cooling

13 SEER electric air conditioner

Biomass System

(1)

Heating

63% Efficiency

Table 303.4.1(1)(a) Notes:

(1) Biomass fuel systems should not be included in ratings when they are considered

“supplemental systems”, i.e. where an automatic system, sized to meet the load of the house

exists. Biomass systems should only be included in the rating in those situations where the

automatic heating system is not large enough to meet the load of the house, and a biomass

fuel system is in place to meet the balance of the load, or where there is only a biomass fuel

system in place. In the situation where there are two systems that together meet the load, the

biomass system shall be assigned only that part of the load that cannot be met by the

automatic system.

Chapter Seven RESNET Standards, 2006

3-18

Page 63

(i) For a Rated Home without a proposed heating system, a heating system with the

prevailing federal minimum efficiency shall be assumed for both the HERS Reference Home

and Rated Home. For electric heating systems, the prevailing federal minimum efficiency

air-source heat pump shall be selected.

(k) For a Rated Home without a proposed cooling system, an electric air conditioner with the

prevailing federal minimum efficiency shall be assumed for both the HERS Reference Home

and the Rated Home.

(m) For a Rated Home with a non-storage type water heater, a 40-gallon storage-type water

heater with the prevailing federal minimum efficiency and with the same fuel as the proposed

water heater shall be assumed for the HERS Reference Home. For a Rated Home without a

proposed water heater, a 40-gallon storage-type water heater with the prevailing federal

minimum efficiency with the same fuel as the predominant heating fuel type shall be

assumed for both the Rated and HERS Reference Homes.

(n) Tested duct leakage shall be determined and documented by a Certified Rater using the

on-site inspection protocol as specified in Appendix A under “Air leakage (ducts)”.

Table 303.4.1(2). Component Heat Transfer Characteristics for HERS

Reference Home

(a)

Fenestration and Opaque Door U-Factor

Glazed Fenestration Assembly S

HGC

Ceiling U-F

actor

Frame Wall U-Factor

Floor Over Uncondition

e

d Space

U-Factor

Basement Wall U-Factor

(c)

Slab-on-Grade

(d

,e)

R-Value & Depth

Clima

te Zon

e

(b

)

1

1.20

0.40

0.035

0.082

0.064

0.360

0

2

0.75

0.40

0.035

0.082

0.064

0.360

0

3

0.65

0.40

0.035

0.082

0.047

0.360

0

4 except

Marine

0.40

0.55

0.030

0.082

0.047

0.059

10, 2 ft.

5 and

Marine 4

0.35

0.55

0.030

0.060

0.033

0.059

10, 2 ft.

6

0.35

0.55

0.026

0.060

0.033

0.059

10, 4 ft.

7 and 8

0.35

0.55

0.026

0.057

0.033

0.059

10, 4 ft.

Chapter Seven RESNET Standards, 2006

3-19

Page 64

Table 303.4.1(2). Component Heat Transfer Characteristics for HERS

Reference Home

(a)

Fenestration and Opaque Door U-Factor

Glazed Fenestration Assembly S

HGC

Ceiling U-F

actor

Frame Wall U-Factor

Floor Over Uncondition

e

d Space

U-Factor

Basement Wall U-Factor

(c)

Slab-on-Grade

(d

,e)

R-Value & Depth

Clima

te Zon

e

(b

)

Notes:

a Non-fenestration U-Factors shall be obtained from measurement, calculation, or an

approved source.

b. Climates zones shall be as specified by the 2004 Supplement to the International

Energy Conservation Code.

c. For basements where the conditioned space boundary comprises the basement walls.

d. R-5 shall be added to the required R-value for slabs with embedded heating.

e. Insulation shall extend downward from the top of the slab vertically to the depth

indicated.

Table 303.4.1(3). Default Distribution System Efficiencies for

Inspected Systems

(a)

Forced Air

Systems

Hydronic

Systems

(b)

Distribution System Configuration and Condition:

Distribution system components located in

unconditioned space

0.80

0.95

Distribution systems entirely located in conditioned

space

(c)

0.88

1.00

Proposed “reduced leakage” with entire air distribution

system located in the conditioned space

(d)

0.96

0.88

Proposed “reduced leakage” air distribution system

with components located in the unconditioned space

(d)

“Ductless” systems

(e)

1.00

Table 303.4.1(3) Notes:

(a) Default values given by this table are for distribution systems as rated, which meet

minimum IECC 2000 requirements for duct system insulation.

(b) Hydronic Systems shall mean those systems that distribute heating and cooling energy

directly to individual spaces using liquids pumped through closed loop piping and that do not

depend on ducted, forced air flows to maintain space temperatures.

(c) Entire system in conditioned space shall mean that no component of the distribution

system, including the air handler unit or boiler, is located outside of the conditioned space

boundary.

Chapter Seven RESNET Standards, 2006

3-20

Page 65

(d) Proposed “reduced leakage” shall mean substantially leak free to be leakage of not greater

than 3 cfm to outdoors per 100 square feet of conditioned floor area and not greater than 9

cfm total air leakage per 100 square feet of conditioned floor area at a pressure differential of

25 Pascal across the entire system, including the manufacturer’s air handler enclosure. Total

air leakage of not greater than 3 cfm per 100 square feet of conditioned floor area at a

pressure difference of 25 Pascal across the entire system, including the manufacturer’s air

handler enclosure, shall be deemed to meet this requirement without measurement of air

leakage to outdoors. This rated condition shall be specified as the required performance in

the construction documents and requires confirmation through field-testing of installed

systems as documented by a Certified Rater.

(e) Ductless systems may have forced airflow across a coil but shall not have any ducted

airflows external to the manufacturer’s air handler enclosure.

Table 303.4.1.(4)

Default Solar Absorptance for Various Roofing Surfaces

Roof Materials

Apsorptance

White Composition Shingles

0.80

White Tile (including concrete)

0.60

White Metal

0.50

All others

0.92

303.4.1.3 All enclosure elements shall use framing fractions that are consistent with and

representative of reality. Default enclosure framing fractions are provided by Table

303.4.1.3.

Table 303.4.1.3. Default Framing Fractions for Enclosure Elements

Frame

Default

Spacing

Frame Fraction

Enclosure Element

(in o.c.)

(% area)

Walls (standard):

@16" o.c.

16

23%

@24" o.c.

24

20%

Walls (advanced):

@16" o.c.

16

19%

@24" o.c.

24

16%

Structural.Insulated.Panels

48

10%

Floors (standard):

@16" o.c.

16

13%

@24" o.c.

24

10%

Floors (advanced):

@16" o.c.

16

11%

@24" o.c.

24

8%

Ceilings (standard trusses):

@16" o.c.

16

14%

@24" o.c.

24

11%

Ceilings (advanced trusses – "raised heel"):

Chapter Seven RESNET Standards, 2006

3-21

Page 66

Table 303.4.1.3. Default Framing Fractions for Enclosure Elements

Frame

Default

Spacing

Frame Fraction

Enclosure Element

(in o.c.)

(% area)

@16" o.c.

16

10%

@24" o.c.

24

7%

Ceilings (conventional framing):

@16" o.c.

16

13%

@24" o.c.

24

9%

303.4.1.4 Insulation Inspections: All enclosure elements for the Rated Home shall have

their insulation assessed in accordance with this Standard. Installed cavity insulation shall be

rated as Grade I, II, or III in accordance with the on-site inspection procedures of Appendix

A.

303.4.1.4.1 The HERS Reference Home enclosure elements shall be modeled assuming

Grade I insulation. Default values for Rated Home insulation that is not inspected

according to the procedures of Appendix A shall be in accordance with the requirements

of Grade III as given in Section 303.4.1.4.2 and shall be recorded as “not inspected” in the

rating information.

Exceptions:

(a) Modular and manufactured housing using IPIA (In-Plant Inspection Agent) inspections

may be substituted for the HERS inspection. However, housing manufacturer shall include

RESNET insulation inspection details and requirements in their “DAPIA” (Design Approval

Primary Inspection Agency) packages submitted to HUD which are used by IPIA’s for their

factory inspections.

(b) Structural Insulated Panels (SIP’s), Insulated Concrete Forms (ICF’s), and other similar

insulated manufactured assemblies. Note that manufacturer’s claims of “equivalent” R-values

based on reduced air leakage or other secondary effects may not be used; only the thermal

resistance values for the actual materials as found in ASHRAE Fundamentals may be used.

(c) A RESNET-approved, third-party audited installer certification program may be

substituted under the conditions specified in the RESNET approval process.

303.4.1.4.2 Insulation Assessment: Insulated surfaces categorized as “Grade I” shall be

modeled such that the insulation R-value within the cavity is considered at its measured

(for loose fill) or labeled value, including other adjustments such as compression, and

cavity fill versus continuous, for the insulated surface area (not including framing or other

structural materials which shall be accounted for separately). Insulated surfaces

categorized as "Grade II" shall be modeled such that there is no insulation R-value for 2%

of the insulated surface area and its measured or labeled value, including other

adjustments such as compression and cavity fill versus continuous, for the remainder of

the insulated surface area (not including framing or other structural materials). Insulated

surfaces categorized as "Grade III" shall be modeled such that there is no insulation R-

Chapter Seven RESNET Standards, 2006

3-22

Page 67

value for 5% of the insulated surface area and its measured or labeled value, including

other adjustments such as compression and cavity fill versus continuous, for the remainder

of the insulated surface area (not including framing or other structural materials). Other

building materials, including framing, sheathing, and air films shall be assigned aged or

settled -values according to ASHRAE Fundamentals. In addition, the following accepted

conventions shall be used in modeling Rated Home insulation enclosures:

303.4.1.4.2.1 Insulation that does not cover framing members shall not be modeled as if

it covers the framing. Insulated surfaces that have continuous insulation (i.e. rigid foam,

fibrous batts, loose fill, or sprayed insulation) covering the framing members shall be

assessed and modeled according to Section 303.4.1.4 and combined with the cavity

insulation, framing and other materials to determine the overall assembly R-value.

303.4.1.4.2.2 Compression: for modeling purposes, the base R-value of fibrous

insulation that is compressed to less than its full rated thickness in a completely enclosed

cavity shall be assessed according to the manufacturer's documentation; in the absence of

such documentation, use R-value correction factor (CF) for Compressed Batt or Blanket

from Manual J, 8th edition Table A5-1, Section 7-d.

303.4.1.4.2.3 Where large areas of insulation that is missing, or has a different R-value

from the rest of an assembly exist, these areas shall be modeled with the appropriate R-

value and assembly description separately from the rest of the assembly. Insulation R-

values may not be averaged according to coverage area. For example, if 50 square feet of

a wall area has no cavity fill insulation at all, that 50 square feet shall be recorded as a

separate building component with no cavity insulation, but with the existing structural

components.

303.4.1.4.2.4 Steel framing in insulated assemblies: calculations for the overall thermal

properties of steel-framed walls, ceilings and floors shall be based on the “Thermal

Design Guide for Exterior Walls, Publication RG-9405, American Iron and Steel

Institute; the “Zone Method” from 2001 ASHRAE Handbook of Fundamentals (P 25.10-

11); or equivalent.

303.4.1.5 Renewable energy systems, using solar, wind or other renewable energy sources,

which offset the energy consumption requirements of the Rated Home, shall not be included

in the Reference Home.

303.4.1.6 For non-electric warm furnaces and non-electric boilers, the values in Table

303.4.1.5 shall be used for auxiliary electric (Eae) in the Reference Home.

Table 303.4.1.5

System Type

EAE

Oil boiler

330

Gas boiler

170

Oil furnace

439 + 5.5*Capacity (kBtu/h)

Gas furnace

149 + 10.3*Capacity (kBtu/h)

Chapter Seven RESNET Standards, 2006

3-23

Page 68

303.4.1.7 Lighting and Appliances

303.4.1.7.1 Lighting. Reference home annual lighting use in kWh/yr/(dwelling unit)

shall be calculated as (455 + 0.80 * CFA) with an internal gain factor equal to 90% of

lighting energy use (10% of lighting energy use is assumed to occur outside of the

conditioned floor area of the home).

For the purpose of adjusting the annual light fixture energy consumption for calculating

the rating, EULLA shall be adjusted by adding lighting ΔEUL

LA

, where ΔEUL

LA

(MBtu/yr/(dwelling unit)) = [29.5 – 0.5189*CFA*FL% – 295.12*FL% + 0.0519*CFA] *

0.003413, and where FL% is the ratio of Qualifying Light Fixtures to all light fixtures in

Qualifying Light Fixture Locations, and CFA is the Conditioned Floor Area. For

calculation purposes, the rated home shall never have FL% less than 10%.

For lighting, internal gains in the Rated home shall be reduced by 90% of the lighting

ΔEUL

LA

calculated in Btu/day using the following equation: Igain = 0.90 * ΔEUL

LA

*

10

6

/ 365.

303.4.1.7.2 Refrigerators. Reference home annual refrigerator energy use shall be 775

kWh/yr per dwelling unit.

For the purposes of adjusting the annual refrigerator energy consumption for calculating

the rating, the EUL

LA

shall be EUL(adjusted by adding

LA

, where refrigerator

EUL(

LA

(kWh/yr/(dwelling unit)) = Total Annual Energy Consumption of Refrigerators in

Rated Home – 775.

For refrigerators, internal gains in the Rated home shall be reduced by 100% of the

refrigerator EUL(

LA

calculated in Igain =(Btu/day using the following equation:

EUL(

LA

* 10

6

/ 365.

303.4.1.7.3 Mechanical Ventilation System Fans. If ventilation fans are present, the

EUL

LA

shall be EUL(adjusted by adding

LA

, where EUL(

LA

(kWh/year/(dwelling unit)) =

Total Annual Energy Consumption of the Ventilation System in the Rated Home –

[0.03942*CFA + 29.565*(Nbr+1)]

303.4.1.7.4 Dishwashers. A dishwasher, with annual energy use as specified by Table

303.4.1.8 with an internal gain factor equal to 60% of dishwasher energy use, shall be

assumed in the Reference home. If no labeled dishwasher energy factor is specified for

the Rated home, the Rated home shall have the same dishwasher annual energy use and

internal gain factor as the Reference home.

Table 303.4.1.8

Chapter Seven RESNET Standards, 2006

3-24

Page 69

Bedrooms per Dwelling Unit

Reference Dishwasher kWh

1

90

2

126

3

145

4

174

5+

203

For the purposes of calculating dishwasher energy savings and hot water energy savings for

calculating the rating, the energy savings shall be calculated based on the following formula

using Cycles/Year by number of Bedroom (Nbr) as specified in Table 303.4.1.9

Dishwasher annual energy use for each dwelling unit in the rated home (kWh/yr) = (0.27) *

(cycles/yr/(dwelling unit)) / (dishwasher rated Energy Factor)

Table 303.4.1.9

N

br

per Dwelling Unit

Cycles/Yr per Dwelling Unit

1

154

2

214

3

247

4

296

5+

345

EUL

LA

shall be EUL(adjusted by adding dishwasher

LA

, where EUL(

LA

(

MBtu/yr/(dwelling unit)) = (cycles/yr)*[0.27/(dishwasher rated Energy Factor) –

0.587]*0.003413.

Internal gains in the Rated Home shall be reduced by 60% of the dishwasher EUL(

LA

calculated in Igain = 0.60 *(Btu/day using the following equation:  EUL(

LA

* 10

6

/ 365.

The reduction in hot water use (gallons/day) shall be based on the following formula, to

be used in adjusting the hot water Use Equation given by Table 303.4.1(1):

Reduction in hot water use (gallons/day/(dwelling unit)) = [(7.4 gal/cycle) –

(0.73)/(dishwasher rated Energy Factor in cycles/kWh)/(90

o

F)/(0.0024 kWh/gal/F)] *

[(cycles/yr/(dwelling unit))/(365 days/year)]

303.4.1.7.5 Ceiling Fans. If ceiling fans are included in the Rated home, they shall also

be included in the Reference home. Three (3) ceiling fans shall be assumed in both the

Reference Home and the Rated Home. A daily ceiling fan operating schedule equal to 14

full-load hours shall be assumed in both the Reference Home and the Rated Home during

periods when ceiling fans are operational. Ceiling fans shall be assumed to operate only

during the cooling season, which may be estimated to be all months with an average

temperature greater than 63 oF. The cooling thermostat (but not the heating thermostat)

shall be set up by 0.5 oF in both the Reference and Rated Home during periods when

ceiling fans are assumed to operate.

Chapter Seven RESNET Standards, 2006

3-25

Page 70

The Reference Home shall use three (3) Standard Ceiling Fans of 42.6 watts each for total

full-load fan wattage of 128 watts (42.6 * 3 = 128). The Rated Home shall use the

Labeled Ceiling Fan Standardized Watts (LCFSW), also multiplied by three (3) fans to

obtain total ceiling fan wattage for the Rated Home. The Rated Home LCFSW shall be

calculated as follows:

LCFSW = (3000cfm) / (cfm/watt as labeled at medium speed)

During periods of fan operation, the fan wattage, at 100% internal gain fraction, shall be

added to internal gains for both the Reference and Rated Homes. In addition, annual

ceiling fan energy use, in MBtu/year (kWh/year * 3.413x10

-3

), for both the Rated and

Reference homes shall be added to the lighting and appliance end use loads (EULLA and

REULLA) given in Equation 2, Section 303.2.1 of this Chapter.

303.4.1.8 If the Rated Home includes On-site Power Production, the Purchased Energy

Fraction for the Rated Home (see Section 303.2.2) shall be used to determine the impact of

the On-site Power Production on the HERS Index.

303.5 Operating Condition Assumptions

303.5.1 All HERS providers shall estimate the annual purchased energy consumption for

heating, cooling and hot water for both the Rated Home and the Reference Home using the

following assumptions–

303.5.1.1 Internal heat gains (“IGain” in Btu/day per dwelling unit) from lights, people and

equipment of

IGain = 17,900 + 23.8 * CFA + 4,104 * Nbr

where

CFA = conditioned floor area per dwelling unit

Nbr = number of bedrooms per dwelling unit

As adjusted for internal gains from high-efficiency lighting and appliances in the Rated home

as provided by Section 303.4.1.7.

303.5.1.2 Where programmable offsets are available in the Rated Home, 2

o

F temperature

control point offsets with an 11 p.m. to 5:59 a.m. schedule for heating and a 9 a.m. to 2:59

p.m. schedule for cooling, and with no offsets assumed for the Reference Home;

303.5.1.3 When calculating annual purchased energy for cooling, internal latent gains

assumed as 0.20 times sensible internal heat gains;

303.5.1.4 The climatologically most representative TMY or equivalent climate data, which

may be interpolated between climate sites if interpolation is established or approved by the

accrediting body and consistent for all HERS providers operating within a state.

Chapter Seven RESNET Standards, 2006

3-26

Page 71

303.5.1.5 Manufacturer’s Equipment Performance Ratings (e.g., HSPF, SEER, AFUE) shall

be corrected for local climate conditions and mis-sizing of equipment. To determine

equipment mis-sizing, the capacity of heating and cooling vapor compression equipment

shall be calculated in accordance with ACCA Manual J, Eighth Edition, ASHRAE 2001

Handbook of Fundamentals, or an equivalent computation procedure, using the following

assumptions:

303.5.1.5.1 HERS Reference Home:

303.5.1.5.1.1 Indoor temperatures shall be 75 F for cooling and 70 F for heating.

303.5.1.5.1.2 Outdoor temperatures shall be the 99.0% and 1.0% design temperatures as

published in the ASHRAE Handbook of Fundamentals for the city where the home is

located or the most representative city for which design temperature data are available.

303.5.1.5.1.3 Infiltration rate in air changes per hour (ach) shall be:

(a) For summer: 1.2 * nL * W

(b) For winter: 1.6 * nL * W

(c) Where: nL = 0.48

(d) W = Weather factor from W Tables in ASHRAE Standard 136

303.5.1.5.1.4 Mechanical ventilation shall be zero.

303.5.1.5.1.5 All windows shall have blinds/draperies that are positioned in a manner

that gives an Internal Shade Coefficient (ISC) of 0.70 in the summer and an ISC of 0.85

in the winter. These values are represented in ACCA Manual J Eighth Edition as “dark

closed blinds” in the summer and “dark, fully drawn roller shades” in the winter.

303.5.1.5.1.6 Internal heat gains shall be 1,600 Btu/hr sensible for appliances plus 230

Btu/hr sensible and 200 Btu/hr latent per occupant, with the number of occupants equal to

the number of bedrooms plus one.

303.5.1.5.1.7 Heat pump equipment shall be sized to equal the larger of the heating and

cooling season calculations in accordance with these procedures.

303.5.1.5.1.8 Systems shall be smaller than the size calculated using this procedure plus

100 Btu/hr.

303.5.1.5.2 The Rated Home:

303.5.1.5.2.1 Indoor temperatures shall be 75 F for cooling and 70 F for heating.

303.5.1.5.2.2 Outdoor temperatures shall be the 99.0% and 1.0% design temperatures as

published in the ASHRAE Handbook of Fundamentals for the city where the home is

located or the most representative city for which design temperature data are available.

Chapter Seven RESNET Standards, 2006

3-27

Page 72

303.5.1.5.2.3 Infiltration rate shall be either the measured envelope leakage area

converted to equivalent natural air changes per hour (ach,nat) or the default value derived

above for the Reference Home modified as follows:

(a) For summer: either 1.2 * ach,nat or 1.2 * nL * W

(b) For winter: either 1.6 * ach,nat or 1.6 * nL * W

(c) Where: nL = 0.48

(d) W = Weather factor from W Tables in ASHRAE Standard 136

303.5.1.5.2.4 Mechanical ventilation shall only be included for systems that are

controlled to run every hour or every time the HVAC system operates. Standard

bathroom and kitchen ventilation may not be considered as ventilation for sizing

purposes.

303.5.1.5.2.5 Combined infiltration and ventilation may not be less than the ventilation

rates required by ASHRAE Standard 62.2-2004, nor greater than nL * W * 1.2 in summer

and nL * W * 1.6 in winter.

303.5.1.5.2.6 Windows shall include observed blinds/draperies. For new homes, all

windows shall assume blinds/draperies that are positioned in a manner that gives an

Internal Shade Coefficient (ISC) of 0.70 in the summer and an ISC of 0.85 in the winter.

(These values are represented in ACCA Manual J Eighth Edition as “dark closed blinds”

in the summer and “dark fully drawn roller shades” in the winter.)

303.5.1.5.2.7 Internal heat gains shall be 1,600 Btu/hr sensible plus 230 Btu/hr sensible

and 200 Btu/hr latent per occupant, with the number of occupants equal to the number of

bedrooms plus one.

303.5.1.5.2.8 Heat pump equipment shall be sized to equal the larger of the heating and

cooling season calculations in accordance with these procedures.

303.5.1.5.2.9 To the degree that the installed equipment for the Rated Home exceeds

properly sized equipment in accordance with the above procedures, the manufacturer’s

equipment performance rating shall be reduced accordingly.

303.5.1.6 For heat pumps and air conditioners where a detailed, hourly HVAC simulation is

used to separately model the compressor and evaporator energy (including part-load

performance), the back-up heating energy, the distribution fan or blower energy and crank

case heating energy, the Manufacturer’s Equipment Performance Rating (HSPF and SEER)

shall be modified as follows to represent the performance of the compressor and evaporator

components alone: HSPF, corr = HSPF, mfg / 0.582 and SEER, corr = SEER, mfg / 0.941.

The energy uses of all components (i.e. compressor and distribution fan/blower; and crank

case heater) shall then be added together to obtain the total energy uses for heating and

cooling.

303.5.1.7 Natural ventilation shall be assumed in both the Reference and Rated Homes

during hours when natural ventilation will reduce annual cooling energy use.

Chapter Seven RESNET Standards, 2006

3-28

Page 73

303.5.1.8 When a whole-house fan is present in the Rated Home, it shall operate during

hours of favorable outdoor conditions, and no whole-house fan shall be assumed in the

Reference Home. The fan energy associated with the whole-house fan shall be included in

the normalized Energy Consumption for the Rated Home’s cooling end-use (nEC_x).

303.5.1.9 Local residential energy or utility rates that–

(a) Are revenue-based and include customer service and fuel charges;

(b) Are updated at least annually; and

(c) Are confirmed by the accrediting body.

303.6 Projected and Confirmed Ratings

303.6.1 A HERS provider may calculate the Projected Rating of a to-be-built or to-be-

improved home based on architectural drawings with material, mechanical and electrical

specifications for a to-be-built home, or based on a site audit for a to-be-improved home; and

by:

303.6.1.1 Using either the envelope leakage rate specified as the required performance by

the construction documents, the site-measured envelope leakage rate, or a default value as

specified for the Reference home in Table 303.4.1(1).

303.6.1.2 Using either the distribution system efficiency specified as the required

performance by the construction documents, the site-measured distribution system efficiency,

or a default distribution system efficiency value from Table 303.4.1(1); and

303.6.1.3 Using the planned location and orientation of the proposed home, or if the

proposed orientation is unknown, calculating ratings for the home facing each of the four

cardinal directions, north, south, east and west, and using the largest HERS Index as the

”worst case” Projected Rating.

303.6.2 Upon completion of construction and verification of the proposed specifications, all

rated features of the home shall be confirmed using site inspections and envelope air leakage

rates and distribution system efficiencies derived from on-site diagnostic tests conducted in

accordance with Section 303.7.1 of this Standard, and the actual orientation of the home.

303.6.3 Rating tools accredited under Section 303.8 of this Standard must be retested and

re-certified if a new version of the tool is released that includes changes to the engineering

algorithms.

303.7 Minimum Rated Features

303.7.1 All HERS providers shall calculate the estimated annual purchased energy

consumption for heating, cooling, water heating and lighting and appliances set forth in

Section 303.1 of this Standard using the energy loss and gain associated with the minimum

rated features as set forth in Table 303.7.1(1),

303.7.1.1 For existing homes, the envelope thermal characteristics of building elements 1

through 7 set forth in Table 303.7.1(1) are determined by site observation.

Chapter Seven RESNET Standards, 2006

3-29

Page 74

303.7.1.2 If data for the minimum rated features set forth in Section 303.7.1.1 of this

Standard cannot be obtained by observation or without destructive disassembly of the home,

default values shall be used. The default values are determined from the following sources

listed in the preferential order of use:

(a) For manufactured homes, available manufacturer’s data:

(b) Current and historical local building practices; or

(c) Current and historical local building codes.

303.7.1.3 For existing homes, the determination of air leakage and duct leakage values set

forth as building elements 10 and 11 in Table 303.7.1(1) are determined by data collected on

site using the following procedures listed in preferential order of use:

303.7.1.3.1 Current on-site diagnostic tests conduced in accordance with the

requirements set forth in Table 303.4.1(1); or

303.7.1.3.2 Observations of the condition of the building and duct system made by a

Certified Rater. Based on these observations, values from Tables 303.4.1(3)shall be used.

303.7.1.3.3 The energy efficiency of the mechanical equipment set forth as building

elements 12 through 14 in Table 303.7.1(1) is determined by data collected on site using

the following sources listed in preferential order of use:

(a) Current on-site diagnostic test data as corrected using the following equation:

Eff,rated = Eff,listed * Es,measured / Es,listed

where:

Eff,rated = annual efficiency to use as input to the rating

Eff,listed = listed annual efficiency by manufacturer or directory

Es,measured = measured steady state efficiency of system

Es,listed = manufacturer's listed steady state efficiency, under the same

operating conditions found during measurement

(b) Name plate data;

(c) Manufacturer’s data sheet; or

(d) Equipment directories.

303.7.1.4 When information on the energy efficiency of mechanical equipment cannot be

determined from the sources listed in paragraph 303.7.1.3.3 of this Standard, the values set

forth in Tables 303.7.1(2); 303.7.1(3); 303.7.1(4) and 303.7.1(5) shall be used.

303.7.1.5 Any HERS provider may base annual purchased energy consumption estimates

for the Rated Home on additional features if the HERS provider’s energy analysis tool is

capable of doing so.

Chapter Seven RESNET Standards, 2006

3-30

Page 75

Table 303.7.1(1) Minimum Rated Features

Building element

Minimum Rated Feature

1. Floor/Foundation

Assembly.

Construction type (slab-on-grade, crawl space; basement),

insulation value (edge, under slab, cavity, sheathing), framing

material and on-center spacing, insulation installation (Grade I, II,

or III), vented or unvented (crawl space), capacitance (if slab or

basement receives appreciable solar gain).

2. Walls

Construction type, insulation value (cavity, sheathing), framing

material and on-center spacing insulation installation (Grade I, II,

or III) capacitance, color (light, medium, or dark).

3. Roof/Ceiling

Assembly

Construction type, insulation value (cavity, sheathing), framing

material and on-center spacing insulation installation (Grade I, II,

or III), framing covered by insulation or exposed, roof color (light,

medium, or dark).

4. Rim Joist

Insulation value (cavity, sheathing).

5. Doors

Construction type, insulation value.

6. Windows

Construction type, orientation, U-value (of complete assembly),

solar heat gain coefficient, shading.

7. Skylights

Construction type, orientation, tilt, U-value (of complete

assembly), heat gain coefficient, shading.

8. Passive Solar

System (Direct

Gain system)

Solar type, collector type and area, orientation, tilt efficiency,

storage tank size, pipe insulation value.

9. Solar Domestic

Hot Water

Equipment

System type, collector type and area, orientation, tilt, efficiency,

storage tank size, pipe insulation value.

10. Air Leakage

Air leakage measurement type (default estimate, blower door test,

tracer gas test), volume of conditioned space.

11. Distribution

System

System type, location, insulation value (duct and pipe), air leakage

measurement type (default estimate, duct pressurization).

12. Heating

Equipment

Equipment type, location, efficiency (AFUE, HSPF), auxiliary

electric (Eae).

13. Cooling

Equipment

Equipment type, location, efficiency (SEER, COP).

14. Domestic Hot

Water

Equipment

Equipment type, location, energy factor or seasonal efficiency,

extra tank insulation value, pipe insulation value.

15. Control Systems

Thermostat type.

16. Light fixtures

Number of qualifying and non-qualifying light fixtures in

qualifying locations (i.e. kitchens, dining rooms, living rooms,

family rooms/dens, bathrooms, hallways, stairways, entrances,

bedrooms, garage, utility rooms, home offices, and all outdoor

fixtures mounted on a building or pole (excluding landscape

lighting)).

Chapter Seven RESNET Standards, 2006

3-31

Page 76

Table 303.7.1(1) Minimum Rated Features

Building element

Minimum Rated Feature

17. Refrigerator(s)

Total annual energy consumption (kWh) for all units from:

California Energy Commission: Appliance Database at

http://www.energy.ca.gov/appliances/appliance/index.html

or

Association of Home Appliance Manufacturers (AHAM)

directories

18. Dishwasher(s)

Energy factor (cycles/kWh) for all units from: the Federal Trade

Commission’s “ Dishwasher Energy Data” posted at

http://www.ftc.gov/bcp/conline/edcams/eande/appliances/data/200

4/dwasher/brand.htm

19. Ceiling Fans

Labeled cfm, Watts and cfm/Watt at medium fan speed from EPA

E

NERGY

S

TAR

ceiling fan label.

20. Mechanical

Ventilation

System(s)

Equipment type, daily run hours, and wattage (may be listed in the

Certified Home Ventilating Products Directory available from the

Heating and Ventilation Institute (HVI).

21. On-site Power

Generation

Total annual kWh generation and total site fuel used in the

production of on-site power generation as derived from

manufacturer’s performance ratings.

Table 303.7.1(2) Default Solid Fuel Combustion Seasonal Efficiencies for Space

Heating

Type

Location

Seasonal Efficiency

Notes

EPA-Listed Stove,

Furnace, or Boiler

Conditioned space Contained in the EPA

publication “Certified

Wood Heaters” and

posted at

http://www.epa.gov/co

mpliance/resources/pub

lications/monitoring/pr

ograms/woodstoves/cer

tifiedwood.pdf

EPA-Listed Stove,

Furnace or Boiler

Unconditioned

space

0.85 of EPA listing

EPA Stove – Not

Listed

Conditioned space 60%

For stoves with

documented EPA

compliance, but not

found on EPA’s Web

site list of certified

stoves

EPA Stove – Not

Unconditioned

50%

For stoves with

documented EPA

Chapter Seven RESNET Standards, 2006

3-32

Page 77

Table 303.7.1(2) Default Solid Fuel Combustion Seasonal Efficiencies for Space

Heating

Type

Location

Seasonal Efficiency

Notes

Listed

space

compliance, but not

found on EPA’s Web

site list of certified

stoves

EPA-Listed Stove

Insert

Enclosed, such as

in fireplace

Subtract 10% from

listed seasonal

efficiency

Non-EPA Stove

Conditioned space 50%

Not tested or listed by

EPA

Non-EPA Stove

Unconditioned

space

40%

Not tested or listed by

EPA

Biomass Fuel

Furnace or Boiler

with Distribution

System

Conditioned space 50%

Not tested or listed by

EPA

Distribution system

efficiency shall also

be considered

Biomass Fuel

Furnace or Boiler

with Distribution

System

Unconditioned

space

40%

Not tested or listed by

EPA

Distribution system

efficiency shall also

be considered

Biomass Fuel

Furnace or Boiler

with Distribution

System

Outside

30%

Not tested or listed by

EPA

Distribution system

efficiency shall also

be considered

Solid Fuel Furnace

or Boiler –

Independently

Tested

Central with

ducted or hydronic

distribution

0.85 of tested listing

Only permitted with

documentation of

independent testing

lab documentation

Distribution system

efficiency shall also

be considered

Table 303.7.1(3) Default Values for Mechanical System Efficiency (Age-based)

Units

Pre-

1960

1960-

1969

1970-

1974

1975-

1983

1984-

1987

1988-

1991

1992 to

present

Mechanical Systems

Heating:

Gas Furnace

AFUE 0.60 0.60

0.65 0.68 0.68 0.76

0.78

Chapter Seven RESNET Standards, 2006

3-33

Page 78

Table 303.7.1(3) Default Values for Mechanical System Efficiency (Age-based)

Units

Pre-

1960

1960-

1969

1970-

1974

1975-

1983

1984-

1987

1988-

1991

1992 to

present

Mechanical Systems

Gas Boiler

AFUE 0.60 0.60

0.65 0.65 0.70 0.77

0.80

Oil Furnace or Boiler

AFUE 0.60 0.65

0.72 0.75 0.80 0.80

0.80

Air-Source Heat Pump

HSPF 4.50 4.50

4.70 5.50 6.30 6.80

6.80

Ground-Water

Geothermal Heat

pump

COP

2.70 2.70

2.70 3.00 3.10 3.20

3.50

Ground-Coupled

Geothermal Heat

Pump

COP

2.30 2.30

2.30 2.50 2.60 2.70

3.00

Cooling:

Air-Source Heat Pump SEER 5.00 6.10

6.50 7.40 8.70 9.40

10.00

Ground-Water

Geothermal Heat

Pump

EER 10.00 10.00 10.00 13.00 13.00 14.00 16.00

Ground-Coupled

Geothermal Heat

Pump

EER

8.00 8.00

8.00 11.00 11.00 12.00 14.00

Central Air Conditioner SEER 5.00 6.10

6.50 7.40 8.70 9.40

10.00

Room Air Conditioner

EER

5.00 6.10

6.10 6.70 7.70 8.10

8.50

Water Heating:

Storage Gas

EF

0.47 0.47

0.47 0.49 0.55 0.56

0.56

Storage Oil

EF

0.47 0.47

0.47 0.48 0.49 0.54

0.56

Storage Electric

EF

0.79 0.80

0.80 0.81 0.83 0.87

0.88

TABLE 303.7.1(4) Default Values for Mechanical System

Efficiency (not Age-based)

Units

Rating

Heating:

Gas Wall Heater (Gravity)

AFUE

0.65

Gas Floor Furnace

AFUE

0.60

Gas Water Heater (Space Heating).

AFUE

0.75

Electric Furnace

HSPF

3.413

Electric Radiant

HSPF

3.413

Heat Pump Water Heater (Space)

HSPF

5.11

Electric Water Heater (Space)

HSPF

2.73

Cooling:

Electric Evaporative Cooling

EER

30

Chapter Seven RESNET Standards, 2006

3-34

Page 79

TABLE 303.7.1(4) Default Values for Mechanical System

Efficiency (not Age-based)

Units

Rating

Gas Absorption Cooler

COP

0.40

Water Heating:

Heat Pump

COP

2.00

Instantaneous Electric

EF

0.87

Instantaneous Gas

EF

0.75

Solar (Use SRCC Adjustment Procedures)

EF

2.00

Table 303.7.1(5) Default EAE Values

System Type

EAE

Oil boiler

330

Gas boiler

170

Oil furnace

439 + 5.5 * Capacity (kBtu/h)

Gas furnace

149 + 10.3 * Capacity (kBtu/h)

303.8 Software Rating Tools

303.8.1 Minimum capabilities. Calculation procedures used to comply with this Standard

shall be computer-based rating software tools capable of calculating the annual energy

consumption and HERS Index of all building elements that differ between the HERS

Reference Home and the Rated Homes and shall include the following capabilities:

303.8.1.1 Compliance with the rating provisions of Section 303.1 of this Standard

303.8.1.2 Computer generation of HERS Index and star ratings in accordance with the

provisions of Section 303.2 of this Standard

303.8.1.3 Automated computer generation of the HERS Reference Home using only the

input for the Rated Home

303.8.1.4 The software tool shall not allow the user to directly modify the building

component characteristics of the HERS Reference Home

303.8.1.5 Calculation of whole-building, single-zone sizing for the heating and cooling

equipment in the HERS Reference Home residence in accordance with Section 303.5.1.4 of

this Standard.

303.8.1.6 Calculations that account for the indoor and outdoor temperature dependencies

and the part-load performance of heating, ventilating, and air conditioning equipment based

on climate and equipment sizing

303.8.1.7 Printed rating report in accordance with Section 303.3 of this Standard

Chapter Seven RESNET Standards, 2006

3-35

Page 80

303.8.2 Approved tools. Rating software tools shall be accredited by RESNET through

compliance with the “RESNET Rating Software Testing and Verification Procedures” posted

on the RESNET web site at www.natresnet.org (see also Chapter 1, Section 102.2.1).

Chapter Seven RESNET Standards, 2006

3-36

Page 81

Chapter Seven RESNET Standards, 2006

3-37

Page 82

Chapter Four

RESNET S

TANDARDS

400 NATIONAL BUILDER OPTION PACKAGE PROVIDER ACCREDITATION

PROCEDURES

401 BACKGROUND

The following procedures for accrediting Building Option Package (BOP) providers have

been developed and adopted by the Residential Energy Services Network (RESNET). BOPs

were developed by the U.S. Environmental Protection Agency (EPA), can be used by

builders to demonstrate compliance to the E

NERGY

S

TAR

® Homes Program standard. The

BOPs have been demonstrated to meet the Home Energy Rating score threshold adopted by

the Environmental Protection Agency under “worse case” scenarios and involve the same

building performance inspection as a home energy rating.

The accreditation criteria is based upon Chapter One of the Mortgage Industry National

Home Energy Rating System Accreditation.

401.1 Purpose

The purpose of this procedure is to ensure that accurate and consistent BOPs are

implemented by accredited BOP providers nationwide to increase the credibility of BOPs

and the E

NERGY

S

TAR

Homes program

401.2 Scope

401.2.1 This document sets out the procedures for the accreditation of BOP providers so

their results will be acceptable to the housing industry and consumers.

401.2.2 There may be instances in which state laws or regulations will have additional

requirements to those specified in this document.

402 DEFINITIONS

Building Option Package (BOP) - Developed by EPA, a prescriptive option that builders

can use to demonstrate compliance to the E

NERGY

S

TAR

® Homes Program standard. The

BOPs have been demonstrated to meet the ENERGY STAR Homes performance guidelines

under “worse case” scenarios and involve the same building performance inspection as a

home energy rating.

BOP Inspector - A person trained to inspect and evaluate the energy features of a home

and conduct necessary diagnostic testing and collect all of the data necessary to confirm

that the home complies with the BOP. The training shall be conducted by a RESNET

accredited rater training provider.

Chapter Seven RESNET Standards, 2006

4-1

Page 83

BOP Provider - An entity accredited by RESNET that oversees the BOP inspectors and

issues the BOP certification that the home meets the Energy Star guidelines.

403 ACCREDITATION CRITERIA

403.1 Minimum Standards for BOP Providers

A BOP provider must specifically meet the following minimum standards:

403.1.1 Minimum BOP Inspector Training Standards:

403.1.1.1 A BOP provider must provide for BOP inspector certification by requiring

inspectors to successfully complete a RESNET accredited home energy rater training

courses and to demonstrate competence in completing BOP performance inspections in the

field. The following elements must be included in its BOP inspector training:

403.1.1.1.1 Basics of building science

403.1.1.1.2 Thermal resistance of insulating materials

403.1.1.1.3 Space heating/cooling equipment efficiency

403.1.1.1.4 Blower door testing procedures

403.1.1.1.5 Duct leakage and testing procedures

403.1.1.1.6 Determining the efficiency of windows

403.1.1.1.7 Basic principles of BOPs

403.1.1.1.8 BOP provider’s policies and procedures for inspectors

403.1.1.1.9 Quality assurance procedures

403.1.2 Certification Standards

403.1.2.1 Certification and recertification of BOP inspectors shall be through a RESNET

accredited home energy rater training provider, which shall include the following

provisions:

403.1.2.1.1 Initial classroom and/or field training.

403.1.2.1.2 Performance evaluation of ability to perform accurate BOP inspections

including passing the national RESNET test.

Chapter Seven RESNET Standards, 2006

4-2

Page 84

403.1.2.1.3 Continuing Education - 12 hours of education and training approved by the

BOP provider during the three years of certification. Ten hours of the training shall be

training approved by RESNET.

403.1.2.1.4 Recertification of BOP inspectors no less than every three years

403.1.3 Minimum Standards For BOP Provider’s Operation Policies and Procedures must

be written and provide for the following:

403.1.3.1 Field inspection of all homes for verifying technical specifications.

403.1.3.2 Blower Door Test completed on all homes claiming credit for reduced air

infiltration lower than the default value.

403.1.3.3 Duct testing completed on all homes claiming credit for reduced air distribution

system leakage lower than the default value.

403.1.3.4 Written BOP inspector discipline procedures that includes progressive discipline

involving Probation - Suspension - Termination

403.1.3.5 Written inspector quality control process that at a minimum contains the

following provisions:

403.1.3.5.1 Quality Assurance Designee

403.1.3.5.1.1 A BOP Provider shall designate an officer, employee, or contractor to be

responsible for quality assurance within the organization. The responsibilities of the

designee shall include:

403.1.3.5.1.1.1 Maintenance of quality assurance files

403.1.3.5.1.1.2 Review of ratings by inspector trainees and during the probationary

period

403.1.3.5.1.1.3 Monitoring of BOP inspections by certified inspectors

403.1.3.5.1.2 The designated officer, employee, or contractor responsible for quality

assurance shall demonstrate sufficient experience with the BOP inspection knowledge

base and skills to review the work of trainees and certified raters. Sufficient experience

shall be demonstrated by either of the following:

403.1.3.5.1.2.1 Certification as a Rater Trainer

403.1.3.5.1.2.2 Passing the RESNET Quality Assurance Designee Test

403.1.3.5.1.3 Proof of qualification shall be submitted with an application for

accreditation.

Chapter Seven RESNET Standards, 2006

4-3

Page 85

403.1.3.5.1.4 If the quality assurance designee leaves the home energy rating system,

the provider shall have sixty (60) calendar days to notify RESNET of the new designated

officer or employee, or be subject to suspension of the accreditation under the provisions

of Chapter One, Section 9, Suspension and Revocation of Accreditation.

403.1.3.5.2 Written rater quality control process that includes at a minimum the

following:

403.1.3.5.2.1 The provider’s quality assurance designee shall be responsible for the

internal review of BOP inspections submitted by its inspectors, including:

403.1.3.5.2.1.1 Review of BOP inspections conducted during the inspectors’ probation

period - Prior to certifying an inspector candidate the provider shall review at least 5

probationary BOP inspections performed by the inspector candidate within 12 months

of training.

403.1.3.5.2.2 Review of BOP inspection data files – For each BOP inspector, the

provider’s quality assurance designee shall annually evaluate a minimum of 10% of each

inspector’s inspection data files. The provider shall resolve any problems detected during

these reviews. Excessive problems will trigger field monitoring of the BOP inspector.

403.1.3.5.2.3 Field Monitored BOP inspections - For each BOP inspector, the provider’s

quality assurance designee shall be responsible for an annual evaluation of the greater of

one home or one percent of the inspector's annual total of homes for which BOP

inspections were provided. The provider’s quality assurance designee shall ensure that a

BOP inspection is independently repeated to determine whether the inspection and/or

diagnostic testing was accurately completed by the inspector, and determine whether

information was completely collected and reported.

403.1.3.5.3 BOP Inspection Recordkeeping. Providers and/or their certified BOP

inspectors shall maintain records for each BOP inspection.

403.1.3.5.3.1 The quality assurance record for each home shall contain at a minimum

the electronic copy of the inspection file.

403.1.3.5.3.2 The record for each inspection shall be maintained for a minimum of three

years.

403.1.3.5.4 BOP Inspector Registry

403.1.3.5.4.1 The provider shall maintain a registry of all their certified BOP inspectors.

The provider will also keep on file the names and contact information for all, including

company name, mailing address, voice phone number, fax number, and email address.

Upon request the provider shall provide to RESNET its registry of certified raters.

403.1.3.5.5 Complaint Response System.

Chapter Seven RESNET Standards, 2006

4-4

Page 86

403.1.3.5.5.1 Each provider shall have a system for receiving complaints. The provider

shall respond to and resolve complaints related to BOP inspections and field verification

and diagnostic testing services and reports. Providers shall ensure that inspectors inform

purchasers and recipients of ratings and field verifications about the complaint system.

Each provider shall retain records of complaints received and responses to complaints for

a minimum of three years after the date of the complaint.

403.1.3.5.6 RESNET Quality Assurance Review of Accredited Providers.

403.1.3.5.6.1 RESNET shall randomly select a limited number of accredited providers

annually and conduct a review of their files. The RESNET Board of Directors shall

determine the number of providers that shall be reviewed on an annual basis and who will

provide the quality assurance review. An accredited rating provider may have the right to

challenge the quality assurance reviewer for cause.

403.1.3.5.6.1.1 Records which may be reviewed include:

403.1.3.5.6.1.1.1 BOP inspection files

403.1.3.5.6.1.1.2 BOP inspection quality assurance records

403.1.3.5.6.1.1.3 Complaint files

403.1.3.5.6.1.1.4 BOP inspector agreements

403.1.3.5.6.1.1.5 BOP inspector registry

403.1.3.5.6.1.1.6 Disclosure files

403.1.3.5.6.1.2 Significant inconsistencies or errors in the files reviewed may result in

a field review.

403.1.3.6 Knowledge of other EPA methods for labeling a home as ENERGY STAR.

403.1.3.7 Written conflict of interest provisions that prohibit undisclosed conflicts of

interest but allow waiver with advanced disclosure. The “Home Energy Rating Standard

Disclosure” form adopted by the RESNET Board of Directors shall be completed for each

home that receives a BOP inspection and shall be provided to the rating client and made

available to the home owner/buyer. Each form shall include, at a minimum, the name of the

community/ subdivision and city and state where the home is located. Each form shall

accurately reflect the proper disclosure for the home that it is rated (i.e. it should reflect the

BOP inspector’s involvement with the home at the time the final ENERGY STAR certificate

is issued). For the purposes of completing this Disclosure, “Rater’s employer” is defined as

including any affiliate entities. Recognizing that a number of different relationships may

occur between the inspector or the inspector’s employer and the rating client and/or

homeowner and/or the marketplace in general, the BOP Provider shall ensure that all

disclosures are adequately addressed by the Provider’s quality assurance plan, in accordance

with the relevant Quality Assurance provisions of the Standards.

Chapter Seven RESNET Standards, 2006

4-5

Page 87

403.1.4 Technical Requirements for BOPs

403.1.4.1 The BOP provider can only use BOPs approved by the EPA ENERGY STAR

Homes Program.

403.1.4.2 Monthly Energy Savings. For a Fannie Mae energy efficient mortgage, the BOP

provider shall calculate the monthly energy savings that the BOP achieves over the HERS

Reference Home in accordance with the provisions of 303.3.3.3.2.2 of Chapter 3 of this

standard.

403.1.4.3 Energy Value. For a Fannie Mae energy efficient mortgage, the BOP provider

shall calculate the energy savings value of the BOP in accordance with the provisions of

303.3.3.2.1 of Chapter 3 of this standard.

403.1.4.4 Specialized requirements. Where specific BOPS approved by EPA have technical

requirements that are outside the normal range of BOP inspector skills, specialized training

shall be provided to inspectors by the BOP provider to inspect for compliance with those

BOPs.

404 ACCREDITATION PROCESS

404.1 National BOP Provider Accreditation

National BOP Provider Accreditation will be through the Residential Energy Services

Network (RESNET) and recognized by the EPA ENERGY STAR Home Program.

404.2 BOP Provider Accreditation Criteria

BOP providers must meet the accreditation criteria listed above.

404.3 National Registry of BOP Providers

The Residential Energy Services Network (RESNET) will maintain the database of

accredited BOP providers titled, “National Registry of BOP Providers” and is posted at

http://www.natresnet.org/programs/bop_providers/default.htm

404.4 Confidentiality of Information

Any BOP provider submitting the required application information and desiring to have

certain information treated as confidential in order to limit disclosure shall, at the time of

submission, attach a statement specifying the proprietary information and requesting

confidentiality.

404.5 Review and Notification

404.5.1 Within 15 days of receipt of the completed application, RESNET will do an initial

review of the application and provisional BOP Provider accreditation can be granted to

applicants during the remaining application review process. This provisional accreditation

is valid during the period of application review and is terminated upon RESNET’s

Chapter Seven RESNET Standards, 2006

4-6

Page 88

determining whether the applicant meets the accreditation standard and notifying the

applicant.

404.5.2 Applications reviewed under 5.D.1, “RESNET Review” Within 45 days of

receipt of a complete application, the BOP accrediting review committee will review the

submission for compliance to the accreditation standards set forth within and either:

forward the application and review checklist to RESNET and notify the applicant of this

action, or forward to the applicant a request for additional information or clarification.

404.5.3 Within 15 days of receipt of the recommendation of the BOP accrediting review

committee, RESNET will review the submissions, make a determination of whether the

applicant meets the accreditation standard, and if it does issue a unique BOP provider

accreditation identification number. This initial accreditation is valid for a period of three

years from the date of issuance. The accreditation will be incorporated into a national

registry of accredited BOP providers and listed on the RESNET web site on the Internet. In

order to maintain currency and credibility for the registry, renewal of accreditation is

required triennially.

404.5.4 If RESNET determines that the applicant does not meet the accreditation standard,

it shall inform the applicant, identify where the applicant failed to meet the accreditation

standard, and inform the applicant its right of remedy under 8.B.

404.6 Responsibilities of Accredited BOP Providers

The accredited BOP provider is responsible for insuring that all of the BOP inspections

conducted issued by the system comply with all of the criteria by which the system was

accredited.

405 RENEWAL

405.1 BOP Provider Application for Renewal

405.1.1 Accredited BOP providers must submit an “Application for Renewal” no later than

120 days prior to the expiration of the current accreditation period. Renewal shall be

required every three years after the issuance of the unique accreditation registration number

by RESNET. Renewal applications will be processed in the same manner as an initial

application.

405.2 Late Application

405.2.1 Applications received later than specified above will be processed, to the maximum

extent feasible, so that the accreditation does not expire. Should the expiration date pass, the

applicant will be granted an extension not to exceed 30 days.

405.3 Successful Renewals

405.3.1 Successful renewals will be noted on the national registry and communicated to the

applicant by RESNET.

Chapter Seven RESNET Standards, 2006

4-7

Page 89

405.4 Renewal Applications Extending Beyond the Grace Period

405.4.1 Renewals extending beyond the grace period will be noted as “pending” on the

national registry and the applicant will be advised to cease representing themselves as

accredited until the application receives approval.

405.5 Accreditation Not Renewed

Accredited BOP providers that elect not to renew or fail to meet renewal requirements will

be removed from the national registry and so advised.

405.6 Appeals

405.6.1 BOP providers whose accreditation has been revoked, and are exercising their right

of appeal will be noted as pending and the BOP provider will be advised to cease

representing themselves as accredited until the appeal is resolved.

405.7 Program Element Changes

405.7.1 It is the accredited BOP provider’s responsibility to provide RESNET with any

proposed changes in the program’s minimum BOP inspector certification procedures,

minimum inspector training standards, minimum inspector certification standards, operation

policies and procedures, or other information that effects its meeting the minimum

accreditation criteria. Proposed changes will be evaluated by the accrediting review body in

the same manner as the original or renewal application.

406 SUSPENSION AND REVOCATION OF ACCREDITATION

406.1 For Failure to Correct Deficiencies of the Accredited BOP Provider

406.1.1 If RESNET determines at any time that an accredited BOP provider has failed to

adhere to the accreditation requirements, the accreditation committee shall notify the BOP

provider of the specified deficiencies and shall require that specific corrective action, set

forth in the notification, be taken not later than 30 calendar days after the date set forth in

such notification.

406.1.1.1 In the event that the deficiencies have not been remedied, RESNET shall have the

authority to immediately begin the process of suspension by issuance of a Notice of

Suspension Proceedings. Such Suspension Proceedings shall follow the due process

procedures contained in 7.C below. The notice may be appealed in accordance with

procedures set forth in Section 8.0.

406.1.1.2 In the event that the specified deficiencies are not corrected within the application

period set forth in the Notice of Suspension, a Notice of Revocation Proceeding shall be

issued by the accreditation committee. Such Revocation Proceedings shall follow the due

process procedures contained in 7.C below. The Notice of Revocation may be appealed in

accordance with the procedures set forth in Section 8.0.

Chapter Seven RESNET Standards, 2006

4-8

Page 90

406.2 For Cause

406.2.1 Any BOP provider accredited by RESNET may have the accreditation revoked in

any of the following circumstances:

406.2.1.1 Upon a determination by RESENT that an accredited BOP provider has acted in

such a manner as to impair the objectivity or integrity of the accreditation program or harm

the reputation of the accreditation committee including, but not limited to submission of false

information to the accreditation review body, or failure to submit to the accreditation review

body any material information required to be submitted by the BOP provider, in connection

with obtaining or maintaining accreditation; knowingly or negligently issuing BOP checklists

that fail to meet all of the accreditation criteria; or misrepresentation by the BOP provider in

advertising or promotional materials of its accreditation status in general or with respect to

any service provided by the BOP provider.

406.2.1.2 Pursuant to any of the express provisions of Section 406.1 or any of the express

provisions of the accreditation application, including but not limited to the following:

406.2.1.2.1 BOP provider goes out of business;

406.2.1.2.2 BOP provider does not re-apply at the end of existing accreditation period;

406.2.1.2.3 Failure to satisfy accreditation requirements on renewal;

406.2.1.2.4 Investigated and validated consumer complaints;

406.2.1.2.5 Willful misconduct;

406.2.1.2.6 Failure to disclose a self-serving interest.

406.2.1.3 Upon expiration of a BOP provider’s right to appeal a suspension of accreditation

pursuant to Section 7.A.1.

406.3 Suspension/Revocation Due Process

406.3.1 RESNET shall comply with the following due process procedures in considering

any suspension or revocation actions against an accredited BOP provider.

406.3.1.1 Notice

406.3.1.1.1 RESNET may, at its discretion, initiate a proposed suspension or revocation

action against an accredited BOP provider by providing the provider and the accrediting

review body that reviewed the BOP provider’s application written notice of the proposed

action sent by certified mail, return receipt requested, to the last known address of the BOP

provider. Such notice shall inform the subject BOP provider of the entire basis and

justification for the proposed action.

Chapter Seven RESNET Standards, 2006

4-9

Page 91

406.3.1.2 Contest of Proposed Suspension/Revocation.

406.3.1.2.1 A respondent may contest a proposed suspension/revocation by filing a

response with RESNET within 30 days of receipt of the notice. The response shall contain

all pertinent and substantive information and argument that is in contradiction to the

proposed suspension/revocation, including identification of all disputed materials and facts.

If the respondent fails to file said response within the allotted time, RESNET may, in its

discretion, suspend/revoke the accreditation of the respondent effective immediately upon

written notification to the respondent.

406.3.1.3 Hearing

406.3.1.3.1 If the respondent files a timely response contesting the proposed

suspension/revocation and requests a hearing, RESNET will appoint an independent,

unbiased, and qualified hearing officer and issue a decision on the proposed

suspension/revocation. The hearing officer will review the notice of suspension/revocation

and the respondent’s contest. If the hearing officer finds that the respondent’s contest has

raised substantiated and valid factual argument to the contrary of the proposed

suspension/revocation, the respondent shall be afforded an opportunity to participate in an

open and public telephonic hearing, and to submit additional documentary evidence, and

rebuttal argument to any material contained in the original notice of suspension/revocation

or developed during the course of the hearing officer’s investigation. The notice shall be

provided to the respondent by written notice by certified mail, return receipt requested, to

the last known address of the BOP provider at a minimum of 120 days before the scheduled

hearing.

406.3.1.4 Hearing Officer’s Decision

406.3.1.4.1 The hearing officer shall issue a written decision on the proposed

suspension/revocation that is based on all the information contained in the hearing record

including statements of the factual and legal basis of the decision. If the hearing officer

decides to impose suspension or revocation, the decision must include findings regarding

all disputed materials, and justification for all findings. A suspension/revocation decision

by the hearing officer shall take effect upon the issuance of the hearing officer’s decision

and the written notification of such decision to the respondent.

406.3.1.5 No Ex Parte Communication

406.3.1.5.1 No Ex Parte communication between the parties and the hearing officer shall

be allowed.

407 APPEALS PROCEDURES FOR APPLICATION NOT BEING APPROVED,

SUSPENSION, OR REVOCATION

407.1 Notification

Chapter Seven RESNET Standards, 2006

4-10

Page 92

Chapter Seven RESNET Standards, 2006

4-11

407.1.1 RESNET shall notify the BOP provider and the accreditation review body of any

decisions. Additionally, the committee shall clearly notify the BOP provider of the

procedures and right to remedy.

407.2 Appeal

407.2.1 In the event that an accreditation application was not approved or the accreditation

has been suspended, the BOP provider shall have the right, for a period of 30 calendar days

after the date of notice, to appeal to RESNET.

407.2.2 In the event that a BOP provider’s accreditation is suspended following the

expiration of the period to appeal a suspension, in the absence of an appeal having been

taken, the BOP provider shall have the right, at its election, for a period of 30 calendar days

after the date of issue of a Notice of Suspension, to appeal to RESNET.

407.2.3 An appeal shall be in writing and sent by certified mail or other method which

provides evidence of delivery to the Executive Director of RESNET and shall specify the

basis for the appeal.

407.2.4 The appellant BOP provider may, at the time of noticing its appeal, request in

writing, a hearing by RESNET. In such an event, the accreditation committee shall, not later

than 7 calendar days after the filing of the notice of appeal, notify the appellant BOP provider

of the date of the hearing, which shall be held as expeditiously as possible, but not later than

30 calendar days after the receipt of the notice of appeal.

Page 93

Chapter Five

RESNET Standards

500 REVISION OF STANDARDS

501 REVISIONS AND AMENDMENTS

From time to time it may become necessary to revise or amend the standards set forth in this

document. Circumstances that may lead to such revision or amendment include but are not

limited to the following:

501.1 Periodic Reviews

To respond to periodic reviews by the promulgating bodies;

501.2 Changes in Law

To respond to changes in law;

501.3 Technical Innovations

To respond to technological innovations; and

501.4 Proposals for Change

To respond to proposals for change from interested parties.

501.4.1 Continuous review of standards

501.4.1.1 RESNET will accept on an on-going proposals to change the standards. RESNET

has formed the following standing committees to consider proposals submitted: Quality

Assurance and Ethics Committee, Technical Committee, and Training and Education

Committee. After considering proposals the appropriate committee can submit proposals to

amendment the standard.

501.4.2 Process for submitting proposals to change standards:

501.4.2.1 Proposals to change these standards may be submitted in writing, at any time, to

RESNET.

501.4.2.2 All proposals to change that meet the criteria set forth in this section of these

procedures shall be accepted for consideration and evaluation.

501.4.2.3 Proposals to change these standards shall include the following:

501.4.2.3.1 Identification of the proposal to change, including the following minimum

information:

501.4.2.3.1.1Proponent(s) full name(s),

Chapter Seven RESNET Standards, 2006

5-1

Page 94

501.4.2.3.1.2 Organizational affiliation(s) or representation(s),

501.4.2.3.1.3 Full mailing address(es),

501.4.2.3.1.4 Daytime phone number(s),

501.4.2.3.1.5 Signature of primary proponent, and

501.4.2.3.1.6 Date

501.4.2.3.2 Specific revisions to the standards in a format that clearly identifies the manner

in which the standards are to be altered (ie. underline/strikeout format or equivalent). Any

proposal to change that does not include proposed alteration(s) shall be rejected and

returned to the proponent.

501.4.2.3.3 Substantive reason(s) or justification for each proposed change. The lack of

substantive justification for a proposed change may result in the return of the proposals to

change to the proponent(s).

501.4.2.3.4 Supporting documentation that may be needed for the reasoned evaluation of

the proposal.

501.4.2.4 Proposals to change these standards shall be considered and evaluated at least

annually.

501.4.3 Standards Revision Process.

501.4.3.1 Revision to these standards shall occur only after the relevant proposals to change

have been subjected to public scrutiny and comment using the following review process:

501.4.3.1.1 RESNET shall appoint three (3) representatives of the home energy rating

industry and three (3) representatives of state energy offices to serve staggered, three-year

terms on the Standards Procedure Revision Evaluation Committee. The Revision

Evaluation Committee shall be responsible for conducting the periodic evaluation and the

annual evaluation of proposals to change through a consensus process, whereby both

consenting and the non-consenting opinions are documented and incorporated as comments

into each report or proposal to change..

501.4.3.1.2 Following initial evaluation by the Revision Evaluation Committee, proposals

to change shall be posted on the RESNET Web Page for a period of not less than 30 days

during which public comment shall be accepted.

501.4.3.1.3 Following the public comment period, the Revision Evaluation Committee

shall meet to reconcile public comments with the initial comments of the Revision

Evaluation Committee and, if changes are determined necessary, a final set of

recommended changes with consensus comments that considers public comments shall be

prepared on each proposal for change.

Chapter Seven RESNET Standards, 2006

5-2

Page 95

Chapter Seven RESNET Standards, 2006

5-3

501.4.3.1.4 Proposals for change receiving two-thirds majority support from the Revision

Evaluation Committee after public comment shall be incorporated into a set of proposed

revised amendments that will be submitted to the RESNET Board of Directors for final

approval.

501.4.3.1.5 Proposed revisions from the Revision Evaluation Committee shall be

approved by a simple majority of the RESNET Board of Directors. Rejection of proposals

from the Revision Evaluation Committee shall require a two-thirds majority of the

RESNET Board of Directors. Upon approval by the RESNET Board of Directors, the

changes shall be incorporated into a set of revised standards. If a proposed revision fails to

receive either a simple majority vote for approval or a two-thirds majority vote for

rejection, it will be referred back to the Revision Evaluation Committee for further

consideration.

501.4.3.2 The revised accreditation procedures shall be published on the RESNET Web

Page not later than the end of September each year in which changes are recommended.

Page 96

Chapter Six

RESNET Standards

600 ACCREDIATION STANDARD FOR SAMPLING PROVIDERS

601 GENERAL PROVISIONS

601.1 Purpose

Sampling is intended to provide certification that a group of new homes meets a particular

threshold such as ENERGY STAR, energy code compliance, or qualification for an energy

efficiency lending program. It is based on pre-analysis of building plans meeting the

intended qualification (e.g. a HERS Index threshold), and subsequent random testing and

inspections of a sample set of the homes as-built. Certifying a group of homes by sampling

entitles the customer to documentation certifying that the homes meet the desired threshold;

it does not constitute a confirmed HERS rating on any home.

601.2 Scope

This chapter sets out the procedures for the accreditation of Sampling Providers. Accredited

Sampling Providers shall assume all warranties and liabilities associated with the sampling of

homes. RESNET does not provide any warranty, either explicit or implied, that sampled

homes will meet or exceed the threshold specifications for the sample set. There may be

instances in which state laws or regulations differ from these Standards. In such instances,

state law or regulation shall take precedence over this standard.

602 DEFINITIONS AND ACRONYMS

Additional Failure – When additional instances of initial failure(s) are identified in one or

more of the other homes in the sample set being tested or inspected.

Failed Item – A “failed item” constitutes a category of failure, such as insulation installation,

duct leakage, prescriptive air sealing requirements, insulation enclosure, eave baffles,

mechanical system efficiency, window specifications, etc. For the purpose of follow-up

inspections, a “failed item” is not limited to the specific instance in a home but to that

category of the minimum rated features as it applies to that home design.

Failure - When one or more of the threshold specifications is not met during the testing and

inspection process.

Initial Failure - When one or more failure(s) are first identified in a home during the

sampling process.

Metropolitan Area - Metropolitan and micropolitan statistical areas as defined by the United

States Office of Management and Budget (OMB) and published by the United States Census

Bureau at www.census.gov/population/www/estimates/aboutmetro (the most current edition).

Chapter Seven RESNET Standards, 2006

6-1

Page 97

In areas not included in any defined Metropolitan Area, individual counties may be

substituted for the purpose of applying the sampling process.

Sample Set - A specific group of homes from which one or more individual homes are

randomly selected for sampling controls.

Sampling - An application of the Home Energy Rating process whereby fewer than 100% of

a builder’s new homes are randomly inspected and tested in order to evaluate compliance

with a set of threshold specifications.

Sampling Controls - A collection or set of required tests and inspections performed for a

sample set of homes in order to confirm that the threshold specifications have been met.

“Sampling controls” may refer to the entire set of tests and inspections, or to a particular

phase that constitutes a defined subset of those tests and inspections (e.g. pre-drywall, final,

HVAC, windows and orientation, etc).

Sampling Provider - An entity, accredited through these standards, that oversees the

sampling process and issues the sampling certifications that homes meet a particular set of

threshold specifications such as the ENERGY STAR specifications adopted by the U.S.

Environmental Protection Agency.

Threshold Specifications - A set of qualification criteria which are established for a sample

set based on worst-case Projected Ratings with consideration of all options, and in worst-case

orientation, or a set of prescriptive specifications such as the ENERGY STAR prescriptive

path adopted by the U.S. Environmental Protection Agency.

603 TECHNICAL REQUIREMENTS FOR SAMPLING

603.1 Compliance Requirements

The testing and inspection of homes for minimum rated features shall be conducted in

compliance with the procedures for conducting home energy ratings and Builder Option

Packages (BOPs) contained in this Standard.

603.2 Homes Eligible to be Sampled

The homes being sampled shall be of the same construction type using the same envelope

systems.

603.3 Analysis of Homes

A worst-case analysis shall be performed on each home plan, considering worst-case

orientation, all known option packages, and applicable site location(s). If an option or

change in the design of the structure is made that differs from those used in the initial

analysis in a way that would require more stringent threshold specifications, then that home

must be individually rated. At a minimum, a certified rater shall oversee this process.

603.4 Labeling of Homes

603.4.1 Every home plan within a given sample set shall be assigned the same HERS Index

as determined by the threshold specification for that floor plan.

Chapter Seven RESNET Standards, 2006

6-2

Page 98

603.4.2 Every home subjected to this sampling Standard shall be provided with a label in

accordance with Section 303.3 of these standards, which contains the following statement:

“This home has been certified using a sampling protocol in accordance with Chapter 6 of the

RESNET Standards (see http://resnet.us.standards/ . This label shall be located on the

electrical panel and the font shall be a minimum of 10 points.

603.5 Sample Set of Homes

Sampling controls may be applied to any sample set of homes within the same subdivision or

metropolitan area and climate zone (as specified in the most current edition of the IECC),

provided the criteria in Item 603.2 are met and:

603.5.1 Each sample set is made up of homes at the same stage of construction (e.g. pre-

drywall, final);

603.5.2 For each stage of construction, each sample set will be comprised of homes eligible

for the applicable sampling controls within a 30 calendar day period. For example: a sample

set that is defined for a pre-drywall inspection must include homes that are eligible for that

pre-drywall inspection within a given 30-day period. If fewer than seven (7) homes are

available for that phase of inspection, the sample set must be cut off at the number of homes

that are available within that 30-day period. This sample set need not be carried through to

final inspection; in fact, a whole new sample set may be defined for the final inspection

phase based on the homes available for that phase within a new, 30-day period applied to that

phase of tests and inspections.

603.5.3 Each home subject to sampling is required to be part of an identified set of sampling

controls for each test or inspection that is sampled;

603.5.4 Each participating subdivision within a metropolitan area is subject to sampling

controls on at least one home in any 90 calendar day period;

603.5.5 Each participating subdivision within a metropolitan area must start a minimum of

one home in any 90 calendar day period.

603.6 Application of Sampling

The application of the sampling controls in this standard are only required for those tests and

inspections that are not conducted on every home. Sampling controls shall be conducted for

any tests and inspections not conducted on every home, according to the field testing and

inspection requirements of 303.6.2.

603.7 Sampling Controls

603.7.1 A complete set of Sampling Controls shall be performed at a minimum ratio of one

(1) test or inspection per seven (7) homes within a given sample set. At a minimum, a

certified rater shall oversee this process.

603.7.2 Sampling Providers may complete the sampling controls collectively on a single

home or distribute the tests and inspections across several homes within a given sample set,

Chapter Seven RESNET Standards, 2006

6-3

Page 99

provided the total number of individual tests and inspections meets or exceeds the minimum

ratio set forth in 603.7.1.

603.7.3 To qualify for sampling in a metropolitan area, a builder shall first complete,

without any incidence of failure, a complete set of sampling controls on at least seven (7)

consecutive homes in that metropolitan area. For this initial phase of testing and inspections,

the complete set of sampling controls shall be performed on each of the seven (7) homes.

603.7.3.1 Exception: A builder who has been implementing a sampling process for

certifying homes in a specific metropolitan area under the EPA's ENERGY STAR for

Homes program as of January 1, 2008, will be allowed a one time exception to 603.7.3 for

that metropolitan area.

603.7.3.2: For each newly started subdivision, sampling may begin only after three (3)

consecutive homes have been completed without any incidence of failure.

603.7.4 Having successfully met the requirements of 603.7.3, a Sampling Provider may

complete sampling controls for a builder indefinitely until a “failure” occurs or any of the

criteria set forth in 603.2 are no longer met.

603.7.5 A complete set of sampling controls, whether performed on a single home or spread

across several homes, must be completed whether or not one or more failure(s) are found.

603.7.6 When an “initial failure” occurs, the failed item(s) shall be tested or inspected in two

(2) additional homes selected from the same sample set. Testing and/or inspections for any

item(s) that may become inaccessible during the construction process, (e.g. wall insulation)

must be timed so additional testing and/or inspections can occur on other homes in the

sample set before they become inaccessible for inspection or testing.

603.7.7 When an “additional failure” occurs, in one or more of the two (2) additional homes,

the failed item(s) shall be tested or inspected in the remaining four (4) homes selected for the

same sample set.

603.7.8 Until the failure is corrected in all identified (failed) homes in the sample set, none

of the homes shall be deemed to meet the threshold or labeling criteria.

603.8 Multiple “Additional Failures”

Action is required if three (3) “additional failures” occur within a ninety (90) calendar day

period. The required action depends on whether those “additional failures” apply to the same

failed item or various failed items.

603.8.1 If the multiple “additional failures” all apply to the same failed item, the builder

shall submit to 100% inspection of that failed item, for a minimum of seven (7) homes,

before resuming sampling of that item. Remaining unrelated sampling controls may be

conducted on a sampled basis throughout this process.

Chapter Seven RESNET Standards, 2006

6-4

Page 100

603.8.2 If the multiple “additional failures” apply to various failed items, or additional failed

items are found during testing and inspection of additional homes, the builder must begin

again and complete 603.7.3 at a minimum, before continuing with sampling.

603.8.3 Exception: If a builder conducts a “root cause analysis” on an item or items covered

under 603.8.1 or 603.8.2, and submits it in writing to the sampling provider, sampling may

resume as soon as the provider deems that the solution has been implemented. The “root

cause analysis” report shall contain at a minimum:

603.8.3.1 A written description of the problem(s) covered by the analysis;

603.8.3.2 A written explanation of the underlying reason(s) that the problem(s) occurred

(e.g. inadequate training of subcontractor(s) or site supervisors, insufficient information or

inadequate detail in the plans or specifications, etc);

603.8.3.3 A written description of a clearly defined process to correct the underlying

cause(s);

603.8.3.4 A written description of when and how that process has been carried out;

603.8.3.5 A copy of the root cause analysis report shall be kept by the sampling provider

as part of the QA file, for a period of time of three (3) years, consistent with the

requirements of 102.1.4.8.2.

603.9 Quality Assurance

Accredited Sampling Providers shall comply with the rating provider quality assurance

procedures contained in Chapter One of this standard.

603.9.1 Minimum QA requirements. For the purpose of the quality control requirements in

102.1.4.8, all homes that are qualified by the use of sampling shall be considered to be rated

homes. QA file review and field monitoring shall be conducted on a percentage of all the

homes certified or qualified under sampling, rather than the percentage of tested and

inspected homes.

603.9.2 The field QA required in 102.1.4.8 may be conducted on any of the qualified or

certified homes within the sample sets, and shall not be limited to the tested and inspected

homes.

603.9.3 The provider’s QA Designee shall be responsible for monitoring compliance with the

sampling process and maintaining records in accordance with the requirements of

102.1.4.8.2.

604 SAMPLING PROVIDER ACCREDITATION

604.1 Certification Standards

Certification and recertification of raters responsible for sampling inspections shall meet the

minimum requirements for raters contained in Chapter Two of this standard.

Chapter Seven RESNET Standards, 2006

6-5

Page 101

604.2 National Registry of Accredited Sampling Providers

The Residential Energy Services Network (RESNET) will maintain the national registry of

accredited Sampling Providers and will post it on its web site.

604.3 Minimum Requirements

604.3.1 Sampling Provider accreditation will be through the Residential Energy Services

Network (RESNET).

604.3.2 Sampling Providers must maintain status as accredited Home Energy Rating

Providers in good standing.

604.3.3 All Sampling Providers shall be accredited by RESNET as a Home Energy Rating

Providers.

604.3.4 Sampling Provider’s accreditation must be renewed annually by RESNET.

604.3.5 In order to be eligible to be a Sampling Provider, the RESNET accredited rating

provider shall complete a minimum of twenty-five (25) confirmed ratings that have been

documented to be accurate by the rating provider’s quality assurance designee.

604.3.5.1 Exception: A Provider who has been implementing a sampling process for

certifying homes in a specific metropolitan area under the EPA's ENERGY STAR for

Homes program as of January 1, 2008, will be allowed a one time exception to 604.3.5 for

that metropolitan area.

604.3.6 The Sampling Provider shall demonstrate to RESNET a minimum insurance

coverage of $1,000,000 in general liability coverage and $1,000,000 in professional liability

coverage.

604.3.7 Builders can not use the sampling standard to certify or qualify homes in which they

have a financial interest.

604.4 Path to Sampling Provider Accreditation

604.4.1 RESNET shall appoint a “Sampling Accreditation Review Committee” (the

Committee) to review applications for Sampling Provider program accreditation and renewal.

604.4.2 An entity seeking accreditation must file with RESNET an “Application For

Sampling Provider Program Accreditation” (Application).

604.4.3 Confidentiality of Information. Any Sampling Provider submitting the required

application information and desiring to have certain information treated as confidential in

order to limit disclosure shall, at the time of submission, attach a statement specifying the

proprietary information and requesting confidentiality.

604.4.4 Review and Notification.

Chapter Seven RESNET Standards, 2006

6-6

Page 102

604.4.4.1 Within twenty-one (21) days of receipt of an Application, RESNET staff will do

an initial review to determine whether the applicant and its raters are eligible for

accreditation under sections 604.3. Upon completion of the initial review, RESNET staff

will either return the application to applicant with a request for additional information,

forward the complete Application to the Committee for review or take action in accordance

with 604.4.4.5.

604.4.4.2 Within forty five (45) days of receipt of a complete Application, the Committee

will review the submission for compliance with these accreditation standards and forward

the Application and a review checklist to RESNET staff with a recommendation for

approval, denial, or a request for additional information or clarification.

604.4.4.2.1 Within thirty (30) days of receipt of additional information or clarification

from the applicant, the Committee will forward the Application and a review checklist to

RESNET staff with a recommendation for approval, denial, or a request for additional

information or clarification.

604.4.4.2.2 Within fifteen (15) days of receipt from the Committee of its

recommendation or request for additional information or clarification, RESNET will

notify the applicant of the need for additional information or clarification, take action in

accordance with 604.4.4.5, or issue a unique Sampling Provider Accreditation

identification number.

604.4.4.2.3 This initial accreditation is valid for a period of one year from the date of

issuance. The accreditation will be incorporated into a national registry of accredited

Sampling Providers and listed on the RESNET web site. In order to maintain currency

and credibility for the registry, renewal of accreditation is required annually.

604.4.4.2.4 If RESNET determines that the applicant does not meet the accreditation

standard, it shall inform the applicant, identify where the applicant failed to meet the

accreditation standard, and inform the applicant of their right of appeal under 607.

604.4.5 Responsibilities of Accredited Sampling Providers

604.4.5.1 Sampling Providers are responsible for ensuring that all of the Sampling

inspections conducted and issued by their sampling program are in compliance with all of

the criteria by which the system was accredited.

604.4.5.2 Sampling Providers are responsible for ensuring that the specifications for the

minimum rated features for the sampled homes be communicated to the personnel or trades

responsible for completing the work.

604.4.5.3 Minimum Standards For Sampling Provider’s Operation Policies and Procedures

must be written and provide for the following:

604.4.5.3.1 Field inspections and tracking of all homes in the sample set for verifying

threshold technical specifications and tracking failures and re-inspections;

Chapter Seven RESNET Standards, 2006

6-7

Page 103

604.4.5.3.2 Blower Door Testing completed for sample sets in which the threshold

specifications include credit for reduced air infiltration lower than the default value;

604.4.5.3.3 Duct testing completed for sample sets in which the threshold specifications

include credit for reduced air distribution system leakage lower than the default value;

604.4.5.3.4 Sampling Inspector discipline procedures that include progressive discipline

involving Probation - Suspension – Termination.

605 RENEWAL

605.1 Sampling Provider Application for Renewal

Accredited Sampling Providers must submit an “Application for Renewal” (Renewal

Application) no later than one hundred twenty (120) days prior to the expiration of the

current accreditation period. Renewal shall be required one year after the issuance of the

unique accreditation registration number by RESNET. Renewal applications will be

processed in the same manner as an initial application.

605.2 Late Application

Renewal Applications received later than specified above will be processed, to the maximum

extent feasible, so that the accreditation does not expire. Should the expiration date pass, the

applicant will be granted an extension not to exceed thirty (30) days.

605.3 Successful Renewals

Successful renewals will be posted on the national registry and communicated to the

applicant by RESNET.

605.4 Renewal Applications Extending Beyond the Grace Period

Renewals extending beyond the grace period will be noted as “pending” on the national

registry and the applicant will be advised to cease representing themselves as accredited until

the application receives approval.

605.5 Accreditation Not Renewed

Accredited Sampling Providers that elect not to renew or fail to meet renewal requirements

will be removed from the national registry and so advised. Providers have the right to appeal

a non-renewal decision (see section 608).

605.6 Appeals

A Sampling Provider whose accreditation has been revoked, and is exercising their right of

appeal (see section 607) will be noted as pending and the Sampling Provider will be advised

to cease representing themselves as accredited until the appeal is resolved.

605.7 Program Element Changes

It is the accredited Sampling Provider’s responsibility to provide RESNET with any

proposed changes in the sampling program’s minimum sampling inspector certification

procedures, minimum inspector training standards, minimum inspector certification

standards, operation policies and procedures, or other information that effects its meeting the

Chapter Seven RESNET Standards, 2006

6-8

Page 104

minimum accreditation criteria. Proposed changes will be evaluated by RESNET in the same

manner as the original or renewal application.

606 SUSPENSION AND REVOCATION OF ACCREDIATION

606.1 Notification

RESNET shall provide written notification to the Sampling Provider of any decisions under

this section. All notices shall be sent by certified mail, return receipt requested, to the last

known address of the Provider. All notices shall clarify the procedures being followed, as

stipulated in this standard, and include, where applicable, a statement of the Provider’s rights

to appeal under section 607.

606.2 Reasons For Suspension/Revocation

606.2.1 Failure to Correct Deficiencies of the Accredited Sampling Provider’s Sampling

Program. If RESNET determines at any time that an accredited Sampling Provider has failed

to adhere to the accreditation requirements for the Provider’s sampling program, RESNET

shall notify the Sampling Provider of the specified deficiencies and shall require that specific

corrective action, set forth in the notification, be taken not later than thirty (30) calendar days

after the date set forth in such notification.

606.2.1.1 In the event that the deficiencies have not been remedied as stipulated in 606.2.1,

RESNET shall have the authority to immediately begin the process of suspension by

issuance of a Notice of Suspension Proceedings. Such Suspension Proceedings shall follow

the due process procedures contained in 606.3.

606.2.1.2 In the event that the deficiencies have not been remedied within the period set

forth in the Notice of Suspension, RESNET shall have the authority to immediately begin

the process of revocation by issuance of a Notice of Revocation Proceedings. Such

Revocation Proceedings shall follow the due process procedures contained in 606.3.

606.2.2 Cause. Any Sampling Provider accredited by RESNET may have their accreditation

revoked in any of the following circumstances:

606.2.2.1 Upon a determination by RESENT that an accredited Sampling Provider has

acted in such a manner as to impair the objectivity or integrity of the Provider’s sampling

program or harm the reputation of RESNET including, but not limited to, submission of

false information to RESNET, or failure to submit to RESNET any material information

required to be submitted by the Sampling Provider, in accordance with obtaining or

maintaining accreditation; knowingly or negligently issuing Sampling checklists that fail to

meet all of the accreditation criteria; or misrepresentation by the Sampling Provider in

advertising or promotional materials of its accreditation status in general or with respect to

any service provided by the Sampling Provider.

606.2.2.2 Pursuant to any of the express provisions of sections 604 or 605, or any of the

following:

606.2.2.2.1 Sampling Provider goes out of business;

Chapter Seven RESNET Standards, 2006

6-9

Page 105

606.2.2.2.2 Sampling Provider does not re-apply at the end of existing accreditation

period;

606.2.2.2.3 Failure to satisfy accreditation requirements on renewal;

606.2.2.2.4 Investigated and validated consumer complaints;

606.2.2.2.5 Willful misconduct;

606.2.2.2.6 Failure to disclose a self-serving interest.

606.2.2.3 Upon expiration of a Sampling Provider’s right to appeal a suspension of

accreditation pursuant to section 607.

606.3 Suspension/Revocation Due Process

RESNET shall comply with the following due process procedures in considering any

suspension or revocation actions against an accredited Sampling Provider.

606.3.1 RESNET may, at its discretion, initiate a suspension or revocation action against an

accredited Sampling Provider in accordance with 606.2 by providing the Provider written

notice of the action. Such notice shall inform the subject Provider of the entire basis and

justification for the action.

606.3.2 Contest of Proposed Suspension/Revocation. A Provider may contest a

suspension/revocation by requesting a hearing with RESNET within 30 days of receipt of a

notice of suspension/revocation.

606.3.3 Hearing. If the Provider files a timely response contesting the suspension/revocation

and requests a hearing, RESNET will appoint an independent, unbiased, and qualified

hearing officer to issue a decision on the suspension/revocation. The hearing officer will

review the notice of suspension/revocation and the Provider’s contest. If the hearing officer

finds that the Provider’s contest has raised substantiated and valid factual argument to the

contrary of the proposed suspension/revocation, the Provider shall be afforded an opportunity

to participate in an open and public telephonic hearing and to submit additional documentary

evidence and a rebuttal argument to any material contained in the original notice of

suspension/revocation developed during the course of the hearing officer’s investigation.

Notice of the Hearing shall be provided to the Provider a minimum of 120 days before the

scheduled hearing.

606.3.4 Hearing Officer’s Decision. The hearing officer shall issue a written decision on the

proposed suspension/revocation that is based on all the information contained in the hearing

record including statements of the factual and legal basis of the decision. If the hearing

officer decides to impose suspension or revocation, the decision must include findings

regarding all disputed materials, and justification for all findings. A suspension/revocation

decision by the hearing officer shall take effect upon the issuance of the hearing officer’s

decision and the date written notification of such decision is sent to the Provider.

Chapter Seven RESNET Standards, 2006

6-10

Page 106

606.3.5 No Ex Parte Communication. No ex Parte communication between the parties and

the hearing officer shall be allowed.

607 APPEALS PROCEDURES FOR NON-APPROVAL OR RENEWAL OF

APPLICATIONS, SUSPENSIONS, OR REVOCATIONS

607.1 Notification

RESNET shall provide written notification to the Sampling Provider of any decisions under

this section. All notices shall be sent by certified mail, return receipt requested, to the last

known address of the Provider. All notices shall clarify the procedures being followed, as

stipulated in this standard, and include, where applicable, a statement of the Provider’s rights

to remedy.

607.2 Appeal

607.2.1 Appeals to the RESNET Quality Assurance and Ethics Committee’s Appeals and

Ethics Subcommittee.

607.2.1.1 In the event that an Application or Renewal Application has been denied or

revoked, or if the Provider has been placed on probation or suspended, the Provider shall

have the right, for a period of 30 calendar days after the date of notice, to appeal to the

RESNET Quality Assurance and Ethics Committee’s Appeals and Ethics Subcommittee.

607.2.1.2 Appeals shall be in writing and sent by certified mail, or other method which

provides evidence of delivery, to RESNET, attention Chairman of the RESNET Quality

Assurance and Ethics Committee.

607.2.1.3 Appeals shall contain all pertinent and substantive information and arguments

that are in contradiction to the proposed suspension/revocation, including identification of

all disputed materials and facts.

607.2.1.4 The appellant Provider may, at the time of noticing its appeal, request a hearing

by the RESNET Quality Assurance and Ethics Committee’s Appeals and Ethics

Subcommittee. In such an event, the subcommittee shall, not later than 7 calendar days

after the filing of the notice of appeal, notify the appellant Provider of the date of the

hearing, which shall be held as expeditiously as possible, but not later than 30 calendar

days after the receipt of the notice of appeal.

607.2.2 Appeals to the RESNET Quality Assurance and Ethics Committee.

607.2.2.1 In the event that a Provider’s appeal of its probation or suspension is rejected by

the RESNET Quality Assurance Committee and Ethics Committee’s Appeals and Ethics

Subcommittee, the Provider shall have the right, for a period of 30 calendar days after the

date of the notification of the denial of the appeal to appeal to the RESNET Quality

Assurance and Ethics Committee.

Chapter Seven RESNET Standards, 2006

6-11

Page 107

607.2.2.2 Appeals shall be in writing and sent by certified mail, or other method which

provides evidence of delivery, to RESNET, attention Chairman of the RESNET Quality

Assurance and Ethics Committee.

607.2.2.3 The appellant Provider may, at the time of noticing its appeal, request a hearing

by the RESNET Quality Assurance and Ethics Committee. In such an event, the

Committee shall, not later than 7 calendar days after the filing of the notice of appeal,

notify the appellant Provider of the date of the hearing, which shall be held as expeditiously

as possible, but not later than 30 calendar days after the receipt of the notice of appeal.

607.2.3 Appeals to the RESNET Board of Directors.

607.2.3.1 In the event that a Provider’s appeal of its probation or suspension is rejected by

the RESNET Quality Assurance Committee, the Provider shall have the right, for a period

of 30 calendar days after the date of the notification of the denial of the appeal to appeal to

the RESNET Board of Directors.

607.2.3.2 Appeals shall be in writing and sent by certified mail, or other method which

provides evidence of delivery, to RESNET, attention President of the RESNET Board of

Directors.

608 REVISION OF ACCREDIATION PROCEDURES

608.1 Revision and Amending Sampling Accreditation Procedures

From time to time it may become necessary to revise or amend the accreditation procedures

set forth in these standards. Circumstances that may lead to such revision or amendment

include but are not limited to the following:

608.1.1 To respond to periodic reviews by RESNET staff and committees;

608.1.2 To respond to changes in law;

608.1.3 To respond to technological innovations; and

608.1.4 To respond to proposals for change from interested parties.

608.2 Periodic Review of Accreditation Procedures

At least triennially, the provisions set forth in these accreditation procedures shall be

reviewed by a Revision Evaluation Review Committee appointed by RESNET. The review

committee may be composed of representatives of the EPA ENERGY STAR Homes

Program, accredited home energy rating systems, and accredited Sampling Providers.

608.2.1 At a minimum, this review shall include consideration and evaluation of changes in

the law, technological innovations, and comments received from interested parties.

608.3 Process for Submitting Proposals to Change Accreditation Procedures

608.3.1 Proposals to change these accreditation procedures may be submitted in writing, at

any time, to RESNET.

Chapter Seven RESNET Standards, 2006

6-12

Page 108

608.3.2 All proposals to change that meet the criteria set forth in this section of these

procedures shall be accepted for consideration and evaluation.

608.3.3 Proposals to change these accreditation procedures shall include the following:

608.3.3.1 Identification of the proposal to change, including the following minimum

information:

608.3.3.1.1 Proponent(s) full name(s);

608.3.3.1.2 Organizational affiliation(s) or representation(s);

608.3.3.1.3 Full mailing address (es);

608.3.3.1.4 Daytime phone number(s);

608.3.3.1.5 Signature of primary proponent; and

608.3.3.1.6 Date.

608.3.4 Specific revisions to the procedures in a format that clearly identifies the manner in

which the procedures are to be altered (i.e. underline/strikeout format or equivalent). Any

proposal to change that does not include proposed alteration(s) shall be rejected and returned

to the proponent.

608.3.5 Substantive reason(s) or justification for each proposed change. The lack of

substantive justification for a proposed change may result in the return of the proposals to

change to the proponent(s).

608.3.6 Supporting documentation may be needed for the reasonable evaluation of the

proposal.

608.4 Proposals to Change these Procedures Shall be Considered and Evaluated at

Least Annually

608.4.1 The effective date of any annual revisions to these accreditation procedures shall be

January 1.

608.4.2 Only those proposals to change that are received on or prior to the last working day

of June shall be considered for the revisions to these accreditation procedures that may

become effective on January 1 of the following year.

608.5 Accreditation Procedure Revision Process

608.5.1 Revision to these accreditation procedures shall occur only after the relevant

proposals to change have been subjected to public scrutiny and comment using the

following review process:

Chapter Seven RESNET Standards, 2006

6-13

Page 109

Chapter Seven RESNET Standards, 2006

6-14

608.5.1.1 The Revision Evaluation Review Committee shall be responsible for conducting

the periodic evaluation and the annual evaluation of proposals to change through a

consensus process, whereby both consenting and the non-consenting opinions are

documented and incorporated as comments into each report or proposal to change.

608.5.1.2 Following initial evaluation by the Revision Evaluation Review Committee,

proposals to change shall be posted on the RESNET web site for a period of not less than

thirty (30) days during which public comment shall be accepted.

608.5.1.3 Following the public comment period, the Revision Evaluation Review

Committee shall meet to reconcile public comments with the initial comments of the

Revision Evaluation Committee and, if changes are determined necessary, a final set of

recommended changes with consensus comments that considers public comments shall be

prepared on each proposal for change.

608.5.1.4 Proposals for change receiving two-thirds majority support from the Revision

Evaluation Review Committee after public comment shall be incorporated into a set of

revised accreditation procedures.

608.5.2 The revised accreditation procedures shall be published on the RESNET web site

and submitted to the original adopting members of these accreditation procedures not later

than the end of September each year in which changes are recommended.

609 EFFECTIVE DATES

609.1 Quality Assurance

July 1, 2007 – Section 603.9 shall be implemented by all sampling raters and providers.

609.2 Effective Date of Standard

January 1, 2008 – The remainder of Chapter 6 shall be implemented by all sampling raters

and providers

Page 110

.

Chapter Seven

RESNET Standards

700 RESNET NATIONAL STANDARD FOR HOME ENERGY AUDITS

701 GENERAL PROVISIONS

701.1 Purpose

The provisions of this Standard are intended to define a framework for a home energy audit

process. An accredited Provider or a program may apply this Standard to improve the energy

performance of existing homes through uniform, comprehensive home energy audits for

existing residential buildings. This Standard is intended to result in investments by building

owners that produce the following outcomes:

Increase the( energy efficiency of homes;

Increase the( comfort of homes;

Increase the( durability of homes;

Ensure that( energy improvement recommendations are portrayed with reasonable and

consistent projections of energy savings;

Reduce the( risk that energy improvement recommendations will contribute to health,

safety, or building durability problems; and

Reduce waste( and pollution, protecting the environment.

701.2. National Standard for Home Energy Assessment Levels There are two categories

of assessment defined in this standard:

1. Home Energy Survey

a. On-Line Home Energy Survey

b. In-Home Home Energy Survey

c. Diagnostic Home Energy Survey

2. Comprehensive Home Energy Audit

701.3 Relationship to Other Standards This Chapter is a companion Chapter to the

“National Accreditation Procedures for Home Energy Rating Systems” (Chapter 1 of this

Standard), “National Rater Training and Certifying Standard” (Chapter 2 of this Standard),

and “National Energy Rating Technical Standards” (Chapter 3 of this Standard) as

promulgated and maintained by the Residential Energy Services Network (RESNET) and

recognized by the mortgage industry and programs promoting the improved energy

performance of buildings.

701.4 Relationship to State Law This Standard specifically recognizes that some state laws

or regulations have additional requirements to those specified in this document. To the extent

that such state laws or regulations differ from these Standards, state law or regulation shall

govern.

Chapter Seven RESNET Standards, 2006

7-1

Page 111

701.5 Scope

701.5.1 Application of Standards

This Standard applies to existing site-constructed or manufactured, single- and multi-family

residential buildings three stories or less in height, with the exception of hotels and motels.

702 DEFINITIONS AND ACRONYMS

BPI - Building Performance Institute

Certified Building Analyst (BA) - An individual who successfully passes the BPI written and

field examination requirements for certification in order to evaluate the performance of a

home, taking into account systems, physical conditions and other energy and non-energy

characteristics of the home.

Certified Contractor - A contractor accredited by the Building Performance Institute (BPI) or

an equivalent certification organization recognized by the Home Performance with ENERGY

STAR Program to complete specific home performance improvement work.

Certified Home Energy Rater - An individual who is certified by an accredited home energy

Rating Provider to inspect and test a home in order to evaluate the minimum rated features

established by RESNET and prepare a home energy rating according to Chapters One and

Three of the RESNET Mortgage Industry National Home Energy Rating Standards.

Comprehensive Home Energy Audit - A level of the RESNET Home Energy Audit process

defined by this standard to include the evaluation, diagnosis and proposed treatment of an

existing home. The Comprehensive Home Energy Audit may be based on a Home

Performance Assessment (“Comprehensive Home Performance Energy Audit”) or Home

Energy Rating (“Comprehensive HERS Audit”), in accordance with the criteria established

by this Standard. A homeowner may elect to go through this process with or without a prior

Home Energy Survey or Diagnostic Home Energy Survey.

Auditor - An individual who is certified by a RESNET accredited Comprehensive Home

Energy Audit Provider to conduct comprehensive home energy audits.

Data Collection - The gathering of information on building energy features, energy use

history and other relevant building and building operation information.

Diagnostic Home Energy Survey - A level of the RESNET Home Energy Survey in

accordance with this standard, consisting of an In-Home Home Energy Survey and additional

diagnostic testing.

Diagnostic Testing - The use of building performance-testing equipment (e.g. blower door,

duct blaster, flow hood, infrared camera, CO monitor, etc.) to measure, assess and document

specific performance characteristics of the building system.

Energy Efficiency Rating or Energy Rating - See Home Energy Rating

Chapter Seven RESNET Standards, 2006

7-2

Page 112

Energy Saving Measure or Feature - Any material, component, device, system, construction

method, process or combination thereof that will result in a reduction of energy use.

Evaluation - An analysis of the data collected from any survey or audit, on-site data

collection and performance testing, available energy usage records to determine energy use

and potential savings from improvements.

HERS - Home Energy Rating System

HERS Index - A numerical integer value produced by a Home Energy Rating that represents

the relative energy use of a Rated Home as compared to the energy use of the HERS

Reference Home, and where an Index value of 100 represents the energy use of the HERS

Reference Home and an Index value of 0 (zero) represents a home that uses zero net

purchased energy.

HERS Provider - An organization accredited by RESNET in accordance with section 102 of

the Mortgage Industry National Home Energy Rating Systems Standards to develop, manage,

and operate a home energy rating system.

Home - A building with one or more dwelling units that has three or fewer stories above

grade, or a single dwelling unit within a building of three or fewer stories above grade.

Home Energy Assessment - Defined by this standard as one of two levels of energy

assessment of a home, including Home Energy Survey and Comprehensive Home Energy

Audit.

Home Energy Rating - An unbiased indication of a home’s relative energy performance

based on consistent inspection procedures, operating assumptions, climate data and

calculation methods in accordance with the “National Energy Rating Technical Standards”

(Chapter 3 of this Standard).

Home Energy Rating System or HERS

®

- The materials and procedures needed to operate a

home energy rating program including, but not limited to: marketing materials, training

materials, publications, rating software, quality control system, data collection and

maintenance systems, agreements, data collection sheets, home owner reports, and other

related materials and services.

Home Performance Assessment - A detailed evaluation of the condition of a home as a

building system, including evaluation of all materials, components, features, systems and

subsystems that affect the energy use of the home.

Home Performance with Energy Star (HPwES) - A national program developed by the

Environmental Protection Agency (EPA) and the Department of Energy (DOE), that offers a

comprehensive, whole-house approach to improving energy efficiency and comfort of

homes, while maintaining or improving safety.

Chapter Seven RESNET Standards, 2006

7-3

Page 113

Home Energy Survey Provider - An organization accredited by RESNET in accordance with

Section 703 of the Mortgage Industry National Home Energy Rating Systems Standards to

certify individuals to perform Home Energy Surveys in accordance with this standard, and to

maintain quality assurance of the Home Energy Survey process.

Home Energy Survey Professional - An individual certified by an accredited Home Energy

Survey Provider to conduct Home Energy Surveys.

In-Home Home Energy Survey - A level of the RESNET Home Energy Assessment process

defined by this standard intended to assess both the general energy performance of the home

and the level of the commitment to action on the part of the homeowner. The survey may

include data be collected and reported on-line by the homeowner or by a home energy survey

professional for the purpose of further analysis and general identification of home

performance problems. The intent of the energy survey is to refer homeowners to the next

level if it is determined that the home needs further analysis, and the homeowner is motivated

to invest in improvements. The On-Line or In-Home Home Energy Survey is not required if

the homeowner wishes to directly pursue a Diagnostic Home Energy Survey or

Comprehensive Home Energy Audit.

On-Line Home Energy Survey - A basic energy review of a home using an internet-based

tool or software.

Performance Testing - Testing conducted to evaluate the performance of a system or

component using specified performance metrics.

Rating Software - A computerized procedure that is accredited by RESNET for the purpose

of conducting home energy ratings and calculating the annual energy consumption, annual

energy costs and a HERS Index for a home.

RESNET - Residential Energy Services Network

703 HOME ENERGY AUDIT ACCREDITATION CRITERIA

703.1 Home Energy Survey Provider Accreditation

703.1.1 Home Energy Survey Provider A Home Energy Survey provider shall be

accredited in accordance with the following provisions. The accreditation requirements

encompass both In-Home and Diagnostic Home Energy Surveys.

703.1.2 A Home Energy Survey Provider shall be accredited by RESNET as specified in

Section 102 of the Mortgage Industry National Home Energy Rating Systems Standards.

703.1.3 Home Energy Survey Professional Certification Standard. Certification and

recertification of Home Energy Survey Professionals shall be by accredited Home Energy

Survey Providers, who shall abide by the following provisions:

703.1.3.1 A Home Energy Survey Provider shall provide documentation that their home

energy survey professionals meet the following certification provisions:

Chapter Seven RESNET Standards, 2006

7-4

Page 114

703.1.3.1.1 Performance evaluation of ability to perform accurate Home Energy

Surveys in accordance with sections 704 and 705. Each Home Energy Survey

Professional shall complete a probationary period where close supervision is provided

by the provider’s QA designee. The probationary period covers a minimum of three

home energy surveys after which the QA Designee shall determine if additional

training is needed. A Home Energy Survey Professional shall be certified only for the

category of survey for which he or she has been tested and evaluated.

703.1.3.1.2 Continuing Education. Home Energy Survey Professionals shall have 12

hours of continuing education and training units approved by the Home Energy Survey

Provider in every three year period.

703.1.3.1.3 Home Energy Survey Professional Testing. All certified Home Energy

Survey Professionals shall pass the national Home Energy Survey Professional test

administered by RESNET.

703.1.3.1.4 Recertification of Home Energy Survey Professionals by the provider shall

occur not less than every three years.

703.1.3.1.5 Home Energy Survey Professional Agreements. As a condition of Home

Energy Survey Professional certification, each Provider shall ensure that each certified

home energy survey professional enters into a written agreement with the Provider to

provide Home Energy Survey field verification services in compliance with these

standards. An unexecuted copy of the Home Energy Survey Professional written

agreement shall be provided to RESNET with the provider’s accreditation application,

and again within 60 days of making changes to the agreement. The written agreement

shall, at a minimum require Home Energy Survey Professionals to:

703.1.3.1.5.1 Provide Home Energy Survey verification services in compliance with

these standards;

703.1.3.1.5.2 Provide accurate and fair In-Home Home Energy Surveys; and

703.1.3.1.5.3 Comply with the RESNET Code of Ethics. The Code of Ethics shall

be attached to the written agreement.

703.1.4 Minimum Standards for Home Energy Survey Provider Operation Policies and

Procedures shall be submitted in written form to RESNET for approval, and shall at a

minimum provide for the following:

703.1.4.1 Written conflict of interest provisions that prohibit undisclosed conflicts of

interest, but may allow waiver with advanced disclosure. The “Home Energy Survey

Standard Disclosure” form adopted by the RESNET Board of Directors shall be completed

for each home that receives a Home Energy Survey and shall be provided to the Home

Energy Survey Professional’s client and made available to the homeowner. Each form

shall include, at a minimum, the address of the home. Each form shall accurately reflect

the proper disclosure for the home that it represents. For the purpose of completing this

Chapter Seven RESNET Standards, 2006

7-5

Page 115

disclosure, “Survey professional’s employer” includes any affiliate entities. Recognizing

that a number of different relationships may exist among the Home Energy Survey

Professional or the Home Energy Survey Professional’s employer, other contractors that

may complete work on the home, and the survey client and/or homeowner, the Home

Energy Survey Provider shall ensure that all disclosures are adequately addressed by the

provider’s quality assurance plan, in accordance with the relevant quality assurance

provisions of the standards.

703.1.4.2 Written Home Energy Survey Professional discipline procedures that include

progressive discipline for probation, suspension, and decertification.

703.1.4.3 A written Home Energy Survey quality control process that includes, at a

minimum the following:

703.1.4.3.1 Quality Assurance Designee

703.1.4.3.1.1 A Home Energy Survey Provider shall designate an officer,

employee, or contractor to be responsible for quality assurance within the

organization. This definition does not prohibit a rating provider’s Quality Assurance

Designee from having a qualified certified Home Energy Survey Professional

perform the required quality assurance file review functions. The responsibilities of

the designee shall include:

703.1.4.3.1.1.1 Maintenance of quality assurance files

703.1.4.3.1.1.2 Review of in-home energy surveys during the probationary period

of the Home Energy Survey Professional

703.1.4.3.1.1.3 Monitoring on the in-home energy surveys by certified Home

Energy Survey Professionals.

703.1.4.3.1.2 The designated officer, employee, or contractor responsible for

quality assurance shall demonstrate sufficient experience with the Home Energy

Survey Professional knowledge base and skills given in Section 705.1 of the

Standard to review the work of certified Home Energy Survey Professionals.

Sufficient experience shall be demonstrated by either of the following:

703.1.4.3.1.2.1 Certification as a Rating Provider Quality Assurance Designee

703.1.4.3.1.2.2 Certification as a home energy rater and completing accurate

ratings on a minimum of 25 homes

703.1.4.3.1.2.3 Proof of qualification shall be submitted with an application for

accreditation.

703.1.4.3.2 The Provider’s quality assurance designee shall be responsible for the

internal review of Home Energy Surveys submitted by its Home Energy Survey

Professionals, including:

Chapter Seven RESNET Standards, 2006

7-6

Page 116

703.1.4.3.2.1 Review of the Home Energy Surveys conducted during the home

energy survey professional’s probation period. Prior to certifying a Home Energy

Survey Professional candidate, the Provider shall review at least three probationary

Home Energy Surveys performed by the Home Energy Survey Professional within

12 months.

703.1.4.3.2.2 Review of energy survey reports. For each Home Energy Survey

Professional, the Provider’s quality assurance designee shall annually evaluate a

minimum of 10% of each Home Energy Survey Professional’s Home Energy

Survey reports. The Provider shall resolve any problems detected during these

reviews.

703.1.4.4 Home Energy Survey Professional Registry. The provider shall maintain a

registry of all of its certified Home Energy Survey Professionals. The provider shall also

keep on file the names and contact information for all certified Home Energy Survey

Professionals, including company name, mailing address, voice phone number, fax number,

and email address. Upon request, the provider shall provide to RESNET its registry of

certified Home Energy Survey Professionals.

703.1.4.5 Complaint Response Process. Each Provider shall have a system available for

receiving complaints. The Provider shall respond to and resolve complaints related to

Home Energy Surveys and reports. Providers shall ensure that Home Energy Survey

Professionals inform clients about the complaint process. Each Provider shall retain records

of complaints received and responses to complaints for a minimum of three years after the

date of the complaint.

703.2 Comprehensive Home Energy Audit Provider Accreditation

A Comprehensive Home Energy Audit provider shall be accredited by RESNET as a Rating

Provider in accordance with the provisions of Section 102 of the Mortgage Industry National

Home Energy Rating Systems Standards.

704 NATIONAL HOME ENERGY AUDIT PROCEDURES

704.1 Home Energy Survey

The purpose of the Home Energy Survey is to determine the general condition of the home

with respect to energy performance and the homeowner’s potential willingness to improve

the home’s energy performance. The Home Energy Survey shall produce a report that shows

a general range of a home’s energy efficiency based on specific criteria (insulation,

equipment age, general condition, energy usage and costs) and a lookup matrix based on

regional norms and climate, as approved by RESNET. An example includes the U.S.

Department of Energy’s Home Energy Saver. The Home Energy Survey is not required if

the homeowner wishes to directly pursue a Diagnostic Home Energy Survey or a

Comprehensive Home Energy Audit. The Home Energy Survey may take one of two forms:

a computerized On-Line Home Energy Survey approved by RESNET or an In-Home Energy

Survey conducted by a certified Home Energy Survey Professional.

Chapter Seven RESNET Standards, 2006

7-7

Page 117

704.1.1 On-Line Home Energy Survey. The On-Line Home Energy Survey shall collect

substantially the same data and information and shall be subject to the same limitations as the

In-Home Home Energy Survey. On-line Home Energy Survey instruments shall be hosted

by a RESNET accredited Survey Provider or another organization approved by RESNET and

the on-line instrument shall be approved by RESNET.

704.1.2 In-Home Home Energy Survey. This Home Energy Survey shall include on-site

visual inspection of the energy features of the dwelling unit, and documentation of its general

condition, including envelope features and ages; equipment types, characteristics and ages;

and, appliance and lighting characteristics. Where available, the In-Home Home Energy

Survey shall include a review of utility use and billing history. The In-Home Home Energy

Survey is a visual inspection only and does not require the use of a blower door, duct leakage

test, an infrared camera or other test equipment. An In-Home Home Energy Survey is not a

prerequisite for the Diagnostic Home Energy Survey or Comprehensive Home Energy Audit.

704.1.2.1 The Home Energy Survey Professional shall interview the homeowner regarding

energy and comfort problems. The Home Energy Survey Professional shall explain the

limitations of the In-Home Energy Survey and provide an overview of the Comprehensive

Home Energy Audit. The interview shall include, but is not limited to, the following

subject areas:

704.1.2.1.1 Comfort complaints, including areas of the home that are too hot or too

cold.

704.1.2.1.2 Energy billing concerns.

704.1.2.1.3 The potential for the homeowner to move to a Comprehensive Home

Energy Audit.

704.1.2.1.4 Interest in potential home energy performance improvements.

704.1.2.2 The Home Energy Survey Professional shall inform the homeowner of low

cost/no cost improvements that can be implemented by the homeowner.

704.1.2.3 The Home Energy Survey Professional shall request copies of utility bills or

written permission to obtain the energy use information from the utility company, and use

them to produce an estimate of generalized end-uses (base, heating, and cooling).

704.1.2.4 The Home Energy Survey Professional shall advise the homeowner on where to

locate qualified individuals to conduct a Diagnostic Home Energy Survey or a

Comprehensive Home Energy Audit and/or qualified contractors to complete the work on

the home.

704.1.2.5. Minimum Procedures for an In-Home Energy Survey:

704.1.2.5.1 The Home Energy Survey Professional shall complete a standardized

survey form approved by the Residential Energy Services Network (RESNET). The

Chapter Seven RESNET Standards, 2006

7-8

Page 118

survey form will require the Survey Professional to visually review the home and to

measure or estimate the following features:

704.1.2.5.1.1 R-values of wall/ceiling/floor insulation

704.1.2.5.1.2 Square footage and approximate age of home

704.1.2.5.1.3 Type of windows: glazing type(s) and frame material(s)

704.1.2.5.1.4 Type, model number, and location of heating/cooling system(s)

704.1.2.5.1.5 Type of ductwork, location and R-value of duct insulation, and any

indications of previous duct sealing

704.1.2.5.1.6 Type of foundation is crawl, basement, or slab

704.1.2.5.1.7 Checklist of common air-leakage sites indicating likely opportunities

for leakage reduction

704.1.2.5.1.8 Estimated age and efficiency of major appliances such as

dishwashers, refrigerators, freezers, washing machines and dryers

704.1.2.5.1.9 Number and type of hardwired light fixtures and screw-in bulbs in

portable lamps suitable for energy efficient re-lamping

704.1.2.5.1.10 Visual indications of condensation

704.1.2.5.1.11 Presence and location of exhaust fans, and determination of whether

they are vented outdoors

704.1.2.5.1.12 Number and type of water fixtures (e.g. faucets, showerheads)

704.1.2.5.1.13 Presence and type(s) of combustion equipment; identification of

visually identifiable evidence of flame rollout, blocked chimney, and corroded or

missing vent connector.

704.1.2.5.2 The following elements are outside the scope of an In-Home, Home

Energy Survey:

704.1.2.5.2.1 The use of blower doors, duct leakage test equipment or an infrared

camera.

704.1.2.5.2.2 Any other diagnostic testing of the home

704.1.2.5.2.3 Quantification of any levels of air tightness, duct tightness, or

ventilation.

Chapter Seven RESNET Standards, 2006

7-9

Page 119

704.1.2.5.2.4 Energy savings estimates may only be generalized and presented

along with the qualification that a Comprehensive Home Energy Audit must be

obtained to calculate energy savings estimates.

704.1.2.5.2.5 Combustion appliance testing

704.1.2.6 Minimum In-Home Energy Survey Report

704.1.2.6.1 At the completion of the In-Home Energy Survey the Home Energy

Survey Professional shall provide the homeowner a standardized report approved by

the Residential Energy Services Network (RESNET), signed by the Home Energy

Survey Professional. The report at a minimum shall provide information to the

homeowner that addresses:

704.1.2.6.1.1 All data collected in accordance with Section 704.1.2.5.1, above

704.1.2.6.1.2 Whole-house solutions overview of how the home works as a system

and how to prioritize actions.

704.1.2.6.1.3 Quality installation of HVAC equipment including: proper sizing of

equipment, duct sealing, and refrigerant charge and air flow.

704.1.2.6.1.4 Quality building envelope air sealing and proper levels of insulation.

704.1.2.6.1.5 Overview of ENERGY STAR or better products and appliances.

704.1.2.6.1.6 Information regarding access to a Comprehensive Home Energy

Audit.

704.1.2.6.1.7 Non-energy benefits of improving the energy efficiency of the home

including reduction of carbon emissions.

704.1.2.6.1.8 General statement regarding opportunities to improve the thermal

envelope, mechanical equipment, lighting and appliances in the home.

704.1.2.6.1.9 General discussion of concerns regarding combustion safety.

704.1.2.6.1.10 A safety notification form adopted by the Residential Energy

Services Network that is filled out and presented when obvious problems are

observed in accordance with 704.1.2.5.1.

704.1.2.7 Limitations

Unless certified as a Home Energy Rater, Building Analyst, or by another program

recognized by RESNET, the Home Energy Survey Professional shall not produce a detailed

written work scope for improvements as part of an In-Home Energy Survey.

704.1.3 Diagnostic Home Energy Survey A homeowner may elect to go through this

process with or without a prior In-Home Home Energy Survey. The Diagnostic Home

Chapter Seven RESNET Standards, 2006

7-10

Page 120

Energy Survey includes all of the provisions of the In-Home Energy Survey (Section

704.1.2), with the exception of the diagnostic testing and reporting restrictions listed in

section 704.1.2.5.2, and with the inclusion of diagnostic testing as follows:

704.1.3.1 A Home Energy Survey Professional completes a Diagnostic Home Energy

Survey by performing the following:

704.3.1.1.1 Carry out the provisions of Section 704.1.2 Energy Survey with the

exception of the restrictions given in section 704.1.2.5.2.

704.3.1.1.2 If a blower door air leakage test is performed on the home, it shall be

conducted in accordance with the envelope testing requirements contained in the

“National Energy Rating Technical Standards” (Chapter 3 and Appendix A of this

Standard). The results shall be presented on the Diagnostic Survey report.

704.3.1.1.3 If a duct leakage test is performed on the home, it shall be conducted in

accordance with the duct testing requirements contained in the “National Energy

Rating Technical Standards” (Chapter 3 and Appendix A of this Standard), whenever

one or more duct systems are present for heating or cooling systems in the house.

The results shall be presented on the Diagnostic Survey report.

704.3.1.1.4 Additional diagnostic testing and reporting is optional and left up to the

discretion of the Home Energy Survey Professional, program or entity offering the

Diagnostic Home Energy Survey.

704.2 Comprehensive Home Energy Audit

The purpose of the Comprehensive Home Energy Audit is to cause improvement to be made

to the audited home. The Comprehensive Audit includes an evaluation, performance testing

and proposed treatments for improvement of an existing home. The evaluation shall include

a review of the data collected from any previous energy audit or survey, any further required

measurement and performance testing, combustion appliance testing, and a computerized

simulation analysis of the home's energy performance and a calculation of the energy and

environmental savings from improving the energy performance of the home. The

performance analysis shall determine the scope of work for the home. The qualified Auditor

shall guide the homeowner to a Certified Contractor. A homeowner may elect to go through

this process without a requirement of a prior Home Energy Survey or a Diagnostic Energy

Survey. A properly certified employee or agent of a Certified Contractor may complete a

Comprehensive Audit, provided that a standard financial interest disclosure is provided to the

homeowner in accordance with Section 703.1.4.1 of this Standard.

704.2.1 The Comprehensive Home Energy Audit shall include all of the following

procedures:

704.2.1.1 The procedures adopted by the Residential Energy Services Network for the

certified Home Energy Rater classification and

Chapter Seven RESNET Standards, 2006

7-11

Page 121

704.2.1.2 The procedures adopted by the Building Performance Institute for the certified

Building Analyst classification.

705 REQUIRED SKILLS AND CERTIFICATION

705.1 Minimum skills and knowledge base required to conduct an In-Home Home

Energy Survey

705.1.1 Basics of heat transfer concepts

705.1.2 Basics of building performance testing

705.1.3 Basics of air distribution leakage

705.1.4 Calculating gross and net areas

705.1.5 Definitions/energy terminology

705.1.6 Basic combustion appliance concerns

705.1.7 Basics of envelope leakage, thermal bypass, thermal bridging

705.1.8 Determining envelope insulation

705.1.8.1 Presence/absence of insulation and when observable, the quality of its

installation

705.1.8.2 Recommended levels of insulation by climate zone

705.1.9 HVAC – determining equipment efficiencies from model numbers or default tables

705.1.10 Household appliances – determine efficiency from model numbers or vintage

705.1.11 Energy units

705.1.12 Measuring building dimensions

705.1.13 Identification and documentation of energy survey inspected features of the home

705.1.14 Basics of specifications

705.1.15 Determining window and door efficiency

705.1.16 Determining building orientation and shading characteristics

705.1.17 Defining the thermal boundaries

Chapter Seven RESNET Standards, 2006

7-12

Page 122

705.1.18 Basics of measure interaction, expected life, and bundling for optimal performance

considering the house as a system and the emerging need for deep savings

705.2 Minimum skills and knowledge base required for an individual to conduct a

Diagnostic Home Energy Survey

705.2.1 The skills and knowledge required for an individual to conduct a Home Energy

Survey in accordance with section 705.1 of this standard.

705.2.2 Ability to perform building envelope leakage testing in accordance with the

envelope testing requirements contained in the “National Energy Rating Technical

Standards” (Chapter 3 of this Standard).

705.2.3

Ability to perform duct leakage testing in accordance with the duct testing

requirements contained in the “National Energy Rating Technical Standards” (Chapter 3 of

this Standard).

705.2.4 Familiarity with local climate conditions and climate specific practices.

705.3 Minimum certification required for an individual to conduct a Comprehensive

Home Energy Audit

705.3.1 The certified Auditor shall be a Home Energy Rater certified by a RESNET

accredited Rating Provider, and a Building Analyst certified by the Building Performance

Institute. At a minimum, the certified Auditor shall be trained and certified to accomplish

the following functions:

705.3.1.1 Prepare a detailed work scope in accordance with the BPI Building Analyst

Standards; and

705.3.1.2 Perform combustion testing in accordance with the BPI Building Analyst

Standards; and

705.3.1.3 Conduct building simulation and performance analysis and provide HERS

Ratings in accordance with the requirements of the Mortgage Industry National Home

Energy Rating System Standards.

705.3.2 A person certified by another home performance certification program recognized

by the Residential Energy Services Network.

706. GENERAL LIMITATIONS AND EXCLUSIONS

706.1 General limitations

706.1.1 The energy use information contained in the In-Home Home Energy Survey report

does not constitute any warranty of energy cost or savings.

Chapter Seven RESNET Standards, 2006

7-13

Page 123

Chapter Seven RESNET Standards, 2006

7-14

706.1.2 Inspections that are performed in accordance with these standards:

706.1.2.1 Are not technically exhaustive.

706.1.2.2 Will not identify concealed conditions or latent defects.

706.1.2.3 The Comprehensive Home Energy Audit is not intended to be an inspection of

the structural soundness of the home or any other attributes of the home other than the

home’s energy features.

706.1.2.4 The Home Energy Survey is not applicable to building design and construction

features except those specified in the minimum required features listed in section 704.1.2.5.

Page 124

NATIONAL HOME ENERGY RATING

TECHNICAL GUIDELINES

December 28, 2005

Appendix A

ON-SITE INSPECTION PROCEDURES FOR

MINIMUM RATED FEATURES

Excerpted from: Guidelines for Uniformity: Voluntary Procedures for Home Energy Ratings,

Version 2.0, Home Energy Rating Systems Council (HERSC), August 1996.

Reprinted with the permission of the HERS Council.

Appendix A, 2006 A-1

Page 125

ON-SITE INSPECTION PROCEDURES FOR MINIMUM RATED FEATURES

Building Element: Foundation

Rated Feature

Task

On-Site Inspection Protocol

Conditioning of space Determine whether a crawl

space or basement is

unconditioned, indirectly

conditioned or directly

conditioned

To determine whether a crawl space or basement is conditioned, assess the insulation

placement in the walls or floor/ceiling assembly.

A vented crawl space is considered unconditioned regardless of the location or existence of

insulation. This is because the ambient temperature of the crawl space is close to the outdoor

ambient temperature.

An unvented crawl space or basement may be considered either unconditioned, indirectly

conditioned, or fully conditioned, based on the following criteria:

Unconditioned -Foundation walls are not insulated, floor/ceiling assembly is insulated, and

any heating or plumbing distribution systems in the space is insulated. The intention in an

unconditioned crawl space or basement is to minimize the heating system losses into the

space by means of the distribution and plumbing insulation, and to minimize heat flow

through the insulated floor/ceiling assembly.

Conditioned, indirectly -Foundation walls are not insulated with floor/ceiling assembly

insulated and distribution system in the space uninsulated, or foundation walls insulated with

floor ceiling assembly insulated or non-insulated and distribution system uninsulated. In an

indirectly conditioned crawl space or basement, heating or cooling is unintentionally

delivered to the space either through the floor/ceiling assembly or by unintentional losses

Appendix A, 2006

A-2

Page 126

from the heating/cooling system. Indirectly conditioned spaces are typically between the

temperature of the outdoor ambient temperature and the indoor conditioned space

temperature.

Building Element: Foundation (continued)

Rated Feature

Task

On-Site Inspection Protocol

Determine whether a crawl

space or basement is

unconditioned, indirectly

conditioned or directly

conditioned (continued)

Conditioned, directly -Foundation walls insulated or uninsulated and basement or crawl space

is intentionally or unintentionally conditioned, by means of a forced air heating or cooling

system, hydronic heat, electric resistance, etc. Fully conditioned spaces are typically

maintained at the same temperature as the above grade spaces. The distinction between

indirectly and directly conditioned basement spaces may be difficult, but is important from a

heat transfer perspective. Rater judgment will have to be utilized in many cases. Interview the

owner about the temperature in the basement during the heating season, and assess the

potential for standby loss from the heating equipment and distribution system, e.g., jacket

insulation, leakiness of ducts, insulation on distribution systems, etc.

Conditioning of space

(continued)

Construction type

Identify floor over crawl

space

A crawl space is typically defined as a foundation condition with a clear vertical dimension 4

feet high or less. Crawl spaces may be vented or unvented. Vented crawl spaces have some

form of vent or louver in the crawl space walls, or are constructed in such a manner so that air

moves freely from outside the walls to inside the crawl space. Unvented crawl spaces are

constructed without any form of vents or louvers in the wall, and are constructed to exclude,

to the greatest extent possible, air leakage from outside the walls to inside the crawl space.

Crawl spaces may be accessed by a hatchway in the floor of the house or in the wall of the

crawl space. To identify a crawl space, look for foundation vents and/or stairs leading up to

floor levels from the outside of the building.

Identify floor over full

basement

A full basement has characteristics similar to an unvented crawl space, except that the clear

vertical dimension is typically greater than 4 feet. Stairs that lead from the main floor to a

below grade space are an indication of a basement in a house, although a house may have a

basement with access similar to a crawl space access.

Appendix A ,2006

A-3

Page 127

Identify floor over exterior

space

Floor area that borders exterior unenclosed space above grade is considered floor to exterior.

For example, in a two story house, the second story may extend horizontally further than the

first story, creating some floor area that is exposed to the exterior.

Building Element: Foundation (continued)

Rated Feature

Task

On-Site Inspection Protocol

Identify floor over

unconditioned garage

Identify floors over an unconditioned garage.

Identify slab on grade

foundation

A slab on grade can be recognized by the absence of either a crawl space or basement. A slab

on grade is constructed by pouring a concrete slab directly on the ground as the floor for the

house.

Identify walkout basement A walkout basement, if fully conditioned, is typically considered partially slab on grade

Appendix A ,2006

A-4

Page 128

construction (where the floor level is above grade) and partially a basement (where the floor

level is below grade).

Determine the inside

surface condition of floor

(exposed or covered)

Covered -If floor is covered with wall-to-wall carpet, consider it covered. Floors with only

area rugs are not considered covered.

Exposed -If the floor has tile, linoleum or wood, consider it exposed.

Interior surface

condition

Building Element: Foundation (continued)

Rated Feature

Task

On-Site Inspection Protocol

Surface area

Measure floor dimensions Measure floor dimensions in accordance with ANSI Z765-1996 with the exception of Section

3 Paragraph 6 (floor areas with ceiling heights of less than 5’ will be included in finished

square footage).

For conditioned basements and crawl spaces, find dimensions of basement walls and floor.

Divide walls into above and below grade sections.

Measure the house or assembly element (window, wall, ceiling, etc.) to the nearest inch, and

record the square footage to the nearest square foot. Use exterior measurements; those

measurements should start at the exterior finished surface of the outside wall. Openings to the

floor below should not be included in the square footage calculation, with the exception of

stairways; stairways and associated landings are counted as square footage on both the starting

and ending levels. Do not include the “footprint” of protruding chimneys or bay windows.

Do include the “footprint” of other protrusions like a cantilever when it includes finished floor

area. Do include the square footage of separate finished areas that are connected to the main

body of the house by conditioned hallways or stairways.

Note to divide basement and crawl space walls into above and below grade.

Thermal mass

Determine presence of

thermal mass

Concrete slabs and basement walls when uninsulated or insulated on the exterior can be

considered as thermal storage mass when combined with solar gain from south fenestration.

Note type of thermal mass: concrete, brick, tile, water.

Appendix A ,2006

A-5

Page 129

South fenestration is defined as fenestration oriented between 45E SE to 45E SW.

Slab-on-grade construction in climates with more than 3600 HDD (65) may not be considered

solar storage mass unless properly insulated (edge, perimeter, or under slab).

Building Element: Floor of conditioned basement or crawl space

Rated Feature

Task

On-Site Inspection Protocol

Insulation

Determine insulation in

walls and floor of

conditioned basement or

crawl space

If basement or crawl space is determined to be fully conditioned, its walls and floor are

considered part of the building envelope. (The floor between the house's ground floor and the

basement or crawl space is considered an interior boundary with no associated heat transfer

calculated.)

Determine insulation type, thickness and R-value in walls. Wall insulation may be located

inside foundation wall (studs and batts, foam under drywall, etc.), integral with foundation

wall (insulated cores of block wall, insulating concrete block such as insulating formwork) or

outside the foundation wall (rigid foam insulation).

Insulation

Determine amount of floor

insulation

Appendix A ,2006

A-6

Page 130

Use the inspection guidelines under “Walls—Insulation value” to assess “Grade I”, “Grade

II”, or “Grade III” installation. Note: in addition to the inspection guidelines under “Walls”,

“Grade I” installation for floor insulation also requires that the insulation be installed in

complete contact with the subfloor surfaces it is intended to insulate. For loose fill

applications, multiply the thickness of the insulation (in inches) by the appropriate R-value per

inch based on the insulation type in order to calculate the total existing floor insulation R-

value. Floor insulation over unconditioned basements or enclosed (vented or unvented)

crawlspaces need not be enclosed to attain a “Grade II” or “Grade I” assessment; floor

insulation over ambient conditions does.

Building Element: Slab-on-grade

Rated Feature

Task

On-Site Inspection Protocol

Perimeter

Determine perimeter of slab

foundation

Determine the perimeter of the slab foundation by measuring each dimension to the nearest ½

foot and adding them together.

Insulation

Determine if slab perimeter

insulation exists

If present, slab perimeter insulation is usually installed on the outside of the slab and extends

both above and below grade.

To identify slab perimeter insulation, look for a protective coating above grade as opposed to

the usual exposed slab edge at any conditioned space(s).

Move a little bit of dirt away from an edge of the slab where conditioned space is located. If

present, the rigid insulation around the perimeter of the slab may be seen. However, it may be

difficult to visually verify the existence of slab perimeter insulation because of the protective

covering which may be installed over the rigid insulation.

Slab insulation may also occur between the foundation wall and the slab itself, although this is

harder to assess and verify. If the floor has carpeting, a sharp needle may be poked through the

carpet near the baseboard on an outside wall. If the needle penetrates beyond the depth of the

carpet, there is probably foam insulation between the slab and foundation wall.

Appendix A ,2006

A-7

Page 131

Under slab insulation cannot be assumed to exist unless visually verified by a photograph of

construction, at chase way, at sump opening or at plumbing penetrations.

Building Element: Walls

Rated Feature

Task

On-Site Inspection Protocol

Color

Determine the color of the

wall

Identify the color of the wall as light, medium, or dark.

Determine the structural

system of walls

Wood framing -is very common in residential construction. Wood studs are located 16" or 24"

on center all along the wall. Knocking on the wall will give a "hollow" sound in the cavities

between the studs and a "solid" sound at the stud locations.

Metal framing -can be found in some newer residential construction. A strong magnet slid

against the wall will hold to metal framing. Also check inside the attic at the edges for

evidence of metal wall framing. Masonry walls - include walls constructed of concrete or

brick. A wood framed wall with brick veneer would not be considered a masonry wall. Also

note the siding or finish material on the wall.

Foam core walls - are a sandwich panel consisting of a foam center with outer layers of

structural sheathing, gypsum board or outer finish materials. Foam core panels may be

structural (load bearing) or non-structural. Non-structural panels are frequently used in post

and beam construction.

Log walls - are typically solid wood walls, using either milled or rough logs or solid timbers.

Some homes may have the appearance of solid log walls, yet may actually be wood frame

walls with siding that looks like solid logs inside and out. Some log walls are manufactured

with insulated cores. Unless manufacturer's documentation is available or visual inspection of

insulation type and thickness can be made, assume no added insulation exists in a log wall.

Construction type

Appendix A ,2006

A-8

Page 132

Building Element: Walls (continued)

Rated Feature

Task

On-Site Inspection Protocol

Framing members

Determine framing member

size for all framed walls

exposed to unconditioned

space

To determine whether 2x4 or 2x6 framing exists:

Measure the width of the window jambs;

Subtract the widths of the wall coverings and sheathing materials (approximately .25"

to 1.0" for stucco, .5" to .6" for interior sheetrock, and .5" to .75" for other exterior

siding materials);

Compare the remaining width to 3.5" for a 2x4 wall or 5.5" for a 2x6 wall;

If exposed garage walls exist, examine them for reference (although they will not

always be the same as other walls);

If a wall does not come close to the framing width of a 2x4 or 2x6, inspect for foam

sheathing on the inside or outside of the walls. In superinsulated construction, "double

stud" or "strapped" walls may account for thickness greater than 5.5". For brick veneer

walls, assume 4.5" - 5" for brick, airspace and sheathing material.

Check the framing member size on all sides of the house. If an addition has been

added, be sure to check the walls of the addition separately. If the house has more than

one story, check the framing member size for each floor.

Building Element: Walls (continued)

Rated Feature

Task

On-Site Inspection Protocol

Insulation value

Determine type and

thickness of existing

Framed Walls

Check at plumbing outlet under sink or, in order of preference, remove cable outlet plate,

Appendix A ,2006

A-9

Page 133

insulation and resultant R-

value

telephone plate, electrical switch plates and/or electrical outlet plates on exterior walls.

Probe the cavity around the exposed plate with a non-metal device (such as a plastic crochet

hook or wooden skewer). Determine type of insulation (fiberglass, cellulose insulation, foam,

etc.). Inspect outlets/switch plates on each side of the house to verify that all walls are

insulated.

Multiply the wall framing member size (in inches) by the R-value per inch. Be sure to use the

actual thickness of the insulation when calculating the total insulation R-values. Use 3.5" for 2

x 4 walls and 5.5" for 2 x 6 walls constructed after 1945.

Parts of the house that were added later must be checked separately from the original walls.

Sheathing

Insulated sheathing may exist on walls, but can be difficult to verify. Walls with insulated

sheathing may be thicker than walls without insulated sheathing. Visual verification of

insulated sheathing may be found in the attic at the top of the wall, exterior wall penetrations,

and at the connection between the foundation and the wall.

Appendix A ,2006

A-10

Page 134

Building Element: Walls (continued)

Rated Feature

Task

On-Site Inspection Protocol

Insulation

Installation

Determine cavity

insulation installation

characteristics

When it is possible to inspect insulation as installed (i.e., new construction), inspectors

shall rate the installation as “Grade I, II, or III” according to the following guidelines,

regardless of insulation material or installation process. Note that all insulation

installation techniques require proper care to ensure they are completed correctly; if

they are not, thermal performance can suffer dramatically. These guidelines apply to

cavity fill insulation, continuous rigid insulation, and any other field-installed

insulation products.

1. "Grade I" shall be used to describe insulation that is generally installed according to

manufacturers instructions and/or industry standards. A "Grade I" installation requires

that the insulation material uniformly fills each cavity side-to-side and top-to-bottom,

without substantial gaps or voids around obstructions (such as blocking or bridging),

and is split, installed, and/or fitted tightly around wiring and other services in the

cavity. To inspect, probe in, around, or through the insulation and/or vapor retarder in

several places to see whether these requirements are met. Replace or repair the vapor

retarder and insulation as necessary. During inspection (typically before drywall is

installed), if the exterior sheathing is visible from the building interior through gaps in

the cavity insulation material, it is not considered a “Grade I” installation.

To attain a rating of "Grade I", wall insulation shall be enclosed on all six sides, and

shall be in substantial contact with the sheathing material on at least one side (interior

or exterior) of the cavity. Exception: the interior sheathing/enclosure material is

optional in climate zones 1-3, provided insulation is adequately supported and meets

all other requirements.

For rim or band joist insulation, use the inspection guidelines under “Walls—

Insulation value” to assess “Grade I”, “Grade II”, or “Grade III” installation.

Exception: the interior sheathing/enclosure material is optional in all climate zones,

provided insulation is adequately supported and meets all other requirements.

Appendix A ,2006

A-11

Page 135

For exterior applications of rigid insulation, insulation shall be in firm contact with the

structural sheathing materials, and tightly fitted at joints to be considered a “Grade I”

installation.

For faced batt insulation, Grade I can be designated for side-stapled tabs, provided the

tabs are stapled neatly (no buckling), and provided the batt is only compressed at the

edges of each cavity, to the depth of the tab itself, and provided it meets the other

requirements of Grade I.

For sprayed or blown-in products, density shall be sufficient that the fill material

springs back when compressed slightly with a hand or finger, and provided it meets the

other requirements of Grade

Interpretation:

The following illustrations represent the boundary conditions between Grade I and

Grade II, that is, the installation shall be at least this good to be labeled as “Grade I”:

Occasional very small gaps are acceptable for “Grade I”.

Appendix A ,2006

A-12

Page 136

Compression or incomplete fill amounting to 2% or less, if the empty spaces are less

than 30% of the intended fill thickness, are acceptable for “Grade I”.

The following standards may be applied as a reference: NAIMA, Recommendations

for Installation in Residential and Other Light-Frame Construction—Fiber Glass Home

Insulation (PUB # BI402), Recommendations for Installation in Residential and Other

Light-Frame Construction—Fiber Glass Loose Fill Insulation (PUB # BI403), CIMA,

Technical Bulletin #2 -- Standard Practice for Installing Cellulose Building Insulation,

Technical Bulletin #3-- Standard Practice for Installation of Sprayed Cellulosic Wall

Cavity Insulation. For other products and materials, manufacturer's installation

instructions will apply.

2. "Grade II" shall be used to describe an installation with moderate to frequent

installation defects: gaps around wiring, electrical outlets, plumbing and other

intrusions; rounded edges or “shoulders”; or incomplete fill amounting to less than

10% of the area with 70% or more of the intended thickness (i.e., 30% compressed); or

gaps and spaces running clear through the insulation amounting to no more than 2% of

the total surface area covered by the insulation. To attain a rating of "Grade II", wall

Appendix A ,2006

A-13

Page 137

insulation shall be enclosed on all six sides, and shall be in substantial contact with the

sheathing material on at least one side (interior or exterior) of the cavity.

Interpretation:

The following illustrations represent the boundary conditions between Grade II and

Grade III, that is, the installation shall be at least this good to be labeled as “Grade II”:

No more than 2% of surface area of insulation missing is acceptable for “Grade II”

Appendix A ,2006

A-14

Page 138

No more than 10% of surface area of insulation compressed or incomplete fill, by up

to 30% (70% or more of intended thickness) is acceptable for “Grade II”.

3. "Grade III" shall be used to describe an installation with substantial gaps and voids,

with missing insulation amounting to greater than 2% of the area, but less than 5% of

the surface area is intended to occupy. More than 5% missing insulation shall be

measured and modeled as separate, uninsulated surfaces according to 3.B.5.p.

This designation shall include wall insulation that is not in substantial contact with the

sheathing on at least one side of the cavity, or wall insulation in a wall that is open

(unsheathed) on one side and exposed to the exterior, ambient conditions or a vented

attic or crawlspace. The presence of an air-impermeable barrier such as housewrap

will be considered to enclose the building cavities.

Interpretation:

The following illustration represents the boundary conditions between Grade III and

the situation whereby one must measure the uninsulated areas; that is, the installation

shall be at least this good to be labeled as “Grade III”:

Appendix A ,2006

A-15

Page 139

Building Element: Walls (continued)

Rated Feature

Task

On-Site Inspection Protocol

Location

Determine whether walls

border exterior space, attic,

garage or crawl space

Wall to exterior -Walls border exterior space.

Wall to enclosed unconditioned space -Walls that border unconditioned attics, garages and

crawl spaces.

Appendix A ,2006

A-16

Page 140

Surface area

Determine surface area of

all walls exposed to

unconditioned space

Measure linear perimeter of the walls to the nearest ½ foot. Measure the interior wall height of

the walls to the nearest 1/4 foot. Use these measurements to calculate surface area.

Thermal mass

Determine type and

thickness of all mass walls

If the dwelling's walls are constructed of concrete, masonry or brick, determine their type and

thickness.

Solid concrete walls (poured)

Measure the thickness of the poured concrete wall in inches.

Concrete Masonry Unit

Cinder block or uninsulated concrete wall - hollow in the middle. May contain vermiculite or

perlite insulation. Check for additional insulation (interior furring, foam board, foam fill).

Measure the thickness of the wall in inches.

Building Element: Roof/Ceiling

Rated Feature

Task

On-Site Inspection Protocol

All ceiling areas

between conditioned

and unconditioned

space

Obtain measurements of all

ceiling areas

Measure the linear perimeter of the ceiling area to the nearest ½ foot and use these

measurements to calculate surface area of the ceiling.

If a ceiling area is vaulted, it may be necessary to calculate dimensions geometrically.

Appendix A ,2006

A-17

Page 141

Identify the ceiling as one of the following types.

Ceiling to attic

If the ceiling has attic space above (even if the ceiling is vaulted, as in a scissor truss) it is

considered ceiling to attic. If there is a vaulted ceiling check it's angle against the angle of the

roof -- if the ceiling angle is gentler there is attic space above the ceiling. Also check for an

attic access, either separate or from an attic over another part of the house.

Framed ceilings fall into two categories:

Roof on exposed beams or rafters - when you look up from inside the room, you will see

exposed beams or rafters.

Appendix A ,2006

A-18

Page 142

Building Element: Roof/Ceiling (continued)

Rated Feature Task

On-Site Inspection Protocol

Determine ceiling

construction type

(continued)

Finished framed ceiling -if the ceiling is framed (has no attic space above it, but you cannot

see the rafters because the ceiling is finished with drywall, plaster, paneling, etc.) consider it a

finished framed ceiling.

All ceiling areas

between conditioned

and unconditioned

space (continued)

Determine the size of the

framing members for

framed ceilings

Determine the framing member size for framed ceilings exposed to unconditioned spaces.

Check the framing by looking for an access through an attic over another part of the house or

by looking at the rafters from the outside.

Color

Determine the color of the

roof

Identify the color of the roof as light, medium or dark. Also check for a special reflective roof

coating.

Construction type

Determine the roof's

construction type

Identify the type of roofing surface. Some common types include:

Asphalt shingle;

Pebble/gravel built-up roof;

Tile roof;

Wood shingle roof;

Rubber roof/roof coating;

Metal.

Insulation value

Determine R-value of

insulation in attic

Measure the average depth in four places.

Appendix A ,2006

A-19

Page 143

Building Element: Ceiling (continued)

Rated Feature

Task

On-Site Inspection Protocol

Insulation value

Determine R-value of

insulation in attic

Use the inspection guidelines under “Walls—Insulation value” to assess “Grade I”, “Grade

II”, or “Grade III” installation. Note: in addition to the inspection guidelines under “Walls”,

“Grade I” installation for ceiling insulation also requires that the insulation be installed in

complete contact with the drywall or sheathing surfaces it is intended to insulate. For loose fill

applications, be sure to get four readings which accurately reflect the insulation level (the

depth should be representative of the entire attic area being examined). Multiply the minimum

depth of insulation by its R-value per inch to obtain the total R-value. Insulation in ceilings

with attic above need not be enclosed to attain a “Grade II” or “Grade I” assessment. For

sealed, unvented attic/roof assemblies, the interior sheathing/enclosure material is optional in

climate zones 1-3, provided insulation is adequately supported and meets all other

requirements, including full contact with the exterior (roof) sheathing. For ceiling insulation,

eave baffles or equivalent construction is required to prevent wind washing to be considered

“Grade I”.

Note whether the cavity insulation leaves the framing elements exposed, or covers them; if

covered, note the thickness that covers the framing.

Determine the R-value of

insulation in framed ceiling

Determine the insulation R-value which exists in the ceiling area (cavity). Use the following

method for calculating the overall ceiling R-value:

Determine( the type of ceiling insulation present (may be a combination of more than

one type);

Multiply the( R-value of the material by the depth of the insulation;

If there is( no access to the framed ceiling, ask the customer for documentation of

insulation or use a default value based on age.

Appendix A ,2006

A-20

Page 144

Building Element: Roof Ceiling (Continued)

Rated Feature

Task

On-Site Inspection Protocol

Insulation value

Determine insulation value The rim joist is the band joist around the perimeter of the floor joists over a basement or crawl

space, or between 2 stories of a house.

Crawl space or Basement

From the basement or crawl space, visually identify and measure the depth of insulation at the

rim joist. The insulation used is generally fiberglass batts, often folded in an L-shape and

attached to the rim joist. Rigid board insulation may also be found.

Insulation value

(continued)

Determine insulation value

(continued)

Between Stories

Look for access to the area from a garage or a utility access trap door. Visually identify and

measure insulation if it exists. If no access can be found, assume insulation exists at the rim

joist between stories if:

Insulation( was found at the rim joist at the top of the crawl space or basement in the

same house; or

Insulation( is found in the walls of the same house.

Otherwise, assume no rim joist insulation exists.

Building Element: Doors

Rated Feature

Task

On-Site Inspection Protocol

Construction type

Determine construction

type of doors

Determine if the exterior door(s) is fiberglass, metal, or wood by making a close inspection of

its texture, distinguishing the sound produced when knocking on it, and checking its side

view.

Insulation

Determine whether doors

are insulated

Judge whether the exterior door(s) is insulated (or not) by its sound, temperature transfer,

labeling, or thermal break.

Sound - Insulated/solid door will sound dull when knocked on. An uninsulated/hollow door

Appendix A ,2006

A-21

Page 145

will sound hollow.

Heat transfer - Feel the inside and outside of the door with flat palms. Insulated/solid door

will less readily transfer heat. The inside will feel warmer in cold outside weather and cooler

in hot outside weather than an uninsulated/hollow door.

Determine whether doors

are insulated (continued)

Labeling - Check the side view of the door at the hinges for a descriptive label.

Thermal break - Check the side view of metal doors for thermal breaks.

Insulation (continued)

Surface area

Determine surface area of

doors

Measure the surface area of the door(s) to the nearest ½ square foot.

Building Element: Windows

Rated Feature

Task

On-Site Inspection Protocol

Area

Determine area of windows Measure the area of the window openings using width times height to the nearest inch.

Window openings are measured from the outside edge of the framing and include the frame

width.

Building Element: Windows (continued)

Construction type

Determine window framing

and glazing characteristics

Framing Type

Examine each window frame in order to determine the type of material used. Open the

window and examine it to see whether the frame is made of metal, wood, or vinyl. Tap the

frame with fingernail or knuckle to test if it's vinyl or metal. Wood frames are usually thicker

than metal.

If the window is dual-pane or multiple-pane and is metal framed, determine if a thermal break

is present by looking for two separated metal extrusions connected by a rubber spacer. Ask

the customer for documentation if you can't tell.

Appendix A ,2006

A-22

Page 146

Some wood windows may have vinyl or aluminum cladding. Check both the inside and

outside, since some windows will have vinyl cladding on one side only.

Glazing Type

Check all windows in the house for number of panes and existence of tint and/or low-e

coating.

To determine whether the windows are single-paned or multiple-paned:

Look at( frame width and spacers;

Look at( reflections;

Look at edge( thickness.

To determine if glazing has a tint or low-e coating:

Check the( customer's product literature if available;

Perform a( "match test" - there should be one reflection per pane or coating, including

low-e and tinting (e.g., a double-paned window with low-e and tint should show 4

reflections);

Compare to( glazing samples with and without tinting;

Compare the( windows within the space, since tinting is often applied only to certain

windows in a house;

Look for a( low-e label or etching on the glass.

Orientation

Determine orientation of all

windows

Use a compass (adjusting for magnetic deviation) to determine orientation of all windows.

Building Element: Windows (continued)

Shading

Determine shading of

windows

Identify shading by external shade screens, house overhangs/awnings, and shade from trees

and other buildings.

External Shade Screens

Appendix A ,2006

A-23

Page 147

The most common screen is an insect screen that covers some or all of the window. If it is a

full-coverage type screen, assume it is a shade screen. Compare samples of the screen's mesh

pattern to those of a window screen sample to determine the type and shading coefficient of

the screen. Ask customer for documentation for the shading coefficient (SC) of the screen.

If you cannot determine the shading coefficient of the screen, use 36% SC as a default.

Projection (Overhang)

The shading impact of an overhang can be found by measuring the distance of the projection

from the exterior wall surface and the distance (height) between the top of the window and the

bottom edge of the overhang.

Measure the length of the overhangs over each exterior wall.

Measure the height above the window to the bottom edge of the overhang.

Exterior Shading

Full (40% SC) -Consider a 40% SC for an entire side of a house as being roughly equivalent

to having a shade screen over a window. For trees and/or bushes to equal this effect, there

should be a very dense amount of trees and/or bushes along the entire side of the house that

shade both its vertical and horizontal surfaces almost totally.

Partial (70% SC) -Based on the above definition for full shading, partial shading is considered

to be anything in between full and none (no shading).

None (100% SC) - No shading indicates there may be small plants or shrubs only,

Appendix A ,2006

A-24

Page 148

Building Element: Windows (continued)

Rated Feature

Task

On-Site Inspection Protocol

Solar heat gain factor Determine solar heat gain

factor of glazing

Check product information and consult NFRC guide.

U-value

Determine window U-value Look for an NFRC label on new windows (it will display full window U-value). If no label

can be found but customer has documentation, look up product information in NFRC Certified

Products Directory to determine U-value, or consult manufacturer's literature.

Building Element: Skylights

Rated Feature

Task

On-Site Inspection Protocol

Area

Determine area of skylights See windows.

Construction type

Determine framing and

glazing characteristics of

skylights

See windows.

Orientation

Determine orientation of

skylights.

Determine the orientation of the lower edge of the skylight. Use this direction as the

orientation of the skylight.

Shading

Determine shading of

skylights

See windows.

Solar heat gain

coefficient

Determine solar heat gain

coefficient of skylights

See windows.

Tilt

Determine tilt of skylights Measure the tilt of the skylight relative to horizontal. This can be done with a level and angle

finder instrument, or geometrically with a protractor (from the ceiling length and heights).

U-value

Determine skylight U-value See windows.

Appendix A ,2006

A-25

Page 149

Building Element: Air leakage

Rated Feature

Task

On-Site Inspection Protocol

Blower door test

Determine effective leakage

area from a blower door test

Use the testing protocol described in ASHRAE Standard 119 Section 5.1, with the

modifications described below:

The following protocol shall be followed in preparing the building envelope for testing:

1. Leave all supply registers and return grills open and uncovered.

2. Leave all bathroom and kitchen fans open (i.e., in their normal operating condition).

Only a permanently installed back draft damper in its normal condition may impede

the flow of air.

3. Leave any combustion air ducts or louvers to the exterior open. (If a homeowner or

builder has sealed them off, open them for the test.)

4. Leave any make-up air ducts with in-line dampers (e.g., for large kitchen exhaust

fans or combustion air) as-is (unsealed). Only a permanently installed back draft

damper or motorized damper, in its normal condition may impede the flow of air.

5. Leave the dryer vent as-is, whether or not the dryer is in place during the test. Only

a permanently installed back draft damper in its normal condition may impede the

flow of air.

6. Leave open any outside air duct supplying fresh air for intermittent ventilation

systems (including a central-fan-integrated distribution system)

7. Operable crawl-space vents, where present, are to be left in the open position.

8. Open all interior doors within the conditioned space, including doors to conditioned

basements. (Closet doors may be left closed unless the closet contains windows or

access to the attic or crawl space).

9. Leave louvered openings of a whole-house fan as is. (If there is a seasonal cover in

place during the test, leave it in place.)

10. Close all doors to the exterior or unconditioned spaces; if any door to the exterior or

unconditioned space lacks weather-stripping at testing time, it can be temporarily

Appendix A ,2006

A-26

Page 150

taped off.

11. Close and latch all windows.

12. Close chimney dampers.

13. Either seal or fill with water plumbing drains with p-traps that may be empty.

14. Seal off exterior duct openings to continuously operating fresh-air or exhaust-air

ventilation systems (preferably at the exterior envelope).

15. Close any adjustable window trickle ventilators and/or adjustable through-the-wall

vents.

16. If an evaporative cooler has been supplied with a device used to seal openings to the

exterior during the winter, that device should be installed for the test.

Use the testing protocol described in ASHRAE Standard 119 Section 5.1. Blower door and

associated pressure testing instruments, which include but are not limited to hoses, and

Manometers, gauges and fans shall be field tested annually for calibration by the HERS

provider or rater. The provider shall use a standard for field testing of calibration provided

by the equipment manufacturer. Magnehelic Gauges cannot be field tested and shall be

recalibrated by the Blower Door manufacturer annually. Field check the fan and flow

measuring systems for defects and maintain them according to manufacturers

recommendations

The HERS provider shall maintain a written log of the annual calibration check to verify all

equipment accuracy for a period of three (3) years. These records shall be made available

within 24 hours to a RESNET Quality Assurance Committee member upon request.

It is recommended all pressure equipment be field checked for calibration more frequently

than is required in these standards, i.e., monthly, quarterly, etc.

Conditioned volume

of space

Determine conditioned

volume of space

Determine conditioned and indirectly conditioned volume of space by multiplying

conditioned floor area by ceiling height. The house may need to be split into different spaces

with different ceiling heights and added to each other for both conditioned and indirectly

conditioned spaces. For areas with vaulted ceilings, volume must be calculated

geometrically.

Appendix A ,2006

A-27

Page 151

Estimate

If diagnostic equipment is

not used, determine window

type and distribution system

to estimate leakage

To be determined.

Tracer gas test

To be determined.

Building Element: Heating & Cooling/Distribution System

Rated Feature

Task

On-Site Inspection Protocol

Air leakage (ducts)

Determine air leakage from

ducts

The application of ASHRAE Standard 152 for testing of ducted distribution systems shall be

implemented with the following additions and exceptions:

1. Air Handler Fan Flow Measurement using either of the methods specified in

Annex A of the standard is preferred. If such measurement is not made, default

values of 275 CFM per 12,000 btu/hour of nominal HVAC capacity shall be used.

For fossil-fired furnace systems, a default value of 200 CFM for every 12,000

btu/hour of nominal furnace capacity shall be used for heating.

2. Supply and return leakage may be determined by measuring the leakage of each

side as in Annex B, or as an alternate the leakage of the entire system may be

measured, with the duct pressurization device in the return and the duct-pressure

probe in the supply side. The ratio of supply side leakage to return side leakage

Q25,s to Q25,r shall be selected separately for heating and cooling based on a

worst case determination. The supply side of the system shall be assigned 67% of

the leakage and the return shall be assigned 33%, and the overall distribution

efficiency determined; then the efficiency with the reverse conditions (67% return

and 33% supply) shall be determined, and the lower of the two efficiencies will be

applied.

3. Total leakage (Annex C) . The limitation of applicability of Annex C (Section

C1) to leakage measurement of 10% or less of air handler air flow shall be based

on tested air flow or default air flow, as appropriate according to (1) above. The

calculations of 2.5% of air flow in Section C1.1,2, and 3 shall use tested air flow,

Appendix A ,2006

A-28

Page 152

or nominal air flow of 400 CFM per ton. If the register grilles are not installed

during the test (C1.2), the 2.5% of fan flow added to the measured leakage may be

waived, on condition that a visual inspection, verifying effective sealing of

register boot-to-drywall and/or boot-to-subfloor connections, is conducted prior to

issuing the final rating.

Insulation

Determine the value of

distribution system

insulation

Air ducts may be insulated with insulation blankets or rigid insulation board. Inspect the duct

or pipe insulation for R-value labeling (printed on the insulation by the manufacturer). If the

insulation is not marked with the R-value, identify type and measure the thickness of the

insulation to determine R-value. Check for internal insulation by tapping on the exterior and

listening to the sound.

Location of air ducts Determine the location of

ducts

Air ducts may be located in the attic, crawl space, basement or in a conditioned area. You

must locate and differentiate between supply and return ducts. Ducts may be located in more

than one area (e.g., some return ducts in attic and some in conditioned space, etc.).

Type

Identify type of distribution

system used to provide space

heating and cooling

Forced air - a central fan unit connected to ducts which supply heated or cooled air to each

room in the home. Forced air systems have supply and return duct work. Supply ducts

typically run to each room; return duct work may come from each room or from one or more

central locations in the home.

Forced hot water - heated water is pumped through a series of radiator elements to supply

heat. The radiator elements may be conventional radiators, baseboard "fin tube" radiators,

cast iron baseboards or radiant hot water panels located at the baseboards or on walls or

ceilings.

Hot water radiant system - heated water is circulated through plastic or metal tubing which is

installed in a concrete slab or finished floor or, occasionally, in walls or ceilings.

Unit heater/air conditioner - heating or cooling is supplied directly from a heating or cooling

device located within the space it serves. Window air conditioners and through-the-wall

heaters are common examples. Unitary equipment typically has no distribution system.

Appendix A ,2006

A-29

Page 153

Building Element: Heating & Cooling/Distribution System (continued)

Rated Feature

Task

On-Site Inspection Protocol

Identify type of distribution

system used to provide

space heating and cooling

(continued)

Steam heating - steam systems utilize a distribution system with cast iron radiators connected

to a boiler that creates steam. The steam rises into the radiators through one set of pipes,

condenses into water, and drains back to the boiler through another set of pipes.

Electric radiant system - electric cables are installed in concrete floor slabs or in the ceiling.

Electric current is passed through the cables, causing them to heat up, heating the floor or

ceiling assembly which radiates the heat to the space. Electric radiant systems may also be

comprised of individual radiant panels mounted on the walls or ceilings.

Baseboard electric resistance - electric elements are installed in baseboard enclosures.

Electric current is passed through the electric element to provide heat to the space.

Type (continued)

Appendix A ,2006

A-30

Page 154

Building Element: Heating and Cooling/Energy Source

Rated Feature

Task

On-Site Inspection Protocol

Fuel type

Determine fuels used for

heating and cooling

Heating systems may use natural gas, propane, oil, electricity, or some other fuel. Typically

the homeowner will know what type of heating fuel is used. Cooling is typically driven by

electricity, however some cooling equipment may use natural gas or propane. Look for

electric cables and dedicated fuses or circuit breakers for the cooling equipment or gas lines

running to the equipment. Note that gas equipment will also have electric cables to power

some of the components. Be sure to distinguish between refrigerant lines and possible gas

supply lines.

Oil - look for a large storage tank (typically oblong-shaped) or fill pipes which would indicate

a buried tank. Oil is typically supplied to the heating equipment via a 1/4" - 3/8" copper line.

A fuel filter may be evident in the line.

Natural gas - look for a meter connected to piping on the exterior of the home. Piping to the

heating equipment is typically done with ½" - 1" iron piping.

Propane - look for storage tank(s) (typically cylindrical-shaped). Large tanks may be buried

with a 12" - 18" cap exposed above grade. Fuel is typically supplied to equipment through

1/4" - 3/8" diameter copper piping.

Electric - look for large gauge cables running to a central piece of equipment or look at circuit

breaker panel for circuits marked for resistance heat circuits (electric resistance or electric

radiant systems).

Other fuels - include coal, wood, processed wood pellets, or other combustible products.

Appendix A ,2006

A-31

Page 155

Building Element: Heating and Cooling/Equipment

Rated Feature

Task

On-Site Inspection Protocol

Control system

Identify the control system

for the heating and cooling

system(s)

Determine the type of control systems. There may be separate controls for the heating and

cooling systems.

Thermostat controls may be programmable. Note types of features available and/or utilized.

Efficiency

Determine the heating and

cooling equipment

efficiency

Check nameplate for efficiency rating. If the nameplate is missing, use appropriate directories

to determine an appropriate default value.

SEER is used to measure the efficiency of central air conditioning and air source heat pump

systems. AFUE is used to measure the efficiency of furnaces and boilers. EER is used to

determine the efficiency of room air conditioners and ground source heat pumps. Check

nameplate for SEER or AFUE rating. EER can be calculated from nameplate information by

dividing btu output by watt input.

Building Element: Heating and Cooling/Equipment (continued)

Rated Feature

Task

On-Site Inspection Protocol

Equipment type

Identify type(s) of

equipment for heating

and/or cooling

Furnace - comprised of a combustion chamber and heat exchanger (natural gas, propane or

oil) or an electric resistance element (electric) and a fan which forces air across the heat

exchanger or resistance element to provide heat in a forced air system.

Fan coil unit - hot water from a boiler, domestic water heater, or heat pump is circulated

through a coil. A fan blows air over the coil to provide heating. This device is used in a forced

air system.

Boiler - this device creates hot water or steam, and can be powered by any fuel type. Can be

used with forced air (in conjunction with a fan coil unit), forced hot water, steam, or hot water

Appendix A ,2006

A-32

Page 156

radiant slab systems.

Split system central air source heat pump - these systems move energy from one location to

another using the vapor compression cycle. They are electrically driven, and can provide

heating in winter and cooling in summer by reversing the direction of heat flow. Split system

heat pumps consist of an outdoor unit and an indoor air handling unit, resembling a furnace.

These systems require ductwork for air distribution. Most air source heat pumps incorporate

electric resistance supplemental heat in the indoor section. However, some heat pump systems

use fossil fuel furnace for supplemental heating. These are known as "dual fuel" or add-on

systems.

Single package central air source heat pump - a single package central heat pump is similar to

a split system, except it combines the functions of the indoor and outdoor units into one

cabinet, usually mounted on the roof or on the ground. It also requires a separate distribution

system. These are uncommon in single-family residences, however they are sometimes found

in multi-family dwellings.

Building Element: Heating and Cooling/Equipment (continued)

Rated Feature

Task

On-Site Inspection Protocol

Equipment type

(continued)

Identify type(s) of

equipment for heating

and/or cooling (continued)

Ground source heat pumps - are coupled to the ground through the use of a water well

sometimes the same well as used for domestic water (known as "open loop" which water or a

water/antifreeze mixture is circulated (known as "closed loop"). Look for 3/4" or larger

diameter piping going to and from the heat pump. Circulating pumps may be installed in this

piping (closed loop systems) or the pump for the water well may be used for circulating water

through the heat pump (open loop). The same piece of equipment can be used in either open

or closed loop applications, however given the same piece of equipment, closed loop

applications typically have lower efficiency ratings than open loop applications. Ground

source heat pumps can also utilize a direct expansion of the refrigerant with copper piping

Appendix A ,2006

A-33

Page 157

buried in the ground. Look for 0.25" - 0.50" copper piping leading from the unit to the

outdoors with no outdoor unit.

Split system central air conditioner - similar to a split system air source heat pump. Consists

of an outdoor unit and a coil in the forced air distribution system, usually in a fossil fuel

furnace. These systems are electrically powered and provide cooling.

Single packaged central air conditioner - similar to single packaged air source heat pumps,

providing cooling only.

Through-the-wall ductless air source heat pump - a single packaged air source heat pump

designed to be installed without a distribution system. Provides both heating and cooling and

is usually installed through an exterior wall.

Window/through-the-wall air conditioner - a single packaged ductless air conditioner

designed to be installed without a distribution system.

Direct evaporative cooler - is used primarily in very dry climates. Evaporative coolers work

by blowing air over a damp pad or by spraying a fine mist of water into the air. Direct

evaporative coolers add moisture to the home.

Indirect evaporative cooler - evaporation takes place on only one side of a heat

Building Element: Heating and Cooling/Equipment (continued)

Rated Feature

Task

On-Site Inspection Protocol

Equipment type

(continued)

Identify type(s) of

equipment for heating

and/or cooling (continued)

Absorption cooler - this is a gas air conditioner. Look for a cooling tower, an exhaust pipe, a

gas burner to evaporate refrigerant and a heat exchanger similar to an electric air conditioner.

Unitary space heater - these are fossil fuel burning heaters which have individual controls and

no distribution system. They may be equipped with a fan for forcing air circulation over a heat

Appendix A ,2006

A-34

Page 158

exchanger, or they may use simple convective forces. These heaters are typically mounted on

outside walls in order to facilitate venting and can use natural gas, kerosene, propane, or other

types of fossil fuel.

Location

Determine the location of

heating and cooling

equipment

Note whether systems are located in conditioned or unconditioned space.

Building Element: Domestic Hot Water System

Rated Feature

Task

On-Site Inspection Protocol

Efficiency

Determine the Energy

Factor or Seasonal

Efficiency of the water

heater

Storage Water Heater

Look for the water heater's rating plate and product literature. Some water heaters will list

their EF right on the rating plate.

If the water heater is wrapped and there is no accessible information, approximate the age of

the unit and use a default efficiency.

If accessible, record the Make and Model #.

Look up the EF rating of that model in an appropriate efficiency rating directory.

If the EF rating is not listed in the directory use a default based on the estimated age of the

water heater.

Instantaneous Water Heaters

Check the unit's nameplate for the RE (Recovery Efficiency). If a gas model, note whether

there is a standing pilot light.

Building Element: Domestic Hot Water System (continued)

Rated Feature

Task

On-Site Inspection Protocol

Appendix A ,2006

A-35

Page 159

Extra tank insulation

value

Determine the insulation

value of any exterior wrap

Visually determine if the water heater is wrapped with exterior insulation. If so, measure

thickness of the wrap and determine R-value.

Location

Determine location of

storage tank

Determine whether water heater is located in conditioned or unconditioned space.

Pipe insulation value Determine the insulation

value of the pipes

Determine whether pipe insulation is installed on all 3/4" or larger, non-recirculating hot

water mains. Measure depth of insulation and identify material to determine R-value.

System type

Determine type and heat

source of water heater

Storage

These water heaters are the most common type. Water is heated in an insulated tank that

typically ranges in capacity from 30 to 75 gallons. Storage water heaters may use electric

resistance, gas, propane, oil or electric heat pump.

Storage electric -look for rigid or flexible 240 A/C conduit, UL seal, no vent, no burner or

pilot tubing. Thermostats are usually hidden behind metal access doors. Often there is both an

upper and a lower thermostat.

Storage gas -look for a vent connection (top of tank), gas connector and line valve,

thermostat, burner and pilot tubing, burner compartment doors, and "AGA" seal rating plate.

Most gas water heaters have legs to lift the unit above the floor level to provide combustion

air to the burner.

Storage propane -look for the same features as those listed for gas water heaters. Also, look

for a rating plate or tag that states "For Use with LP Gas Only."

Storage oil -look for features that are similar to a gas water heating storage system. In

addition, oil systems are usually furnished with draft regulators which are attached to the vent

pipe between the tank and chimney (hinged metal flap with counterweight to allow for

variations in flue gas pressure). Vent dampers may also be apparent on the vent pipe.

Storage heat pump -water heaters remove heat from the air in the room where they are located

and then release the heat to the water in the storage tank. Look for the same features as those

Appendix A ,2006

A-36

Page 160

found on electric water heating systems. In addition, there will be a fan, condenser and

evaporator. Also, the system may be one single unit, or may be a split system.

Building Element: Domestic Hot Water System (continued)

Rated Feature

Task

On-Site Inspection Protocol

Determine type and heat

source of water heater

(continued)

Combination DHW/furnace system - natural gas combo systems use heat drawn from a hot

water tank circulating through an air handling module to heat the space.

Geothermal heat pump de-superheaters - devices which utilize heat pump cycle superheater

to heat domestic hot water. Look for insulated lines between air handler unit and storage water

heater tank.

Instantaneous

These water heaters heat water on demand, instead of storing pre-heated water in a large tank.

They are usually small units, with storage of no more than 2 gallons, and are often attached to

a wall close to the point of use. Instantaneous water heaters may be used in addition to a

primary storage water heater to serve fixtures in a distant location of the house, so check for a

main storage unit as well. Determine if the instantaneous heater uses gas or electricity.

Instantaneous gas - look for a connector and line valve, vent connection, thermostat, burner

and pilot tubing, and AGA seal. Check whether unit has a pilot light or intermittent ignition

device.

Instantaneous electric - look for the absence of a gas line, vent or pilot light. Look for a UL

seal.

Super-heater - check for this supplementary heat source.

System type

(continued)

Building element: Solar Domestic Hot Water System

Appendix A ,2006

A-37

Page 161

Rated Feature

Task

On-Site Inspection Protocol

Collector

Determine area, orientation,

and tilt of collector

Determine the area of the collector.

Determine the orientation of the solar collector by taking a compass reading (adjusting for

magnetic deviation) in the direction toward which the collector faces.

Determine the tilt of the collector. A site selection and angle finder instrument can be used to

determine the tilt of the collector. Geometric calculations based on horizontal length and

vertical height measurements can also be used.

Efficiency

Determine efficiency of

solar system

Look for SRCC label. Check for SRCC system and component name plates. Refer to the

Directory of SRCC Certified Solar Collector and Water Heating System Ratings, or other

SRCC literature for energy factor (EF) and other performance data.

Extra tank insulation

value

Determine the insulation

value of any exterior wrap

See Domestic Hot Water, above.

Pipe insulation value Determine the insulation

value of the pipes

Determine the R-value of insulation installed on pipes.

Solar collector type Identify type of solar

collector

Identify the type of solar collector by checking for the SRCC label or manufacturer’s

information.

Storage tank size and

location

Determine the capacity of

the storage tank and

location

To determine the size of the storage tank refer to documentation or a label indicating the tank

capacity.

Note if storage is inside or outside of conditioned space.

Building element: Solar Domestic Hot Water System (continued)

Rated Feature

Task

On-Site Inspection Protocol

System type

Determine type of solar

systems

Identify whether a solar domestic hot water system exists. These systems collect and store

solar thermal energy for domestic water heating applications. If a solar water heating system

Appendix A ,2006

A-38

Page 162

exists, determine system type. For systems manufactured after Jan. 1, 1995, system type,

energy factor (EF), and other performance characteristics shall be determined from the SRCC

label (usually affixed to the solar storage tank) and by referring to SRCC literature. For

systems lacking an SRCC label, energy factor and other performance characteristics can be

determined using a certified HERS modeling tool, or appropriate default values. Identify as

passive or active. Base your evaluation on these criteria:

Passive - No purchased electrical energy is required for recirculating water through a passive

solar collector. Three types of passive systems are integrated collector storage (ICS),

thermosiphon systems and self-pumped systems.

Integrated Collector Storage (ICS) - consists of a single unit which incorporates both

collector and water storage. An example is the common "bread box" design. Storage is

usually outside the conditioned space.

Thermosiphon - consists of a flat-plate solar collector and hot water storage tank.

Instead of using a pump, circulation of the fluid is achieved by natural convection

action. The storage tank must be located above the collector, and is usually outside the

conditioned space.

Self-pumped - circulates fluid from storage to collectors without purchased electrical

energy. Photovoltaic and percolating systems are examples of self-pumped systems.

The storage tank is usually inside the conditioned space.

Active -Also known as pumped systems.

Pumped -purchased electrical energy input is required for operation of pumps or other

components. The storage tank is usually inside the conditioned space.

Building Element: Passive Solar Heating System

Appendix A ,2006

A-39

Page 163

Appendix A ,2006

A-40

Rated Feature

Task

On-Site Inspection Protocol

Direct gain

Identify system type and

determine solar aperture

orientation, aperture area

A solar direct gain system can reduce heating, cooling, and lighting energy requirements

through proper sizing, placement, orientation, and/or control of windows, skylights, shading

devices, and solar storage mass within the building.

To determine aperture area, measure width and height of south-facing glazing and indicate tilt

angle. Note glass type(s) (e.g., double glazing) and presence of night insulation (if any).

Determine orientation with a compass reading (adjusted for magnetic deviation).

Determine the type of thermal mass, its thickness and dimensions. Determine if the mass will

be lit by direct solar rays between the hours of 9:00 a.m. and 3:00 p.m. during the winter. Note

any trees or other obstructions to solar gain.

Greenhouse or

solarium

Identify system type and

determine solar aperture

orientation, aperture area

and information about

thermal mass

A greenhouse or solarium creates a South-glazed buffer zone between the house and the

exterior and can help heat the living area. They may be used in conjunction with thermal mass

(such as bricks or drums filled with water) to store heat and reradiate it at night.

See Direct gain, above, for specific inspection items.

Building Element: Passive Solar Heating System (continued)

Rated Feature

Task

On-Site Inspection Protocol

Thermal storage mass Identify system type and

determine solar aperture

orientation, aperture area

and information about

thermal mass

Thermal mass systems consist of solar-exposed heavyweight materials with high heat

capacitance and relatively high conductance (high thermal diffusivity) such as masonry, brick,

concrete, tile, stone, or water placed in the same zones(s) as the solar collection area(s). These elements may be integral with the building or distinct elements within the building.

Distinct components:

Trombe wall -uses a heat storage mass placed between the glass and the space to be heated.

Page 164

Measure area of storage mass, determine material, thickness, and capacitance.

Water wall -replaces the existing wall, or parts of it, with containers that hold water.

Identify system type

Thermosiphon air panel (TAP) -has one or more glazing layers of glass or plastic, an air

space, an absorber, another air space, and (often) an insulated backing. These are similar in appearance to active flat-plate collectors, often mounted vertically on walls, or ground-

mounted, so that the living space is higher than the collector to facilitate convection from the TAP to the house.

See Greenhouse, above, for specific inspection items.

Thermosiphon Air

Panel (TAP)

Appendix A ,2006

A-41